## NPRR310 Summary
Cost Benefit Analysis Summary
Request Information
PRR / SCR / PR / "New": | NPRR310 |  |  | Estimator's Name: |  | R. Rajagopal/T. Anderson
Project Title: | Expand Output Schedule Acceptable Range to Include HSL and LSL |  |  | Sponsor's Name: |  | J. Carpenter
|  |  |  | Estimate Date: |  | 2011-04-07
Project Description: | This Nodal Protocol Revision Request (NPRR) updates the criteria by which Output Schedules are deemed valid to include Output Schedules that are equal in value to the Resource High Sustained Limit (HSL) and Low Sustained Limit (LSL).
Benefits and Impacts
1 - This NPRR will allow Resources to provide Output Schedules that are equal to the Resource limits.
2 - Reduces unnecessary validation notifications at the Resource limits.
3 - Allows for additional energy to be scheduled at the Resource limits. An additional .2MW of capacity would be available to schedule for each unit running with an output schedule (.1MW at both the HSL and LSL).
4 - Eliminates unnecessary validation notifications at Resource limits. This would reduce the warning messages for invalid output schedules displayed in MIS.
Feasibility
Alternatives
Assumptions
1 - Please see the "Data" tab for calculation details of the Market Benefit
2 - The market benefit calculations assumes the following: (a) Avg MW per interval = 10,000; (b) Potential system lambda savings if an additional 5.4 MW are in the output schedules = $2; (c) Number of occurrences in a 1 year period = 1; (d) Value per year = 10000 * $2 * 1; Note: (b) and (c) can be used to test the potential benefit of NPRR 310 at different cost and occurrence levels.
3 - The above approach assumes that an incremental 5.4 MW could, on rare occasions, prevent a step function increase in LMPs
Cost and Benefit Summary
Project Costs | ERCOT Implementation Cost | 13000 |  |  |  |  | All values in this section are rounded to 2 significant digits
| Market Implementation Cost | 0
| Total Implementation Cost |  | 13000
| ERCOT Ongoing Cost | 0
| Market Ongoing Cost | 0
| Total Ongoing Cost |  | 0
[5 empty] | 13000 |  | Total Cost
Project Benefit | ERCOT Benefit | 0
| Market Benefit | 73000
[5 empty] | 73000 |  | Total Benefit
|  | Net (Cost) - Benefit |  |  | 60000
Calculation Parameters
Market Cost | Impacted Number of QSEs |  |  | 0
| Impacted Number of CRs |  |  | #REF!
| Impacted Number of TDSPs |  |  | #REF!
| Impacted Number of Resources |  |  | #REF!
Present Value Interest Rate: |  |  |  | 6%
Changing this parameter is not recommended
It is used to calculate present value of future cash flows

## NPRR310 Detail
Cost Benefit Analysis Data Entry Worksheet
PRR / SCR / Etc.: | NPRR310 | Project Title: | Expand Output Schedule Acceptable Range to Include HSL and LSL
Sponsor: | J. Carpenter | Estimate Date: | 2011-04-07 | Estimator: | R. Rajagopal/T. Anderson
Project Description: (please be clear and concise) | This Nodal Protocol Revision Request (NPRR) updates the criteria by which Output Schedules are deemed valid to include Output Schedules that are equal in value to the Resource High Sustained Limit (HSL) and Low Sustained Limit (LSL).
Benefits and Impacts
Click here for ideas on benefit and impact areas… ---------------------------------------------------------------------------------->>>
1 | This NPRR will allow Resources to provide Output Schedules that are equal to the Resource limits.
2 | Reduces unnecessary validation notifications at the Resource limits.
3 | Allows for additional energy to be scheduled at the Resource limits. An additional .2MW of capacity would be available to schedule for each unit running with an output schedule (.1MW at both the HSL and LSL).
4 | Eliminates unnecessary validation notifications at Resource limits. This would reduce the warning messages for invalid output schedules displayed in MIS.
5
6
7
8
Feasibility
Click here for ideas on feasibility… ---------------------------------------------------------------------------------->>>
Dependencies
Other 1
Other 2
Other 3
Alternatives
Click here for ideas on alternatives… ---------------------------------------------------------------------------------->>>
1
2
Assumptions
Click here for ideas on assumptions… ---------------------------------------------------------------------------------->>>
1 | Please see the "Data" tab for calculation details of the Market Benefit
2 | The market benefit calculations assumes the following: (a) Avg MW per interval = 10,000; (b) Potential system lambda savings if an additional 5.4 MW are in the output schedules = $2; (c) Number of occurrences in a 1 year period = 1; (d) Value per year = 10000 * $2 * 1; Note: (b) and (c) can be used to test the potential benefit of NPRR 310 at different cost and occurrence levels.
3 | The above approach assumes that an incremental 5.4 MW could, on rare occasions, prevent a step function increase in LMPs
4
5
6
7
ERCOT Cost and Benefit Detail
ERCOT Internal Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Project | 12500 | 0 | 0 | 0 | NPV = | 0
Ongoing Cost (O&M) | Select type… | 0 |  |  |  | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Cost: | 13000
ERCOT Internal Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Direct Cost Savings | Select type… |  |  |  |  | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
Productivity Increases | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
Cost Avoidance | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Benefit: | 0
Market Cost and Benefit Detail
Market Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Select type… |  |  |  |  | NPV = | 0
Ongoing Cost | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Market Cost: | 0
Market Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Benefits for Market | Select type… | 20000 | 20000 | 20000 | 20000 | NPV = | 53460.239
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Total Present Value of Market Benefit: | 73000
Total Cost | 13000 |  | Net (Cost) - Benefit ($) |  | 60000
Total Benefit | 73000 |  | Cost Benefit Ratio |  | 5.6154
Summary values are rounded to 2 significant digits.
Additional Comments
Enter any additional comments here…
1
2
3
4
Benefit and Impact Prompts
GOVERNANCE: Is the project required to support a PUCT rulemaking or government requirement?
GOVERNANCE: Is the project required by a market or ERCOT committee?
GOVERNANCE: Will the project provide better information for management decision making?
RELIABILITY: Does the project improve the reliability of the grid?
RELIABILITY: Does the project improve the reliability of ERCOT's computing infrastructure?
RELIABILITY: Is there a significant operational need for the project?
SAFETY: Will the project enhance safety within ERCOT?
SECURITY: Is there a physical or cyber-security issue that is addressed by this effort?
SECURITY: Does the project address an audit finding?
SECURITY: Will the project decrease the chance of fraud or help protect sensitive data?
RISK REDUCTION: Does this reduce risk to ERCOT in some significant manner?
RESOURCES: Does the project reduce the number of resources needed to support current operations?
RESOURCES: Does the project deliver infrastructure components that are more efficient or more easily upgraded?
DATA MANAGEMENT: Does this improve the accuracy, timeliness and transparency of transactions or settlements?
DATA MANAGEMENT: Does this enhance or optimize our data storage capability?
DATA MANAGEMENT: Does this improve reporting capabilities (financial, operational, etc.)?
EFFICIENCY: Does the project improve the efficiency or effectiveness of ERCOT?
EFFICIENCY: Does the project automate, improve or streamline a necessary function?
INVESTMENT: Is the project an investment in new capability or does it support the current architecture?
OTHER: Are there other areas that will indirectly benefit from this project?
Feasibility Prompts
REQUIREMENTS: Are high level requirements clearly defined?
REQUIREMENTS: How complex are the potential solutions?
REQUIREMENTS: Does a required completion date make delivery more difficult?
DELIVERY: Can the project be broken down into smaller sections or delivered in stages to reduce risk?
DELIVERY: Will training be required as the project is rolled out?
DEPENDENCIES: Are there major dependencies on other projects that make this difficult to implement?
Alternative Prompts
DELIVERY: Is a manual workaround an option (short-term or long-term)?
DELIVERY: Does a partial implementation provide enough value to be worth considering?
DELIVERY: Should a phased implementation be considered to reduce risk or accelerate key benefits?
DELIVERY: If this is an automation project is it reasonable to consider using the current process?
Assumption Prompts
DEPENDENCIES: Is this request is dependent on another ERCOT project (either active or planned)?
DELIVERABLES: Are specific key deliverables required from this project?
DELIVERABLES: What is the useful life of the deliverables of this project?
RESOURCES: Are computing resources assumed that are not to be delivered by this project?
RESOURCES: Are specific key resources assumed to be available for this project?
RESOURCES: Are there facilities requirements necessary for this project?
REQUIREMENTS: Is completion required by a specific date?

## Data
Alternate Approach for Consideration
Avg MW per interval | 10000 | a
Potential system lambda savings if an additional 5.4 MW are in the output schedules | 2 | b
Number of occurrences in a 1 year period | 1 | c
Value per year | 20000 | a*b*c
This approach assumes that an incremental 5.4 MW could, on rare occasions, prevent a step function increase in LMPs
Values b and c above can be used to test the potential benefit at different cost and occurrence levels