OWG Report to ROS

May 12, 2011

The Operations Working Group (OWG) met April 20, 2011.

On April 20, the OWG met for its regularly scheduled meeting. During the meeting the following items were discussed:

Operations Task Force Report – Stan gave update on daft NPRR/NOGRR dealing with voltage and voltage profile.  Possible review of draft NPRR/NOGRR next meeting.

Black Start Task Force Report - Nodal Protocol Revision Requests (NPRR306) - Revisions to Protected Information to Include Black Start Documents Considered CEII was review. Next meeting April 25, 2011 with several items to be discussed such as NDA, and a Black Start Services RFP. Group was reminded that some of the Backup Plans are past due since 03/15/2011.

The Texas RE Report – Texas RE not present.

The OWG reviewed the following:

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement – Tabled until ERCOT and Wind Coalition submit changes to the definition of WGR. Walter (Wind Coalition) stated this NOGRR still in progress and no resolutions at the moment. A draft NOGRR will be submitted to address this issue. ERCOT Planning and Wind Coalition.

NOGRR 060 Updating the term Resource Plan to Current Operating Plan – Group endorsed the Impact Analysis (IA) and recommended approval to ROS.

NOGRR 061 Posting Requirement for Hydro-Responsive Testing – Group endorsed the IA and recommended approval to ROS.

NOGRR 063 Additional Method for Submitting Back-up Control Plans – Group was in consensus to recommend approval as submitted to OWG, IA will be reviewed next month.

NOGRR 064 QSE Acknowledgement of VSS Dispatch Instructions – The need to change language in section 2.7.4.1 was discussed per Luminant. The Group made changes in section 2.7.4.1 and recommended approval as revised by OWG.  IA will be reviewed next month.

NOGRR 065 Authorize ERCOT to Procure Additional RRS During Severe Cold Weather – OWG reviewed NPRR 336 and were in consensus to recommend that PRS form a special group to perform a comprehensive reliability and commercial review of the NPRR and the recommendation from PUC/IMM/TRE should be considered. OWG was in consensus to table one month.

NOGRR 066 ERCOT WAN Connection Termination Requirement – Group reviewed and recommended approval as amended by the ERCOT comments and as revised by OWG, IA will be reviewed next month.

NOGRR067 Review and Analysis of Turbine Speed Governor Performance – OWG was in consensus to table one month to allow participants to discuss with PDCWG and to determine if changes are needed due to BAL-001.

NOGRR 068 Hydro-Responsive Reserves – No Action taken by OWG, ERCOT will meet with LCRA to discuss their concerns.

NPRR 315 Revision of Responsive Reserve Measure to Net Dependable Capability – Group was in consensus to endorse the 3/30/11 PDCWG comments.

NPRR 334 Incorporate Resource Limit for the amount of Regulation Service that may be provided from a Generation Resource during any Operating Hour – OWG agreed that there is a potential reliability issue when a limited numbers of Resources are providing Regulation Service.  Consensus to recommend approval as submitted.

System Operations Report – ERCOT presented the March Operations Report.

Nodal Operating Guide Task Force – Brad (CNP) reported group is idle.

Other Discussions:

Next OWG meeting – May 18, 2011 at the ERCOT Taylor room 253.