| SCR Number | 766 | SCR Title | Load Zone and Hub LMPs Distributed by ICCP (formerly “Load Zone Price Distributed by ICCP”) |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | May 11, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Supporting Nodal Protocol Sections |  | 6.3.2, Activities for Real-Time Operations 6.5.7.4, Base Points |  |  |
| Other Document Reference/Source |  | None. |  |  |
| System Change Description |  | As soon as the five minute Load Zone and Hub prices are calculated in Real-Time the price data will be transferred to the Energy Management System (EMS) for distribution over Inter-Control Center Communications Protocol (ICCP) links. |  |  |
| Reason for System Change |  | To fix the system to address some price latency issues for Loads that have been present since Nodal market open. |  |  |
| Overall Market Benefit |  | Allows Loads to be more price responsive. |  |  |
| Overall Market Impact |  | Could lower average price Loads will pay. |  |  |
| Consumer Impact |  | Could lower average price Loads will pay. |  |  |
| Procedural History |  | - On 4/18/11, SCR766 was posted. - On 4/20/11, the motion to grant SCR766 Urgent status failed via WMS e-mail vote. - On 5/10/11, ERCOT comments were posted. - On 5/11/11, WMS considered SCR766. |  |  |
| WMS Decision |  | On 5/11/11, WMS unanimously voted to recommend approval of SCR766 as revised by WMS. All Market Segments were present for the vote. |  |  |
| Summary of WMS Discussion |  | On 5/11/11, WMS revised the Title, System Change Description, and Reason for System Change to include Hub prices for SCR766. ERCOT Staff noted that ERCOT intends to submit a follow-up Nodal Protocol Revision Request (NPRR) to clarify language that lists information that is posted via ICCP. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Alice Jackson for the Demand Side Working Group (DSWG) on behalf of WMS |
| E-mail Address | Alice_Jackson@oxy.com |
| Company | Occidental Chemical Corporation |
| Phone Number | (713) 215-7844 |
| Market Segment | (832) 863-4930 |
|  | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smngo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Business Case for Proposed System Change

Issue:

Prior to market open, the five minute Load Zone and Hub prices were intended to be published along with all the other Settlement Point Prices (SPP).  However, it was identified that the Load Zone and Hub prices was not available in the EMS, therefore it would have taken further programming to make it available.  Because of time constraints this was not achieved prior to market open.  This SCR resolves the data availability issue.

The five minute Load Zone and Hub prices are calculated and stored in the Market Management System (MMS), while the data made available over ICCP is in the EMS.  In order to provide the Load Zone and Hub prices via ICCP, the data needs to be populated in the EMS.

Resolution:

Transfer Load Zone and Hub prices from the MMS to the EMS and make them available via ICCP.

Options:

- OPC connection to OAG box.

- Middleware fast transfers.

- AS-X4 ICCP on box where Load Zone and Hub prices are calculated.

- XML sent to eterra box by Market Information System (MIS).

: