ERCOT BUSINESS PRACTICES

D R A F T

Split Generation Resources in the ERCOT Market and Operations Systems

Version _0.4

Document Revisions

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| 12/15/2010 | 0.1 | First draft | RGS |
| 1/19/2011 | 0.02 | Updated following review with Patrick Coon | RGS |
| 2/23/2011 | 0.03 | Update following meeting of 02/03/2011 | RGS |

Approval Authority

Title

Name 	Date

Title

Name	Date

PROTOCOL DISCLAIMER

This Business Practice describes ERCOT Systems and the response of these systems to Market Participant submissions incidental to the conduct of operations in the ERCOT Texas Nodal Market implementation and is not intended to be a substitute for the ERCOT Nodal Protocols (available at http://nodal.ercot.com/protocols/index.html), as amended from time to time.  If any conflict exists between this document and the ERCOT Nodal Protocols, the ERCOT Nodal Protocols shall control in all respects.

Table of Contents

1.	Purpose	5

2.	Design Assumptions for SGR Implementation in ERCOT Systems	6

3.	Registering Generation Resource as an SGR	8

4.	Nodal Protocol Requirements and System Implementation Notes Related to Split Generation Resources	9

4.1.	Section 2, Definitions and Acronyms	9

4.2.	Section 3, Management Activities for the ERCOT Systems	9

4.3.	Section 4, Day-Ahead Operations	15

4.4.	Section 6, Adjustment Period and Real Time Operations	15

4.5.	Section 9, Settlement and Billing	19

4.6.	Section 10, Metering	19

4.7.	Section 11, Data Acquisition and Aggregation	22

5.	SGR Telemetry Requirements	23

6.	COP Entries for SGR	25

# Purpose

Section 2 of the Nodal Protocols, Definitions and Acronyms, defines a Split Generation Resource (SGR) as a Generation Resource that has been split to function as two or more independent Generation Resources in accordance with Protocol Sections 10.3.2.1, Generation Meter Splitting, and 3.10.7.2, Modeling of Resources and Transmission Loads.  This Business Practice:

- provides guidance related to the registration of SGRs and to the participation and settlement of SGRs in the ERCOT Day-Ahead, Supplemental Ancillary Services and Real Time Nodal Markets; and

- describes the responsibilities of ERCOT and the QSEs representing each SGR Owner incidental to these activities.

To accommodate the Nodal Protocol requirements related to the use of split generation meters for a Generation Resource registered with ERCOT as a jointly owned Resource, the design of the ERCOT Operations and Market Systems model SGRs differently, depending on the nature of the ERCOT system application.  ERCOT system applications use either a physical model of the Generation Resource or multiple SGRs logical models representing each owner’s share of the physical Generation Resource.  This implementation meets the Nodal Protocol requirements for an SGR and is consistent with providing economic efficiency in the Nodal Market and maintaining operational reliability in ERCOT.

Generation Resource owners should recognize that Nodal Protocols do not require the use of split generation meters for jointly owned Generation Resources.  The owners of a jointly owned Generation Resource may designate a single entity as the decision making authority (as this term is described Protocol Section 3.19.1(2)(c)(i)) for the entire output of the resource.  This entity and its designated QSE are responsible for the registration of the Generation Resource, the operation of the resource and the submission of AS and Three Part Energy Offers for the entire output capability of the resource.  In ERCOT systems, this entity is designated as the single Resource Entity that represents 100% of the unit.  No SGR ownership percentages are provided to ERCOT during the registration process or during the verifiable cost submissions for the Generation Resource.  When registered in this manner, ERCOT systems will not create logical SGRs in the ERCOT market and operations systems and all Settlement and Billing and credit matters will be accomplished between ERCOT and the designated QSE representing this Generation Resource.

Finally, the provisions of Protocol Section 10.3.2.1, Generation Meter Splitting, may also be applied when multiple Generation Resources, each independently owned, are located behind a single EPS metering point.  Such arrangements are not included in the scope of this Business Practice.

# Design Assumptions for SGR Implementation in ERCOT Systems

To satisfy both market operations and the reliability aspects of system operations both logical models for individual SGRs and physical models for generation facilities are deployed in the ERCOT business systems as illustrated in the following table:

Table 1: Logical & Physical Model in ERCOT Systems

|  | INPUT |  | BUSINESS SYSTEM APPLICATIONS |  |  |  |  | EXTERNAL FACING SYSTEMS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Registration | NMMS | EMS | MMS | CRR | Planning | COMS |  |
| LOGICAL MODEL |  |  | Telemetry LFC | DAM RUC SCED COP |  |  | Settlement And Billing | MIS S&B COP |
| PHYSICAL MODEL |  |  | SE NSA VSA DSA TSAT OTS | NSM OS | CRR | Power Flow Transient Stability |  |  |

Logical models for individual SGRs and physical models for Generation Resource are required to be registered and represented in network models maintained in the Network Model Management System (NMMS).  The ERCOT NMMS serves as the source system for network model information used for both the physical Generation Resource and its logical SGR shares in the ERCOT subsystems according to Table 1 above.  The various ERCOT subsystems obtain model information from the NMMS in accordance with the following:

- The ERCOT Outage Scheduler application models the physical Generation Resource.  ERCOT requires the Resource Entities party to a Generation Resource registered as SGR’s to designate the Master QSE as single point of contact for Resource outages and deratings that are applied to capability of the physical Generation Resource.

- The CRR, Planning and Network Operations models use only the physical generation facilities represented by multiple SGRs.

- ERCOT system outputs used for Settlements and Billing, MIS reporting and COP validations are provided for each individual Split Generation Resource identified in the NMMS.  The output results from the DAM, RUC and SCED ERCOT system applications for each SGR is shared only with each SGR’s designated QSE.

- To avoid modeling complexities, Protocols do not allow a Combined Cycle Train to register as a Split Generation Resource.

For example, only the single physical Generation Resource is included in network model used by the EMS power flow calculations and contingency analysis, transient stability, reactive capability and voltage support applications.  On the other hand, the commercial MMS applications commit the logical SGRs and dispatch energy from each SGR by providing Base Points to each SGR’s designated QSE.  The shift factors used in the commercial MMS applications are calculated for the physical units associated with an SGR and aggregated as if the SGRs are all connected to the same electrical network bus in the MMS commercial systems.  The SGRs are settled by application of real-time telemetry to parse settlement meter data as described in Nodal Protocol Sections 10.3.2.1 through 10.3.2.4; therefore, hourly DAM/Real Time metered 15-minute energy values for the Electrical Bus to which SGRs are connected are utilized as Settlement Billing Determinants for DAM & Real Time energy settlements, respectively.  Since the logical SGRs are included in the commercial network model and located on the same Electrical Bus, the correspondent SGR shift factors are identical and all SGRs have the same LMP at the logical Resource Node.

The Nodal Protocols require all input data and output results to be received from or provided to QSEs on an individual SGR basis.  ERCOT may combine the representation of SGRs within its applications for specific application processing requirements.  For data validation and network modeling purposes the SGRs are established in the model separately and their physical characteristics are specified individually.

All SGR data submissions are made by its designated QSE.  For example, each QSE is responsible for the submission of the following data for the SGRs included in its Resource portfolio:

- Three Part Supply Offers (including startup offers, minimum energy offers, and energy offer curves);

- Ancillary Service Offers (for Regulation Up/Down, Responsive Reserve, and Non-Spinning Reserve Services);

- SGR parameters (such as High and Low Sustainable Limits, ramp rates, minimum  up/down times, maximum number of starts etc);

- SGR COP data (including Resource Status; HEL/HSL/LSL/LEL); AS Resource Responsibility for the SGR); and

- ICCP SGR telemetry data in the Operating Hour.

# Registering Generation Resource as an SGR

QSE’s with Resources represent Resource Entities that have registered physical resources in accordance with the Nodal Protocols.  Resource Entities that jointly own and/or share in a Generation Resource may register the Generation Resource as Split Generation Resources, designating the split percentages during the resource registration process.  ERCOT will apply these split percentages to establish the relationship of Resource Entity with each split percent of the Generation Resource in the form of an SGR or virtual Generation Resource.

The ERCOT registration system links (and is designed to link) each Generation Resource or Split Generation Resource (SGR) with a Resource Entity (RE) and RE with QSE.  This association populates downstream systems and processes.

The Resource Entities that are party to a Generation Resource registered with SGRs designate their associated QSEs.  Among the associated SGR QSEs the Resource Entities designate one of the SGR QSEs to provide additional telemetry as the Master QSE as specified in Section 3.8.1, Split Generation Resources and 6.5.5.2, Operational Data Requirements.

During registration the Resource Entity with the SGR QSE acting as Master QSE will designate the Resource Outage Scheduling Contact (ROSC) in accordance with Section 3.1.4.1, Single Point of Contact.

# Nodal Protocol Requirements and System Implementation Notes Related to Split Generation Resources

## Section 2, Definitions and Acronyms

Qualified Scheduling Entity

Master Qualified Scheduling Entity (QSE)

A QSE designated by Resource Entities owning or controlling a Generation Resource that has been split into two or more Split Generation Resources as set forth in Section 3.8.1, Split Generation Resources, that provides ERCOT data and dispatch on total Generation Resource basis in accordance with protocol.

Resource

Generation Resource

Split Generation Resource

Where a Generation Resource has been split to function as two or more independent Generation Resources in accordance with Section 10.3.2.1, Generation Resource Meter Splitting, and Section 3.10.7.2, Modeling of Resources and Transmission Loads, each such functionally independent Generation Resource is a Split Generation Resource.

## Section 3, Management Activities for the ERCOT Systems

- Section 3.1.4.1 Single Point of Contact

(2)	The Single Point of Contact must be either a person or a position available seven days per week and 24 hours per day for each Resource Entity and TSP.  The Resource Entity shall designate its QSE as its Single Point of Contact.  The designated Single Point of Contact for a Generation Resource that has been split into two or more Split Generation Resources shall be the Master QSE.  The Single Point of Contact for the TSP must be designated under the ERCOT Operating Guides.

Outage (forced and maintenance) and derating data submissions to the Outage Scheduler are required must be submitted to ERCOT systems only for the physical Generation Resource using split generation metering.  The Master QSE is responsible for making these Outage Scheduler submissions.  Outage Scheduler data for the physical Generation Resource is used only for outage evaluation purposes.  Physical Generation Resource output deratings must be proportionately included in the SGR High Sustainable Limits (HSL) reported in the SGR COP and Real Time telemetry.

Section 3.8.1 Split Generation Resources

- When a generation meter is split, as provided for in Section 10.3.2.1, Generation Resource Meter Splitting, two or more independent Generation Resources must be created in the ERCOT Network Operations Model according to Section 3.10.7.2, Modeling of Resources and Transmission Loads, to function in all respects as Split Generation Resources in ERCOT System operation.  A Combined Cycle Train may not be registered in ERCOT as a Split Generation Resource.

(2)	Each Qualified Scheduling Entity (QSE) representing a Split Generation Resource shall collect and shall submit to ERCOT the Resource Parameters defined under Section 3.7, Resource Parameters, for the Split Generation Resource it represents.  The parameters provided must be consistent with the parameters submitted by each other QSE that represents a Split Generation Resource from the same Generation Resource.  The parameters submitted for each Split Generation Resource for limits and ramp rates must be according to the capability of the Split Generation Resource represented by the QSE.  Startup and shutdown times, time to change status and number of starts must be identical for all the Split Generation Resources from the same Generation Resource submitted by each QSE.  ERCOT shall review data submitted by each QSE representing Split Generation Resources for consistency and notify each QSE of any errors.

Each SGR may be represented by a different QSE.  All resource parameters are submitted for each individual SGR by the QSE representing the owner of that SGR.  Energy and AS may be offered by each individual SGR in all market operations.  Each SGR must be represented in COP and the QSE must provide ERCOT with telemetry for the SGR similar to that required for any Generation Resource.  The SGR parameters submitted by QSEs that represent SGRs for the same Generation Resource must be mutually consistent and representative of the physical characteristics of the shared Generation Resource.  More specifically, the capacity limits and ramp rates submitted for individual SGRs must be consistent with and reflect the physical capabilities of the generating facility.  It is the responsibility of the QSE representing each SGR to assure the consistence of these parameters as provided to ERCOT in the COP and Real Time telemetry.  Although submitted separately by each SGR’s QSE, startup and shutdown times, time to change status and number of starts must be identical for all SGRs that are part of a generating facility.  It is the responsibility of the QSE representing each SGR to assure at all times the consistency of these parameters as provided to ERCOT via resource registration and updated using the Resource Parameter Update application of the Market Manager.

(3)	Each Split Generation Resource may be represented by a different QSE.  The Resource Entities that own or control the Split Generation Resources from a single Generation Resource must designate a Master QSE from among the QSEs representing the associated Split Generation Resources.  Exceptions to the selection of Master QSE may be proposed, subject to ERCOT approval.  Each QSE representing a Split Generation Resource must comply in all respects to the requirements of a Generation Resource specified under these Protocols.

The Master QSE and each QSE that represents a SGR shall provide ERCOT with telemetry of the actual generator breakers and switches that continuously provides ERCOT with the status of the individual Split Generation Resource.  It is the responsibility of the QSE representing each SGR to coordinate among themselves to assure consistent Resource Status telemetry at all times.

(4)	Each QSE is responsible for representing its Split Generation Resource in its Current Operating Plan (COP).  During the Reliability Unit Commitment (RUC) Study Periods, any conflict in the Resource Status of a Split Generation Resource in the COP is resolved according to the following:

(a)	If a Split Generation Resource has a Resource Status of OUT for any hour in the COP, then any other QSEs’ COP entries for their Split Generation Resources from the same Generation Resource are also considered unavailable for the hour;

(b)	If the QSEs for all Split Generation Resources from the same Generation Resource have submitted a COP and at least one of the QSEs has an On-Line Resource Status in a given hour, then the status for all Split Generation Resources for the Generation Resource is considered to be On-Line for that hour, except if any of the QSEs has indicated in the COP a Resource Status of OUT.

The proxy energy offers for each SGR, as specified in Nodal Protocol Section 5.5.2, are created in the RUC optimized process for each SGR separately.

(5)	Each QSE representing a Split Generation Resource shall update its individual Resource Status appropriately.

If an individual SGR  telemeters an online Resource Status, then all SGRs for the generating facility must telemeter an on-line telemeter Resource Status.  It is the responsibility of the QSE representing each SGR to coordinate among themselves to assure consistent Resource Status telemetry at all times.

(6)	Each QSE representing a Split Generation Resource may independently submit Energy Offer Curves and Three-Part Supply Offers.  ERCOT shall treat each Split Generation Resource offer as a separate offer, except that all Split Generation Resources in a single Generation Resource must be committed or decommitted together.

Each SGR offer is treated as a separate offer, except that all SGRs in a single physical Generation Resource must be committed or de-committed together by the DAM and RUC.  QSEs with SGRs shall coordinate the dispatch of the physical Generation Resource with the QSEs representing the other owners of SGRs for the same Generation Resource according to the ERCOT Dispatch Instructions provided to each SGR (including SCED Base Points and other resource specific Dispatch and Commitment Instructions).

(7)	Each QSE submitting verifiable cost data to ERCOT shall coordinate among all owners of a single Generation Resource to provide individual Split Generation Resource data consistent with the total verifiable cost of the entire Generation Resource.  ERCOT may compare the total verifiable costs with other similarly situated Generation Resources to determine the reasonability of the cost.

The Generation Resource startup offer and minimum energy generic caps are calculated by ERCOT based on the physical Generation Resource type and split among the SGR startup offer and minimum energy generic caps according to the QSE share percentages provided on the RARF.  The verifiable SGR-specific startup and minimum energy costs are established and approved by ERCOT based on available information subject to ERCOT’s standard approval process.  The transition time points (cold, intermediate and hot start times, breaker closure etc) of the startup cost function for all SGRs must be the same.  While ERCOT will verify certain of these values during its verifiable cost reviews, it is the responsibility of the SGR Owners to assure consistency for this data.

Section 3.10.7.2 Modeling of Resources and Transmission Loads

- Each Resource Entity shall provide ERCOT and TSPs with information describing each of its Generation Resources and Load Resources connected to the transmission system. All Resources greater than ten MW, Generation Resources less than ten MW but providing Ancillary Service, Split Generation Resources where the physical generator being split is greater than ten MW, Private Use Networks containing Resources greater than ten MW, Wind-powered Generation Resources (WGRs) with an aggregate interconnection to the ERCOT System greater than ten MW, Direct Current Tie (DC Tie) Resources, and the non-TSP owned step-up transformers greater than ten MVA, must be modeled to provide equivalent generation injections to the ERCOT Transmission Grid. ERCOT shall coordinate the modeling of Generation Resources, Private Use Networks, DC Tie Resources and Load Resources with their owners to ensure consistency between TSP models and ERCOT models.

- Each Resource Entity representing a Split Generation Resource shall provide information to ERCOT and TSPs describing an individual Split Generation Resource for its share of the Generation facility to be represented in the Network Operations Model in accordance with Section 3.8, Special Considerations for Split Generation Meters. The Split Generation Resource must be modeled as connected to the ERCOT Transmission Grid on the low side of the generation facility main power transformer.

Protocol Section 3.10.7.2, Modeling of Resources and Transmission Loads, requires each SGR to be represented in the Network Operations Model in the same manner as any other Generation Resource. Each SGR is modeled in the Network Operations Model topology as connected to the ERCOT Transmission Grid on the low side of the physical Generation Resource main power transformer.

Section 3.10.7.5.2 Continuous Telemetry of the Real-Time Measurements of Bus Load, Voltages, Tap Position, and Flows

- Each QSE that represents a Split Generation Resource, with metering according to Section 3.8, Special Considerations for Split Generation Meters, shall provide ERCOT with telemetry of the actual equivalent generator injection of its Split Generation Resource and the Master QSE shall provide telemetry in accordance with Section 6.5.5.2, Operational Data Requirements,, on a total Generation Resource basis.  ERCOT shall calculate the sum of each QSE’s telemetry on a Split Generation Resource and compare the sum to the telemetry for the total Generation Resource.  ERCOT shall notify each QSE representing a Split Generation Resource of any errors in telemetry detected by the SE.

## Section 4, Day-Ahead Operations

Section 4.4.9.2.2 Startup Offer and Minimum-Energy Offer Validation

- Where a Split Generation Resource has submitted a Startup Offer and Minimum-Energy Offer, ERCOT shall validate the offers in accordance with Section 3.8, Special Considerations for Split Generation Meters.

## Section 6, Adjustment Period and Real Time Operations

Section 6.5.5.2 Operational Data Requirements

- ERCOT shall use Operating Period data to monitor and control the reliability of the ERCOT Transmission Grid and shall use it in network analysis software to predict the short-term reliability of the ERCOT Transmission Grid.  Each TSP, at its own expense, may obtain that Operating Period data from ERCOT or directly from QSEs.

- A QSE representing a Generation Resource connected to Transmission Facilities or distribution facilities shall provide the following Real-Time telemetry data to ERCOT for each Generation Resource.  ERCOT shall make that data available, in accordance with ERCOT Protocols, NERC standards and policies, and Governmental Authority requirements, to requesting TSPs and DSPs operating within ERCOT.  Such data must be provided to the requesting TSP or DSP at the requesting TSP’s or DSP’s expense, including:

  - Net real power (in MW) as measured by installed power metering or as calculated in accordance with the Operating Guides based on metered gross real power and conversion constants determined by the Resource Entity and provided to ERCOT as a result of Section 3.7, Resource Parameters.  Net real power represents the actual generation of a Resource for all real power dispatch purposes, including use in Security-Constrained Economic Dispatch (SCED), determination of the High Ancillary Service Limit (HASL), High Dispatch Limit (HDL), Low Dispatch Limit (LDL) and Low Ancillary Service Limit (LASL), and is consistent with telemetered HSL and LSL;

  - Gross real power (in MW) as measured by installed power metering or as calculated in accordance with the Operating Guides based on metered real power, which may include Supervisory Control and Data Acquisition (SCADA) metering, and conversions constants determined by the Resource Entity and provided to ERCOT as a result of Section 3.7;

  - Gross Reactive Power (in Megavolt-Amperes reactive (MVAr));

  - Net Reactive Power (in MVAr);

  - Power to standby transformers serving plant auxiliary Load;

  - Status of switching devices in the plant switchyard not monitored by the TSP or DSP affecting flows on the ERCOT Transmission Grid;

  - Any data mutually agreed to by ERCOT and the QSE to adequately manage system reliability;

  - Generation Resource breaker and switch status;

  - HSL;

  - High Emergency Limit (HEL), under Section 6.5.9.2, Failure of the SCED Process;

  - Low Emergency Limit (LEL), under Section 6.5.9.2;

  - LSL;

  - Configuration identification for Combined Cycle Generation Resources;

  - Ancillary Service Schedule for each quantity of RRS and Non-Spin which is equal to the Ancillary Service Resource Responsibility minus the amount of Ancillary Service deployment;

  - Ancillary Service Resource Responsibility for each quantity of Regulation Up (Reg-Up), Regulation Down (Reg-Down), RRS and Non-Spin.  The sum of Ancillary Service Resource Responsibility for all Resources in a QSE is equal to the Ancillary Service Supply Responsibility for that QSE; and

  - Reg-Up and Reg-Down Services participation factors represent how a QSE is planning to deploy the Ancillary Service energy on a percentage basis to specific qualified Resource(s).

  - The designated Master QSE of a Generation Resource that has been split to function as two or more Split Generation Resources shall provide Real-Time telemetry for items (a), (b), (c), (d), (e), (g), and (h) above, PSS, and AVR status for the total Generation Resource in addition to the Split Generation Resource the Master QSE represents.

SGR Owners are jointly responsible for assuring the delivery of a consistent parameter set to ERCOT at all times during the Operating Hour.  This includes, but is not limited to the following requirements and QSE responsibilities:

- SGR Owners must assure that the aggregation of the SGR Base Points is provided to the physical Generation Resources control system to implement the ERCOT dispatch, including AS and energy deployment dispatch instructions;

- SGR Owners must telemeter a net power output value in MW that represents the SGR’s instantaneous MW share of the total net power output from the physical Generation Resource.  The ERCOT EMS system compares the SGR aggregated net power output telemetry to the net power output telemetry for the physical Generation Resource as provided by the Master QSE.  Net power output must be calculated for each SGR in accordance with the guidance provided in Section 6 in the ERCOT Business Practice “ERCOT and QSE Operations Practices During the Operating Hour”;

- SGR Owners are responsible for coordinating SGR AS capacity and energy deployments from the physical Generation Resource;

SGR Owners are also responsible for jointly controlling the update of Resource Parameters used in the ERCOT commercial systems.  These parameters are updated by use of the Resource Parameter Update application on the MIS Market Manager.  The ERCOT Market Manager User Interface allows each SGR owner the ability to update resource parameters for its SGR, using this application, independent of the other SGR owners.  Consequently, QSEs representing each SGR must coordinate parameter updates to assure the consistency described herein.  For example:

- The SGR up and down ramp rates the SGR owners are expected to enter the allocation of the physical Generation Resource’s ramp rates to the SGR.  It is the responsibility of the SGR Owners to assure that the aggregated SGR ramp rates are equal to or less than the physical Generation Resource ramp rates; and

- SGR Owners must assure that each SGR’s temporal constraint parameters stored in the Resource Parameter Update system always equal the physical Generation Resource’s temporal constraints limits at all times.

Section 6.5.7.8, Dispatch Procedures

- ERCOT may direct Verbal Dispatch Instructions (VDIs) to the Master QSE of a Generation Resource that has been split to function as two or more Split Generation Resources as deemed necessary by ERCOT to effectuate actions for the total Generation Resource for instances in which electronic Dispatch Instructions are not feasible.

## Section 9, Settlement and Billing

Section 9.14.8, Disputes for Settlement Application of Integrated Telemetry for Split Generation Resources

Settlement and billing disputes related to application of integrated Real-Time telemetry of MW or MVAr from a Generation Resource that has been split to function as two or more Split Generation Resources require a signed affidavit by all QSEs representing associated Split Generation Resources..  Data values submitted with the affidavit must be integrated to the applicable Settlement Interval format related to the Settlement and billing charge type in dispute.

## Section 10, Metering

Section 10.3.2.1 Generation Resource Meter Splitting

    - Each Generation Resource meter must be represented by only one Qualified Scheduling Entity (QSE), except that a jointly owned Generation Resource unit or group of Generation Resources may split the net generation output into two or more Split Generation Resources for a Resource Entity.  Each Resource Entity representing a Split Generation Resource may have its energy and capacity scheduled through a separate QSE.  For purposes of this paragraph, a jointly owned Generation Resource unit or group of Generation Resources shall also include the San Miguel and Gibbons Creek power projects and Intermittent Renewable Resources (IRRs) such as wind and solar generation.

    - When a Generation Resource that has been split to function as two or more Split Generation Resources is registered with ERCOT, the Resource Entities representing the Split Generation Resources shall be required to submit a percentage allocation of the Generation Resource to be used to determine the capacity available at each Split Generation Resource.

    - When a Generation Resource that has been split to function as two or more Split Generation Resources is registered with ERCOT, the owners of the Generation Resource shall submit all required ERCOT Facility registration documentation and an ERCOT-approved splitting agreement executed by an Authorized Representative from each owning Resource Entity.  Such agreement shall contain a defined and fixed ownership percentage as among the owning Resource Entities.  ERCOT shall establish this Generation Resource as a “split,” essentially establishing Split Generation Resource meters.  Generation splitting based on a static ratio is not permitted.  Generation splitting requires Real-Time splitting signals.

Section 10.3.2.1.1 Split Generation Resource Metering Real-Time Signal

- When a Split Generation Resource is registered with ERCOT, the QSE representing the Split Generation Resource shall provide ERCOT with a Real-Time signal of the MW of generation for the Split Generation Resource.  The Real-Time MW signals must be revised every scan cycle and must represent the QSE’s Split Generation Resource in positive MW.

- ERCOT shall integrate the Real-Time MW signals and provide a MWh value for each 15-minute interval for each Split Generation Resource.

- The settlement system shall use the integrated MWh per interval value to calculate the percentage breakdowns to be applied to the actual metered MWh values retrieved from the EPS Metering Facility.

Section 10.3.2.1.2 Allocating EPS Metered Data Split Generation Resource Meters

- ERCOT shall poll the EPS Metering Facilities related to the actual Generation Resource and store the meter data at 15-minute intervals.  This metering data must be validated, edited, estimated, and compensated for losses, as necessary, and be netted as required.  This resulting data must then have the Split Generation Resource ratios applied to assign the generation to the QSE representing each owner of the Split Generation Resources.  The MWh quantities of the Split Generation Resources must be used in all Settlement calculations and reports.

- The following example illustrates the splitting of the generation data:

Splitting Example 1

| Integrated values from ERCOT systems |  |  |  |  |  |  | Actual Metered MWh | Data to be Used in Settlement |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Interval Ending | RID1 (MWh) | RID2 (MWh) | RID3 (MWh) | Total MWh |  | % Ratios Rid 1,2,3 |  | Split MWh | Split MWh | Split MWh |
| 13:15 | 10 | 20 | 10 | 40 |  | 25, 50, 25 | 52 | 13 | 26 | 13 |

Section 10.3.2.1.3 Processing for Missing Dynamic Split Generation Resource Signal

For any interval when ERCOT has not received a Real-Time signal for any one of the Split generation Resources, ERCOT shall use the last valid percentage ratio for a completed interval.

Splitting Example 2

| Integrated values from ERCOT systems |  |  |  |  |  |  | Actual Metered MWh | Data to be Used in Settlement |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Interval Ending | RID1 (MWh) | RID2 (MWh) | RID3 (MWh) | Total MWh |  | % Ratios Rid 1,2,3 |  | Split MWh | Split MWh | Split MWh |
| 13:15 | 10 | 20 | 10 | 40 |  | 25, 50, 25 | 52 | 13 | 26 | 13 |
| 13:30 | NA | 21 | 10 | NA |  | Ratio Above | 55 | 13.75 | 27.5 | 13.75 |
| 13:45 | NA | 22 | 10 | NA |  | Ratio Above | 48 | 12 | 24 | 12 |

Section 10.3.2.1.4 Calculating the Split Generation Resource Ratio

- For Split Generation Resources, ERCOT shall provide for Settlement the net MWh value for each 15-minute interval. This value is the MWh accumulated based on the MW value over each scan cycle. ERCOT shall use a standard “integration” mechanism to perform this function.

- For Settlement, ERCOT shall use the integrated data to determine the allocation ratio as the integrated share of each signal divided by the integrated total of signals.

Section 10.3.2.1.5 Split Generation Resource Data Made Available to Market Participants

Market Participants shall have access to allocated generation output and ratio data only for the Split Generation Resources  that they represent.

10.3.2.1.6 Allocating EPS Metered Data to Generator Owners When It Is Net Load

EPS Generation Resource sites that are netted by ERCOT may have multiple Competitive Retailers (CRs) associated with the Load. ERCOT shall poll the EPS metering facilities related to the actual Generation Resource facility and store the meter data at 15-minute intervals. ERCOT shall perform validation, editing, estimation, compensation for losses as necessary, and netting as required for EPS metering data. For intervals when data is net Load, the fixed ownership percentages stored in the asset database must be used to allocate the consumption to multiple Electric Service Identifiers (ESI IDs). The consumption quantities for the ESI IDs must be used in all energy settlement calculations and reports.

## Section 11, Data Acquisition and Aggregation

11.1.7 ERCOT Polled Settlement Generation Meter Splitting

ERCOT will apply any approved splitting schemes to partition generation production and auxiliary Load when the unit is not in operation in accordance with Section 10, Metering of these Protocols.

# SGR Telemetry Requirements

Required Telemetry Data Sets

| Master QSE A Physical Generation Resource Telemetry Data Set | QSE A SGR1 Logical Telemetry Data Set | QSE B SGR2 Logical Telemetry Data set | Comments |
| --- | --- | --- | --- |
| SCADA Net Power | SGR1 Net Power Flow Calculated | SGR2 Net Power Flow Calculated | Each QSE must calculate and telemeter its instantaneous net power output as the appropriate ratio share of the physical Generation Resource. The total SGR net power output must equal the physical Generation Resource net power flow. |
| SCADA Gross Power | SGR1 Gross Power Flow Calculated | SGR2 Gross Power Flow Calculated | Each QSE must calculate and telemeter its instantaneous gross power output as the appropriate ratio share of the physical Generation Resource. The total SGR gross power output must equal the physical Generation Resource net power flow. |
| SCADA Net MVAR | Not Expected | Not Expected |  |
| SCADA Gross MVAR | Not Expected | Not Expected |  |
| Breaker Status | Not Expected | Not Expected |  |
| AVR Status | Not Expected | Not Expected |  |
| Emergency Ramp Rate | SGR1 Emergency Ramp Rate | SRG2 Emergency Ramp Rate | Each QSE must calculate and telemeter its instantaneous emergency ramp rate as the appropriate ratio share of the physical Generation Resource emergency ramp rate. The total SGR emergency ramp rate must equal the physical Generation Resource emergency ramp rate. |
| HEL | SGR1 HEL | SRG2 HEL | Each QSE must calculate and telemeter its HEL as the appropriate ratio share of the physical Generation Resource HEL. The total SGR HEL must equal the physical Generation Resource HEL |
| HSL | SGR1 HSL | SRG2 HSL | Each QSE must calculate and telemeter its HSL as the appropriate ratio share of the physical Generation Resource HSL. The total SGR HSL must equal the physical Generation Resource HSL |
| Lower Block Status | Lower Block Status | Lower Block Status | If the lower block status is active for the physical Generation Resource it must be active for all SGRs |
| LEL | SGR1 LEL | SRG2 LEL | Each QSE must calculate and telemeter its LEL as the appropriate ratio share of the physical Generation Resource LEL. The total SGR LEL must equal the physical Generation Resource LEL |
| LSL | SGR1 LSL | SRG2 LSL | Each QSE must calculate and telemeter its LSL as the appropriate ratio share of the physical Generation Resource LSL. The total SGR LSL must equal the physical Generation Resource LSL |
| Normal Ramp Rate | SGR1 Normal Ramp Rate | SRG2 Normal Ramp Rate | Each QSE must calculate and telemeter its instantaneous normal ramp rate as the appropriate ratio share of the physical Generation Resource normal ramp rate. The total SGR normal ramp rate must equal the physical Generation Resource emergency ramp rate. |
| Not Expected | SGR1 Non-Spin Responsibility | SRG2 Non-Spin Responsibility | Each QSE telemeters the AS Responsibility for its SGR |
| Not Expected | SGR1 Non-Spin Schedule | SRG2 Non-Spin Schedule | Each QSE telemeters the AS Schedule for its SGR |
| Raise Block Status | Raise Block Status | Raise Block Status | If the raise block status is active for the physical Generation Resource it must be active for all SGRs |
| Not Expected | SGR1 Reg Dn Participation Factor | SRG2 Reg Dn Participation Factor | Each QSE telemeters the Regulation Participation Factor as determined for each QSE’s Regulation portfolio. |
| Not Expected | SRG1 Reg Dn Responsibility | SRG2 Reg Dn Responsibility | Each QSE telemeters the Regulation Down Responsibility for its SGR |
| Not Expected | SRG1 RRS Responsibility | SRG2 RRS Responsibility | Each QSE telemeters the RRS Responsibility for its SGR |
| Not Expected | SRG1 RRS Schedule | SRG2 RRS Schedule | Each QSE telemeters the RRS Schedule for its SGR |
| Resource Status | SRG1 Resource Status | SRG2 Resource Status | If on-line, the Resource Status for the physical Generation Resource shall be “ON” regardless of the SGR on-line Resource Status. The individual SGR Resource Status shall be consistent with the on-line Resource Status appropriate to the logical resource, for example “ON” or “ONREG” During the startup or shutdown sequence, the physical and SGR Resource Status shall be set to “ONTEST” until the physical Generation Resource net power output equals P1 * the aggregated SGR LSL . |
| Not Expected | SRG1 Reg Up Participation Factor | SRG2 Reg Up Participation Factor | Each QSE telemeters the Regulation Participation Factor as determined for each QSE’s Regulation portfolio. |
| Not Expected | SRG1 Reg Up Responsibility | SRG2 Reg Up Responsibility | Each QSE telemeters the Regulation Up Responsibility for its SGR |

# COP Entries for SGR

No COP entry is required for the physical Generation Resource.  A COP entry is required for each SGR.

Resource Status: Each SGR must report a Resource Status that is consistent with the QSE’s intended operation of the SGR during the COP reporting period.  For purposes of initializing the SGR Resource Status for temporal constraints in the DAM, if any SGR associated with a physical Generation Resource is shown with an “ON” Resource Status in a COP reporting hour, the DAM shall count that hour as an on-line hour of the associated SGRs.

HEL/HSL/LSL/LEL: Each SGR must report HSL/LSL/HEL/LEL values are the QSE’s expectation for the Resource’s capability at each limit.

AS Resource Responsibilities: During the current and next Operating Day hours, this is the amount of MW of Ancillary Service that the Resource is responsible to provide in Real-Time rounded to the nearest MW.   In hours beyond the current and next Operating Day ERCOT assumes this indicates the intention of the QSE to use the available Resource to provide self-arranged and/or ERCOT purchased AS.

The decision making entity  and all of the joint owners must each individually file at ERCOT a Decision Making Authority Declaration  forms  consistent with the commercial ownership arrangements for this Resource.

Text shown in italics is not Protocol language.  Italic text is used to convey ERCOT’s expectations regarding Market Participant responses to the relevant Protocol requirements. This document does not replace or supersede Protocols and if any conflict between this section and the approved Nodal Protocols exists, the Nodal Protocols control in all respects.