OWG Meeting Notes 04/20/11

Attendance:

Leticia Soto Reyes	ERCOT

Frank Owens		TMPA (TO)

Walter Reid		Wind Coalition

Robert Avila		BPUB (TO)

Jack Thormahlen	LCRA (QSE)

Rand Westbrook	CNP (TO)

Rick Keetch		NRG/Reliant Energy

Colleen Frosch	ERCOT

Brad Calhoun		CNP (TO)

Jeff Sims		CPS Energy (TO)

Stan Morris		TNMP (TO)

Billy Yancey		EPE

Leo Villanueva	ERCOT

Yvette Landin		ERCOT

John Blackwell	AE (TO)

Tip Tipton 		BEPC (TO)

Ross Owen		Oncor (TO)

Steve Zaragoza 	GPL (TO)

Brenda Hampton	Luminant (QSE) phone

Linda Rodriquez 	 AEP (TO) phone

Isabel Flores 		ERCOT

Resmi Surendran	ERCOT phone

9:35 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting Report – NOGRR056 was approved by ROS, NOGRR058 was tabled by ROS, NOGRR068 was granted urgency and tabled by ROS, and NOGRR069 was tabled and sent to SPWG.

The March meeting notes were reviewed.

All action items are highlighted in green

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement –

ROS approved the NOGRR043 (OWG comments) as amended by ROS.  ROS directed OWG to resolve the issue relating to the language change made in Section 2.9.1, 1) b): (note – turbines was revised to WGRs).  A draft NOGRR will be submitted to address this issue. ERCOT Planning and Wind Coalition.

NOGRR 060 Updating the term Resource Plan to Current Operating Plan – Group endorsed the Impact Analysis (IA) and recommended approval to ROS.

NOGRR 061 Posting Requirement for Hydro-Responsive Testing – Group endorsed the IA and recommended approval to ROS.

NOGRR 063 Additional Method for Submitting Back-up Control Plans – Group was in consensus to recommend approval as submitted to ROS, IA will be reviewed next month.

NOGRR 064 QSE Acknowledgement of VSS Dispatch Instructions – The need to change language in section 2.7.4.1 was discussed per Luminant. The Group made changes in section 2.7.4.1 and recommended approval as revised by OWG.  IA will be reviewed next month.

NOGRR 065 Authorize ERCOT to Procure Additional RRS During Severe Cold Weather – OWG reviewed NPRR 336 and were in consensus to recommend that PRS form a special group to perform a comprehensive reliability and commercial review of the NPRR and the recommendation from PUC/IMM/TRE should be considered. OWG was in consensus to table one month.

NOGRR 066 ERCOT WAN Connection Termination Requirement – Group reviewed and recommended approval as amended by the ERCOT comments and as revised by OWG, IA will be reviewed next month.

NOGRR067 Review and Analysis of Turbine Speed Governor Performance – OWG was in consensus to table one month to allow participants to discuss with PDCWG and to determine if changes are needed due to BAL-001.

NOGRR 068 Hydro-Responsive Reserves – No Action, ERCOT will meet with LCRA to discuss their concerns.

NPRR 315 Revision of Responsive Reserve Measure to Net Dependable Capability – Group was in consensus to endorse the 3/30/11 PDCWG comments.

NPRR 334 Incorporate Resource Limit for the amount of Regulation Service that may be provided from a Generation Resource during any Operating Hour – OWG agreed that there is a potential reliability issue when a limited numbers of Resources are providing Regulation Service.  Consensus to recommend approval as submitted.

Operations Report – ERCOT reviewed the March Operations Report.

Nodal Operating Guides Review and Revision Task Force Report –

The group met on April 19th and will be submitting two NOGRR.

Operations Task Force Report –

NOGRR still needed on Voltage Profile issues, possible NOGRR to review next meeting.

Black Start Task Force Report –

Nodal Protocol Revision Requests (NPRR306) - Revisions to Protected Information to Include Black Start Documents Considered CEII was review. Next meeting April 25, 2011 with several items to be discussed such as NDA, and a Black Start Services RFP. Group was reminded that some of the Backup Plans are past due since 03/15/2011.

Compliance Report – Texas RE not present.

System Operations Report – Nothing to report.

Next meeting – May 18, 2011

13:17 meeting adjourned.