| NPRR Number | 310 | NPRR Title | Expand Output Schedule Acceptable Range to Include HSL and LSL |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | May 17, 2011 |  |  |
| Effective Date |  | Upon System Implementation. |  |  |
| Priority and Rank Assigned |  | Priority – High; Rank – 12.76 |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.4.2.3, Output Schedule Criteria |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) updates the criteria by which Output Schedules are deemed valid to include Output Schedules that are equal in value to the Resource High Sustained Limit (HSL) and Low Sustained Limit (LSL). |  |  |
| Reason for Revision |  | This NPRR will allow Resources to provide Output Schedules that are equal to the Resource limits. |  |  |
| Overall Market Benefit |  | Allows for additional energy to be scheduled at the Resource limits. Reduces unnecessary validation notifications at the Resource limits. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR310 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 1/14/11, NPRR310 was posted. - On 2/17/11, PRS considered NPRR310. - On 3/23/11, an Impact Analysis and Cost Benefit Analysis were posted. - On 3/24/11 PRS considered the 2/17/11 PRS Report and Impact Analysis for NPRR310. - On 4/6/11, a revised Cost Benefit Analysis was posted. - On 4/7/11, PRS comments were posted. - On 4/7/11, TAC considered NPRR310. - On 4/7/11, a revised Cost Benefit Analysis was posted. - On 5/17/11, the ERCOT Board considered NPRR310. |  |  |
| PRS Decision |  | On 2/17/11, PRS unanimously voted to recommend approval of NPRR310 as submitted. All Market Segments were present for the vote. On 3/24/11, PRS voted to endorse and forward the 2/17/11 PRS Report, Impact Analysis and Cost Benefit Analysis for NPRR310 to TAC with a recommended priority of High and a rank of 12.76. There was one abstention from the Municipal Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/17/11, there was no discussion. On 3/24/11, it was noted that the earliest release date to implement NPRR310 is August 2011. Participants agreed to work with ERCOT on revisions to the Cost Benefit Analysis prior to TAC. |  |  |
| TAC Decision |  | On 4/7/11, TAC unanimously voted to recommend approval of NPRR310 as recommended by PRS in the 3/24/11 PRS Report and the revised 4/6/11 Cost Benefit Analysis as revised by TAC. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 4/7/11, ERCOT Staff explained the methodology used to develop the Cost Benefit Analysis for NPRR310. |  |  |
| Board Decision |  | On 5/17/11, the ERCOT Board approved NPRR310 as recommended by TAC in the 4/7/11 TAC Report. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Market Cost |
|  | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Allow scheduling of additional energy. | Unknown. |
|  | 2 | Eliminate unnecessary validation notifications at Resource limits. | Unknown. |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Jeremy Carpenter |
| E-mail Address | jcarpenter@tnsk.com |
| Company | Tenaska Power Services Co. |
| Phone Number | 817-303-1869 |
| Cell Number | 214-529-2320 |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| PRS 040711 | Endorsed the draft revised Cost Benefit Analysis as presented to PRS on 4/1/11. |

Proposed Protocol Language Revision

6.4.2.3	Output Schedule Criteria

(1)	An Output Schedule submitted by a QSE for a Resource that is not an RMR Unit and by ERCOT for an RMR Unit must include the following:

(a)	The name of the Entity submitting the Output Schedule for the Resource;

(b)	The name of the Resource;

(c)	The desired MW output level for each five-minute interval for the Resource for all of the remaining five-minute intervals in the Operating Day for which an Energy Offer Curve has not been submitted.

(2)	ERCOT must reject an Output Schedule for a Resource if an Energy Offer Curve corresponding to any period in the Output Schedule exists;

(3)	For a QSE representing one or more Dynamically Scheduled Resources, the sum of all Output Schedules (excluding Ancillary Services Energy deployments, energy deployed through Dispatch Instructions, and Energy Trades) for the QSE must be within 15% or 15 MW (whichever is greater) of the aggregate telemetered DSR Load;

(4)	The MW difference between Output Schedules for any two consecutive five-minute intervals must be less than ten times the SCED Up Ramp Rate for schedules showing an increase from the prior period and the SCED Down Ramp Rate for schedules showing a decrease from the prior period.

(5)	The Output Schedule for each interval in the Operating Period must be less than or equal to the Resource’s HSL and must be greater than or equal to the Resource’s LSL for the corresponding hour.