| Issue | Notes | Assignment | Protocol Section |
| --- | --- | --- | --- |
| Electronic dispatch notification | XML to mimic LR deployment. Will require a Project. ERCOT to draft NPRR language. | Tim has drafted language. | 6.5.9.4.2 DONE |
| Changed deployment sequence in EEA (ERCOT option to deploy EILS prior to LRs) | ERCOT to draft NPRR language. | ERCOT has drafted language. | 6.5.9.4.2 DONE |
| Availability calculation after EILS exhaustion | Overall performance factor as proposed by ERCOT should be developed into NPRR language. If AF only, ratchet 95% or greater to 1. If event, use raw AF and raw EPF, ratchet OPF of 95% or greater to 1. ERCOT to draft NPRR language. | ERCOT. | 8.1.3.1 DONE |
| Initial response to instruction needs to be weighted | Evaluate performance for first full settlement interval following ramp period; report as a pass/fail metric. Does not affect settlement equations. ERCOT to draft NPRR language. | ERCOT. | 8.1.3.1 DONE |
| Initial compliance measured at QSE portfolio level | If QSE fails, ERCOT investigates to determine which Loads caused the failure; suspensions continue at Load level Applies to both event performance and availability. Provision for suspending for 2 consecutive test failures remains as is. SUBJECT TO LEGAL INTERPRETATION OF 25.507(e). ERCOT to draft NPRR language. LANGUAGE SUBJECT TO CHANGE DEPENDING ON LEGAL REVIEW. | Mark Smith has drafted language; Tim has emailed. (Mark B., Temujin to monitor for PUC Staff.) | 8.1.3.1 8.1.3.3 8.1.3.3.1 DONE |
| Clarification of EILS Load obligations by Time Period | Clarify that an EILS Load’s obligation in a Time Period is equal to its awarded capacity (and MBL if applicable). Non-awarded TPs are excluded from event performance evaluation. Need to define what “remain reduced” means; clarify how a Load stays in compliance with provision requiring Loads to return to service only after the recall instruction is issued. ERCOT to draft NPRR language. | ERCOT. | 8.1.3.1 DONE |
| Evaluate performance after the fact using different baseline methodology | In a Contract Period with an event, ERCOT shall re-evaluate baseline assignments after the event and will evaluate EILS Loads on a different baseline methodology if ERCOT determines the different baseline will provide a more accurate representation of business-as-usual Load. If ERCOT uses the different baseline for event performance, would also use it for availability calculation and for QSE portfolio compliance. ERCOT to draft NPRR language. This would apply only to: - If ERCOT flags a Load during ELID as being assigned to Alt Baseline only because of insufficient data; - Loads that chose Alt Baseline even though qualified for one or more Default baselines. (This would not capture Default baseline Loads better evaluated on a different Default baseline type.) QSE may petition for new baseline assignment during Contract Period if assigned to Alt due to insufficient data. CHANGED APPROACH: NOW WOULD ALLOW QSEs TO PETITION ERCOT FOR RECONSIDERATION OF AN ALT BASELINE ASSIGNMENT IF DUE TO INSUFFICIENT DATA. | ERCOT. | 8.1.3.1 DONE |
| Change calculations for Alt Baseline Event Performance Factors | Restructure Alternate event performance calculations to parallel default language in protocols. (Current equations place high emphasis on MBL irrespective of level of MW commitment.) Interval Performance Factor calculation is as follows: 1-(MAX((Actual Load-MBL),0)/Obligation) Leave weighting factor as is for the first partial interval. Ignore the last partial interval. ERCOT to draft NPRR language | ERCOT. | 8.1.3.1 DONE |
| QSE portfolio event performance | ERCOT computes QSE portfolio event performance in two ways: - Current method per Section 8.1.3.3.1. - If ERCOT determines that a more accurate representation of the QSE’s event performance can be obtained by calculating portfolio-level load reductions by applying baseline analysis for all Loads in the portfolio. If the Load reduction exceeds QSE’s aggregate obligations for the event, QSE is deemed to have performed for the event. Pass/fail metric on the 10-minute deployment also calculated at QSE portfolio level. (May use 5-minute data only if available for all EILS Loads in the portfolio.) CHANGED APPROACH | ERCOT. | 8.1.3.1 8.1.3.3 DONE |
| Price response as component of EILS | Consensus is proving elusive. More discussion needed. | Tim will ask Eric to bring language to Friday meeting. | 8.1.3.1 |