- Section 6 (Errata):

NPRR285 - Generation Resource Base Point Deviation Charge Corrections

This Nodal Protocol Revision Request (NPRR) provides that an exception to the Generation Resource Base Point Deviation Charge for any 15-minute Settlement Interval which includes a Security-Constrained Economic Dispatch (SCED) interval that is less than four minutes in duration.  Additional changes are proposed to Base Point Deviation Charges for over- and under-generation, to be effective upon system implementation.  This NPRR also removes the Base Point Deviation Charge for all Intermittent Renewable Resources (IRRs) until corrections to the Nodal systems can be implemented so that the charge applies to IRRs only when there is clear indication that the Base Point received needs to be followed.

- Revised Subsections:

- 6.5.5.2 and 6.5.7.4 [Correction to unbox additional language that was implemented on 5/18 and should have been reflected in the May 18, 2011 Protocols]

- 6.6.5.1.1 and 6.6.5.1.2 [Correction to rebox language that was inadvertently unboxed in the May 18, 2011 Protocols]