| NPRR Number | 364 | NPRR Title | Clarify Active and Inactive SCED Constraint Reporting |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | May 19, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.5.7.1.11, Transmission Network and Power Balance Constraint Management |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies the reporting requirements for Security-Constrained Economic Dispatch (SCED) constraints and aligns the Protocols with current practices. |  |  |
| Reason for Revision |  | This NPRR clarifies Protocol language as to what should be reported regarding transmission constraint information. Network Security Analysis (NSA) is the application used to activate different constraints for economic dispatch by SCED. A constraint consists of a contingency and a monitored Transmission Element paired together. Pursuant to Protocol requirements, the NSA results are currently provided on the Market Information System (MIS) Secure Area; however, the delineation of “active” versus “inactive” is not clear in the current Protocol language. As an example, an inactive constraint is not one in which ERCOT has determined to be inaccurate or inappropriate but rather one that is present in the Transmission Constraint Manager (TCM) that has not been selected for SCED resolution by ERCOT. This NPRR provides a firm delineation for active and inactive constraints, and separates the concept from contingencies that have been rendered ineligible due to being inaccurate or inappropriate. Such invalid contingencies, or contingencies identified by ERCOT as being incorrectly defined or otherwise in error, are already being posted to the MIS per paragraph (6) of Section 5.5.1, Security Sequence. |  |  |
| Overall Market Benefit |  | Aligns the Protocols with current practices and clarifies the information being provided while continuing to provide the current level of transparency and information which is desired by the market. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 5/4/11, NPRR364 and an Impact Analysis were posted. - On 5/10/11, J Aron comments were posted. - On 5/11/11, Calpine comments were posted. - On 5/12/11, ERCOT comments were posted. - On 5/19/11, PRS considered NPRR364. |  |  |
| PRS Decision |  | On 5/19/11, PRS unanimously voted to table NPRR364. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 5/19/11, a recommendation was made that WMS review NPRR364. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Aligns the Protocols with current practices. | Unknown. |
|  | 2 | Clarifies information being provided regarding transmission constraints. | Unknown. |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Chad Thompson |
| E-mail Address | cthompson@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6508 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| J Aron 051011 | Proposed revisions that allows Market Participants to better understand the decision making process used to manage binding constraints. |
| Calpine 051111 | Supported 5/10/11 J Aron comments. |
| ERCOT 051211 | Responded to the 5/10/11 J Aron comments and the 5/11/11 Calpine comments. |

Proposed Protocol Language Revision

6.5.7.1.11	Transmission Network and Power Balance Constraint Management

(1)	ERCOT may not allow any constraint (contingency and limiting Transmission Element pair) identified by NSA to be activated in SCED until it has verified that the contingency definition in NSA associated with the constraint is accurate and appropriate given the current operating state of the ERCOT Transmission Grid.  ERCOT shall continuously post to the MIS Secure Area all constraint contingencies in the NSA.  ERCOT shall provide relevant constraint information, including, but not limited to, the contingency name as provided in the standard contingency list, whether or not the constraint is active in SCED, the overloaded Transmission Element name, the rating of the overloaded Transmission Element, and post-contingency flow.

(2)	ERCOT shall establish a maximum Shadow Price for each network constraint as part of the definition of contingencies.  The cost calculated by SCED to resolve an additional MW of congestion on the network constraint is limited to the maximum Shadow Price for the network constraint.

(3)	ERCOT shall establish a maximum Shadow Price for the power balance constraint.  The cost calculated by SCED to resolve either the addition or reduction of one MW of dispatched generation on the power balance constraint is limited to the maximum Shadow Price for the power balance constraint.

(4)	ERCOT shall determine the methodology for setting maximum Shadow Prices for network constraints and for the power balance constraint.  Following review and recommendation by TAC, the ERCOT Board shall review the recommendation and approve a final methodology.

(5)	The process for setting the maximum Shadow Prices as described above shall require ERCOT to obtain ERCOT Board approval of the values assigned to these caps along with the effective date for application of the cap.  Within two Business Days following approval by the ERCOT Board, ERCOT shall post the Shadow Price caps and effective dates on the MIS Public Area.

(6)	When ERCOT identifies a binding network constraint on a repeated basis ERCOT shall have procedures established to contact the appropriate TSP and validate the accuracy of the Network Operations Model according to paragraph (5) of Section 3.10.4, ERCOT Responsibilities.

(7)	If ERCOT determines that rating(s) in the Network Operations Model or configuration of the Transmission Facilities are not correct, then the TSP will provide the appropriate data submittals to ERCOT to correct the problem upon notification by ERCOT.