| PGRR Number |  | PGRR Title |  |
| --- | --- | --- | --- |
| Date Posted |  |  |  |

| Planning Guide Section(s) Requiring Revision (Include Section No. and Title) |  |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any |  |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) |  |
| Revision Description |  |
| Reason for Revision |  |
| Overall Market Benefit |  |
| Overall Market Impact |  |
| Consumer Impact |  |

Quantitative Impacts and Benefits

Instructions:  To allow for comprehensive PGRR consideration and development of the Cost Benefit Analysis (CBA), please fill out each block below completely and provide as much detailed information as possible.  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to this PGRR.

| Assumptions | 1 | e.g.: Key assumptions used in estimating market cost and/or benefit |  |
| --- | --- | --- | --- |
|  | 2 | Dependencies on other projects or other timing requirements |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | e.g.: Cost per MP to implement | e.g.: $10,000 each for 50 QSEs |
|  | 2 | Add’l staff required per MP | 1.5 FTE each for 6 TDSPs @ $65/hour |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | e.g.: Reduced MP costs | e.g.: 2 FTE reduction for 25 CRs @ $65/hour |
|  | 2 | Enhanced MP efficiency | 2 hour savings per day for 50 generators @$65 |
|  | 3 | Reduced congestion cost | 0.5% reduction in total congestion cost |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | e.g.: Benefits that are difficult to quantify |  |
|  | 2 | Benefits that are not certain but relatively likely |  |
|  | 3 | Customer service impacts, cash flow impacts, transaction speed, etc. |  |
|  | 4 |  |  |
| Other Comments | 1 | e.g.: Thoughts on ERCOT systems impacts |  |
|  | 2 | Potential manual workarounds or delivery options |  |
|  | 3 | Other comments of value to PRS, TAC and the Board of Directors |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Wayne Kemper for the Planning Working Group |
| E-mail Address | Wayne.kemper@centerpointenergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713-207-2192 |
| Cell Number | 713-899-8651 |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Guide Language Revision

Instructions:

The Revision Request and Comment Submission Guidelines can be accessed at the following link:

http://www.ercot.com/mktrules/protocols/prr_process

Please remember the following:

- Use the most current version of the Guide language, which is available on the ERCOT website.

- Show original Guide baseline language in black.

- Present the entire titled Section or subsection as the baseline, not just the paragraph(s) subject to revision.

- Make all revisions in redlined format, using the “Track Changes” feature.  Be sure to change the user/author name to the appropriate individual or company name.  Do NOT show revisions by changing font color or font strikethrough.

- Use the “Comment” feature when inserting non-Guide language comments (like questions) into Guide language.

- Ensure that proposed changes are reflected in both boxed and unboxed Sections, if appropriate.

Insert proposed Guide language here.

ERCOT Transmission Planning Contingency File Updates

- Each single branch element in the ERCOT case(s) that represents a generator, transformer, or transmission line is a NERC Category B contingency.  ERCOT creates these contingencies using the auto-generated list created by NMMS post-processing using the same build date as the Topology Processed seed case. ERCOT and the TSPs shall resolve contingency definition changes resulting from new or deleted lines, transformers or Connectivity Groups (buses).  Contingencies will be appropriately labeled as to start date and end date so that a contingency list created for a specific case will only have elements that are contained in that particular base case.

- Each TSP identifies their respective breaker-to-breaker circuit contingencies for use in ERCOT system planning studies from the list provided by ERCOT.

- Each TSP identifies their respective multiple circuit contingencies for use in ERCOT system planning studies.

  - Multiple circuit contingencies identified must be consistent with NERC and ERCOT Credible Single Contingency  category definitions;  For example a double circuit contingency would be identified as a NERC Category C and an ERCOT category 2.

  - Contingencies more severe than those defined in NERC and ERCOT categories will be noted as such.

  - Each contingency will be labeled as NERC Category B, C or D.  NERC Category C contingencies that meet the criteria of Credible Single Contingencies as defined in Section 1.4, Definitions, of the Operating Guides are also labeled as an ERCOT Credible Single Contingency.

  - Each TSP should each provide, as a minimum, the Category C and D contingencies for their system that would produce the more severe system results or impacts [for compliance with the TPL standards]

- Each TSP must provide and/or update their respective multiple circuit contingencies to ERCOT through their respective SSWG member or representative.

- ERCOT coordinates revisions and posting of the contingency files associated with the SSWG Transmission Planning Model Data Set A and B cases.

- Within two weeks after annual posting of the final Data Set B cases, ERCOT provides the currently posted contingency files in both database and spreadsheet formats to the TSPs and requests updates.

- ERCOT and the TSP will compare the non-single line NMMS originated list with the ERCOT Credible Single Contingency list submitted by SSWG after Data Set B.  Differences will be resolved such that both lists are consistent.

- The TSPs have one month to update either the database or spreadsheets to reflect changes in the new Data Set B cases by deleting, revising and adding contingencies.

- ERCOT has one month to compile the updates from the TSPs, resolve discrepancies and post the contingency files in PSS/E, PowerWorld , MUST, UPLAN and VSAT  format to the Transmission Planning area of the password protected ERCOT website.