Planning Guides Working Group

Meeting Minutes, May 26, 2011

ERCOT MET, Room 168

==============================================================================

Meeting Attendees:

Rob Lane, Chair (Luminant)

Sergio Garza, vice-Chair (LCRA TSC)

Ken Bowen (CPS)

Dennis Hogan (Luminant)

Michael Juricek (Oncor)

Wayne Kemper (CNP)

Henry Durrwachter (Luminant)

Yvette Landin (ERCOT)

Jay Teixeira (EROCT)

Dan Woodfin (ERCOT)

Tony Hudson, SSWG Chair (TNMP)

Teleconference/WebEx:

Biju Mathew (AE)

Peter Belkin, SPWG Chair (AEP)

Charles DeWitt, DWG Chair (LCRA TSC)

==============================================================================

- Antitrust Admonition							All	9:30

- Agenda Review							R. Lane

  - Rob L. would like to add an agenda item to discuss application of synchronous condensers.

  - Michael J. (Oncor) would like to see discussion how to address working group procedures not included in the planning guide in the future.

  - Wayne K. (CNP) would like to discuss TPIT update regarding field added to latest TPIT.

- ROS Review							              R. Lane

  - Rob L. reported that the PLWG-proposed revisions to the scope document (charter) were approved by ROS with some minor wordsmithing.

  - Rob L. discussed assignment from TAC to expand work with CMWG to answer how is it that planning models do not perceive what is happening in market (e.g., 2/2/2011 event); Next  CMWG is set for 6/14/2011 where we will work on this matter jointly with CMWG.

- Meeting Minutes April 29, 2011					R. Lane

  - There were no changes suggested to the posted April 29 meeting minutes.

  - Sergio G. (LCRA TSC) pointed out that the minutes include a section at the end identifying issues for further addressing by PLWG in addition to ROS’ Issues List.

- PGRR/NOGRR Review

  - PGRR006 ALDR Review (Sec 6.3 (3))				R. Lane

    - This PGRR was up for a vote at TAC and did not pass - It was tabled.

    - TAC directed PLWG to address language in section 3 regarding requirements for industrial load (PUN) forecasts;

    - PLWG agreed to replace proposed language in section 3 with “forklift” language from Operating Guide version.

    - ERCOT did not point out any gaps in this approach.

    - PLWG recommendation will be provided to TAC.

    - Discussion on ERCOT’s ALDR data requests going to appropriate entities resulted in possible review of ERCOT procedures. Added to issues list.

  - NOGRR058  Deletion of Sec 5 Planning			Y.Landin

    - Yvette reported that this NOGRR was tabled at ROS.

    - No action required form PLWG. The PLWG completed the contingency definitions work last month and this will be added for ROS’ consideration.

  - PGRR003 SSWG Procedures Manual				Y.Landin

    - PLWG decided not to take this up at this meeting.

    - Yvette will work with Jay T. (ERCOT) and Tony H. (SSWG Chair) to determine appropriate sections to include in guide.

    - Item was tabled to Webex meeting in June

  - PGRR008 Generator Interconnection Procedures		D. Woodfin

    - Review comments provided by Oncor

    - PLWG agreed to delete referenced attachments A, B, C (these belong somewhere else, maybe RARF section)

    - Discussion on references to stability models

      - PLWG agreed to include some language referencing stability models forms and availability at ERCOT website

      - Some discussion on need to add short circuit data requirements to RARF.

      - Recommend for approval as revised by PLWG;

      - The next step is an impact analysis (IA).

  - PGRR005 Planning Criteria					W. Kemper

    - Impact analysis completed – no impact

    - Minor wording suggested by ERCOT was reviewed

    - PLWG agreed with ERCOT suggested wordsmithing

    - Incorporated language recommended by Michael J. (Oncor) SPSs on RAPs

    - Discussed contingency language

    - PLWG agreed to send this PGRR to ROS for vote.

- Planning Guide Section Development

  - Data Dictionary						H. Durrwachter

    - PLWG reviewed the proposed draft and discussed minor revisions.

    - PLWG will submit a PGRR; Yvette will assign a number.

  - Dynamic Working Group Procedures				C. Dewitt

    - Item was tabled to Webex meeting in June

  - Short Circuit Database					P. Belkin

    - Item was tabled to Webex meeting in June

  - Generator Data Procedures	RARF				H. Durrwachter

    - Not discussed

  - Requirements for posting TSP criteria			D. Woodfin

    - Not discussed

  - Contingency List Submission Procedures			W. Kemper

    - Not discussed

- Adjourn								All	3:30

Other discussion:

Installing a new synchronous condenser (SC) or converting an existing generator to a SC. Possibly as an alternative to SVC device? How is this presently evaluated in ERCOT? Dan W. (ERCOT) mentioned that in ERCOT experience is limited to RMR process for existing generators. Dan also mentioned CREZ study revealed possible application of SCs for reliable operation at some level of wind generation. Who owns an SC and how is it classified (resource or transmission)? Dan Woodfin will follow up on this.

Future Meetings: July 01, 2011

Action Items:

- Yvette will discuss PGRR005 with Rob and Sergio and prepare for ROS action next month

- Yvette will assign PGRR number to Data Dictionary section

PLWG Issues List Items:

During PLWG meetings, the following items were identified as planning issues that need to be addressed in the future and potentially be included in the Planning Issues List.

- From April 29, 2011 meeting

  - Interruptible load: Interruptible load might not be appropriate to consider as a solution in a fixing a system problem.

  - Definition of credible single contingency: Revise the definition to separate the description of the event (contingency) from the performance.

  - Mothballed generator: Include the treatment of mothballed generation units in planning studies especially in tests associated with short circuit.

  - Severe contingencies: Add a definition of severe contingency as well as description of required performance. This is consistent with ERCOT’s recommendations on paralleling 345 kV lines in CREZ.

- From May 26, 20911 Meeting

  - Need to review ERCOT ALDR procedure on a couple of matters:

    - Is ERCOT issuing ALDR to appropriate entities?

    - Need to address how ALDR information is getting into DSA and DSB (planning) cases.

  - Is the present Category C and D language needed in the planning guide in the future?

  - A procedure for aggregating wind generator collector system into the model needs to be developed and put into the DWG procedures?

  - Do we need to research Operating Guide or protocol language addressing the changing of taps on GSUs after plant goes in service.