| NPRR Number |  | NPRR Title | Reduce the Frequency of Unregistered Distributed Generation Reports |
| --- | --- | --- | --- |
| Date Posted |  |
| Nodal Protocol Section(s) Requiring Revision | 10.2.2, TSP and DSP Metered Entities 16.5, Registration of a Resource Entity |
| Requested Resolution | Normal |
| Revision Description | This Nodal Protocol Revision Request (NPRR) reduces the frequency of the Distributed Generation (DG) below the registration threshold reports from quarterly to annually and clarify language in Section 10.2.2. |
| Reason for Revision | At COPS May meeting, Market Participants expressed interest in reducing the frequency of the Unregistered DG reports. Per 16.5 ERCOT produces quarterly reports based on the quarterly reports filed by Non-Opt-In Entities (NOIEs). Based on the last report published for Q1 of 2011, the maximum capacity of unregistered DG in any Load Zone is less than 1.4 MW. The amount of man hours spent by ERCOT and Market Participants to collect and report this data will be reduced significantly if the reports are required annually rather than quarterly. |
| Overall Market Benefit | Reduced hours spent by ERCOT and Market Participants for reporting something that does not change significantly from one quarter to the next |
| Overall Market Impact | Less frequent data for the unregistered DG capacity by Load Zone and technology type. |
| Consumer Impact | None. |
| Credit Implications | To be determined |

| Quantitative Impacts and Benefits |
| --- |
| Assumptions | 1 |  |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Reduced hours spent by ERCOT and Market Participants for reporting something that does not change significantly from one quarter to the next |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
| Other Comments | 1 |  |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |

| Sponsor |
| --- |
| Name | Harika Basaran on behalf of COPS |
| E-mail Address | Harika.Basaran@austinenergy.com |
| Company | Austin Energy |
| Phone Number | 512-322-6362 |
| Cell Number |  |
| Market Segment | Municipal |

| Market Rules Staff Contact |
| --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

Proposed Protocol Language Revision

10.2.2	TSP and DSP Metered Entities

(1)	Each Transmission Service Provider (TSP) and Distribution Service Provider (DSP) is responsible for supplying ERCOT with meter data associated with:

(a)	All Loads using the ERCOT System;

(b)	Any All-Inclusive Generation Resource that delivers less than ten MW to the ERCOT System and that is connected directly to the distribution system; a DSP may make some or all such meters ERCOT-Polled Settlement (EPS) compliant and may request that ERCOT poll the meters.  Notwithstanding the foregoing sentence, meter data is not required from:

(i)	Generation owned by a Non-Opt-In Entity (NOIE) and used for the NOIE’s self-use (not serving Customer Load);

(ii)	Distributed Renewable Generation (DRG) with a design capacity less than 50 kW interconnected to a DSP where the owner chooses not to have the out-flow measured in accordance with P.U.C. Subst. R. 25.213, Metering for Distributed Renewable Generation; and

(iii)	Distributed Generation (DG) interconnected to a DSP behind a registered NOIE boundary metering point, not registered as a Generation Resource and with an installed capacity equal to or below the DG registration threshold, as determined in Section 16.5, Registration of a Resource Entity, and posted on the Market Information System (MIS) Public Area.

16.5	Registration of a Resource Entity

(2)	Beginning on the Texas Nodal Market Implementation Date, DG with an installed capacity greater than one MW, the DG registration threshold, must register with ERCOT.  ERCOT shall reduce the DG registration threshold as required by these Protocols and post this requirement on the Market Information System (MIS) Public Area.  ERCOT shall produce  annual reports on the total unregistered installed capacity of DG greater than 50 kW below the current threshold, summed by Load Zone.  Such  annual report shall contain the current DG registration threshold.  If the total installed capacity of unregistered DG greater that 50 kW exceeds ten MW in any Load Zone, then ERCOT shall issue a Market Notice that states a lower DG registration threshold.  Such registration threshold shall be calculated by ERCOT to reduce the total installed capacity of unregistered DG greater than 50 kW to no more than seven MW in any Load Zone.  This new DG registration threshold shall become effective nine months after ERCOT has issued the Market Notice and posted the new requirement on the MIS Public Area.  Notwithstanding the above, at no time shall ERCOT reduce the DG registration threshold below 50 kW.

(3)	Following this Market Notice, ERCOT shall inform the appropriate Technical Advisory Committee (TAC) subcommittee of the change in DG registration requirements at its next meeting.  The subcommittee shall analyze the annual  report, and may take any action it deems appropriate, including submitting a Nodal Protocol Revision Request (NPRR) to alter this Section.