OWG Meeting Notes 05/18/11

Attendance:

Tip Tipton		BEPC (TO)

John Blackwell	AE (TO)

Brad Calhoun		CNP (TO)

Ross Owen (Phone)	Oncor (TO)

Wayne Bolton		BEPC (QSE)

Jeff Sims		CPS Energy (TO)

Stan Morris		TNMP (TO)

Frank Owens   	TMPA	(TO)

Jack Thormahlen	LCRA (QSE)

Leo Villanueva	ERCOT

Joe Adams		AE (TO)

Walter Reid (phone)	Wind Coalition

James Jacobs (phone)	AE (QSE)

Bill Blevins		ERCOT

Steve Zaragoza	GP&L (TO)

Naga Kota		ERCOT

Brenda Hampton	Luminant (QSE)

John Warren		LCRA (TO)

Wayne Bolton 	BEPC (QSE)

Harry Holloway	GDF-SUEZ

Billy Yancey		EPE

Yvette Landin		ERCOT

Isabel Flores		ERCOT

Colleen Frosch	ERCOT

David Penney		Texas RE

9:30 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting Report – Brad reports that NPRR 315 was tabled to be reviewed by PDCWG; NPRR 334 was tabled to be reviewed by PDCWG, NPRR 356 to be reviewed by OWG, NPRR 365 needs Joint Task Force to review, and NPRR 366, tabled to work issues with ERCOT.  NOGRR 058 continues to be tabled, NOGRR 060 was approved, NOGRR 061 was approved, NOGRR 068 tabled, and NOGRR 069 approved as revised by ROS.  PLWG Scope and SPWG Scope was approved, ROS Goals were also approved.

The April meeting notes were reviewed.  Frank made changes to the attendance section.

All action items are highlighted in green

NOGRR 043 –  To be discussed at ETWG meeting on 5/18/11.

NOGRR 063 Additional Method for Submitting Back-up Control Plans – Reviewed IA, the group recommended moving to ROS for approval.

NOGRR 064 QSE Acknowledgement of VSS Dispatch Instructions – Reviewed IA, the group recommended moving to ROS for approval.

NPRR 336 Authorized ERCOT to Procure Additional RRS During Severe Cold Weather – Tabled by ROS and PRS to continue to look at solutions/options.  OTF will call a meeting within the next two weeks.

NOGRR 065 Authorized ERCOT to Procure Additional RRS During Severe Cold Weather – Tabled by ROS and PRS to continue to look at solutions/options.  OTF will call a meeting within the next two weeks.

NOGRR 066 ERCOT Wan Connection Termination Requirement – Reviewed IA and recommended moving to ROS for approval with OWG comments to fix numbering.

NOGRR 067 Review and Analysis of Turbine Speed Governor Performance – Tabled or may be withdrawn pending outcome of BAL-001.

NPRR 356 EEA Changes Related to Dispatch Instructions and BLTs – OWG reviewed and submitted comments.

NOGRR 072 Administrative Change to Load Shed Table – OWG reviewed, will be implemented on June 1st.

Relay Misoperation Reporting – Bill Blevins (ERCOT) gave history of relay misoperation reporting and cleared up some confusion.  There is not a requirement for Relay misoperation reports to be sent to the ERCOT Shift Supervisor anymore, these reports to go the Texas RE quarterly.  Bill requests that “TransRep” distribution e-mail be cc’d when reports are sent to Texas RE so that SPWG gets their copy.  The first quarterly report is due to Texas RE by May 31st, they are requesting this report include December - May 31st time frame.

NPRR 365 Change in Resource Outage Approvals from ERCOT – ROS requested a Joint Task Force be formed to discuss changes.  Woody (ERCOT) explained why the 90 day language change is important, one being the CRR model.  Generation outages are not in the CRR model, however transmission outages are and they go hand in hand.  Another important change is in anticipation of severe weather events; rules for ERCOT’s withdrawal of approved or accepted Resource Outage are more clearly defined.  Question was asked if this language was in effect during the 2/2 event, would it have changed the outcome?  There were two Resources that went on outage on 2/1.  Frank will get with Chair of QSMWG to send out request asking for members to be part of this Joint Task Force to try and resolve issues.

Operations Report – Naga (ERCOT) reviewed April Operations Report.

Nodal Operating Guides Review and Revision Task Force – Frank reports meeting will be tomorrow.  Two NOGRR were posted for Load Shed and Sabotage Reporting.

Operations Task Force Report – Stan reports that they are still working of voltage profile.  Will continue with the Severe Weather NPRR/NOGRR issues.  Group will also look at Winter Storm drills.

Black Start Task Force Report – Steve gave update.  Non-disclosure agreement was approved.

Compliance Report – Frank asked OWG group what their expectations were for Texas RE to report on during the OWG meeting.  Frank stated he would like to know with is coming from NERC that could affect Market Participants.  David Penney (Texas RE) reported that the first Relay Misoperation Report is due May 31st.  Event Analysis Work Group phase 2 has started, event reporting has updated.  Lindley is working on issue CEHs for the ERCOT Seminar.

OWG group discussed Texas RE’s report to PUCT which referred to the Winter Weather Planning and Preparations.  Texas RE believes that Generation preparation should be included in the drill.  Currently Resources are not part of the drill; Texas RE suggested that maybe QSE can incorporate their coordination to the Resources into the drill.  Report mentions that drill critiques were not followed up with OWG; however this statement seems to be inaccurate.  Question was asked “whose place is it to tell a Resource how to winterize”?  Also, how can you tell if there is adequate winterization?  Brad suggested that an ERCOT working group of Trainers could work with OTF on the annual drills.

System Operations Report – ERCOT reports that the week of July 18th, work for the final migration to transfer the ERCOT alternate control center from the Met Center to the new Bastrop facility will be completed.  There will be new phone numbers for the control room, a Market Notice will be sent when we get closer.