DISCUSSION NOTES

LRIS 3/10/11

PROBLEM WE ARE TRYING TO SOLVE:

Under current market design, Loads cannot participate through ISO economic dispatch in the real-time market.

DISCUSSION ITEMS:

- Lack of availability of LMPz every 5 minutes via ICCP.

  - develop an SCR to make LMPz available in EMS)

- Lack of advance notice of settlement prices. (at QSTF)

- LR not allowed to participate in RT market

  - Non-binding – notification from SCED is sent to LR’s that have provided a price where they want to interrupt

    - No difference in settlement from current design

  - Binding

    - Settlements

      - Payment Routing

        - Through QSE serving load

        - Direct to resource entity QSE

      - Payment Methodology

        - LMP (spreadsheet developed analyzing payment flows and outcomes 04/20/2011 ‘LRIS Settlement Samples.xlsx’

          - LMPz

          - Resource Node Price

        - LMP-X (need to define ‘X’)

          - LMPz-X

          - (Resource Node Price) – X

        - Resource Node Price – LMPz

        - Options for ‘X’

          - Actual Retail Price

          - Proxy Retail Price

          - Aggregate Retail Price

          - LMPz

    - Measurement and Verification

      - Performance evaluation methodologies (Define base point)

        - Meter Before - Meter After

        - Maximum base load (is not really applicable to LRIS)

        - Baseline calculation

      - Types of Loads

        - Follow Base Points w/ relatively smooth ramp rates (could be aggregations)

        - On/Off Block Load Deployments

        - Highly Fluctuating

      - Penalties

        - Need to address Base Point Deviation and associated charges

      - Gaming prevention

      - Requirements

        - Telemetry (2 sec—this is current standard for GR, need to determine if some other frequency would be okay e.g. 30s, 1 m, 2.5 m) Typical values that need to be telemetered for SCED use. Need to add other values as needed

          - Scheduled Power Consumption (SPC)

          - Real Power Consumption (NPF)

          - Max Power Consumption (MPC)

          - Low Power Consumption (LPC)

          - Base Point Instruction

          - Ramp Rates vs Block Offers

        - IDR/EPS/AMI

        - Multiple Baseline Methodologies

        - Performance Monitoring and Compliance

          - Validating the SPC vs the premise level metering for periods when the Load was not active in SCED (need to expand on how this validation will be done)

          - LREDP—current metrics for CLREDP and GREDP do not work well for small resources

          - Need to follow same concepts for generators in that you should get paid for what you delivered and that there should be penalties or measures for non-performance.

      - Next Steps for M&V

        - Let’s look at industry best practices in other markets for Loads—Tim C to investigate PJM; John V to investigate MISO; Paul W to investigate for CAISO; ISO-NE?

- Eligible participation

  - Single Meter Point Loads

  - Aggregations

2 different scenarios:

- More economic demand response (price takers):

  - Voluntary or commitment?

- Treat loads as resources, like generators (price setters).