| NPRR Number | 334 | NPRR Title | Incorporate Resource Limit for the Amount of Regulation Service that may be Provided from a Generation Resource During any Operating Hour |
| --- | --- | --- | --- |
| Date |  | June 8, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | David Kee on behalf of the Performance Disturbance Compliance Working Group (PDCWG) |  |
| E-mail Address |  | dekee@cpsenergy.com |  |
| Company |  | CPS Energy |  |
| Phone Number |  |  |  |
| Cell Number |  | 210-353-6912 |  |
| Market Segment |  | Municipal |  |

Comments

At its June 1, 2011 meeting, PDCWG reviewed Nodal Protocol Revision Request (NPRR) 334.  The working group reached a consensus that there is a reliability concern and an appropriate methodology for determining limits on amount of regulation service provided by a single Resource is needed.  The PDCWG requested additional data from ERCOT for review at its next meeting.  The PDCWG requests that the PRS table the NPRR another month to allow for further analysis and development of an appropriate methodology to address this reliability concern.

Revised Proposed Protocol Language

None at this time.