| NOGRR Number | 073 | NOGRR Title | Entity Responsible for Load Shed During EEA Level 3 |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | June 15, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Guide Section Requiring Revision |  | 4.5.3.4, Load Shed Obligation |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) clarifies which Entity is responsible to shed Load during an Energy Emergency Alert (EEA) Level 3 event. This NOGRR also clarifies that ERCOT is responsible for directing Load shedding. |  |  |
| Reason for Revision |  | This NOGRR identifies the Entity responsible for Load shed during an EEA Level 3 event within the Operating Guides and aligns the relevant Operating Guide language with North American Electric Reliability Corporation (NERC) Reliability Standard EOP-003, Load Shedding Plans, and paragraph (4)(a) of Protocol Section 6.5.9.4.2, EEA Levels. |  |  |
| Overall Market Benefit |  | Clarifies Entity responsibilities during an EEA Level 3 event. |  |  |
| Overall Market Impact |  | Unknown. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 5/17/11, NOGRR073 was posted. - On 6/15/11, the Operations Working Group (OWG) considered NOGRR073. |  |  |
| OWG Decision |  | On 6/15/11, OWG was in consensus to recommend approval of NOGRR073 as revised by OWG. |  |  |
| Summary of OWG Discussion |  | On 6/15/11, OWG revised the category title in the ERCOT Load Shed Table to eliminate redundancy with paragraph (3) of Section 4.5.3.4, which specifies the methodology for determining Load shed obligations. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Unknown. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Clarifies Entity responsibilities during an EEA Level 3 event. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of the Nodal Protocol and Guides Resolution Task Force (NPGRTF) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Comments

Please note that the baseline Operating Guide language has been updated in Section 4.5.3.4 to reflect the June 1, 2011 incorporation of NOGRR072, Administrative Changes for June 1, 2011 Nodal Operating Guides, into the Operating Guides.

Proposed Guide Language Revision

- 4.5.3.4	Load Shed Obligation

(1)	Pursuant to paragraph (4)(a) of Protocol Section 6.5.9.4.2, EEA Levels, and paragraph (4)(a) of Section 4.5.3.3, EEA Levels, of these Operating Guides, ERCOT shall direct TOs to shed firm Load in accordance with the ERCOT Load Shed Table below.

(2)	Entities with Load shedding obligations shall be represented by a TO with 24x7 operations, Hotline communications with ERCOT, and operational authority over breakers.

(3)	Percentages for EEA Level 3 Load shedding obligations, as listed in the table below, are based on the previous year’s TSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and modified on an annual basis.

2010 ERCOT Load Shed Table

| Transmission Operator | Total Transmission Operator Load (MW) |
| --- | --- |
| American Electric Power | 9.00 |
| Austin Energy | 3.96 |
| Brazos Electric Power Cooperative | 4.67 |
| CenterPoint Energy | 24.55 |
| City of Bryan | 0.61 |
| City of College Station | 0.31 |
| City of Denton | 0.51 |
| City of Garland | 0.76 |
| CPS Energy | 7.29 |
| Greenville Electric Utility Service | 0.18 |
| Lower Colorado River Authority | 5.47 |
| Oncor | 37.55 |
| Public Utility Board of Brownsville | 0.41 |
| Rayburn Country Electric Cooperative | 1.08 |
| South Texas Electric Coop | 1.28 |
| Texas New Mexico Power | 2.37 |
| ERCOT Total | 100.00 |