| NPRR Number | 379 | NPRR Title | EILS Dispatch Sequence and Performance Criteria Upgrades |
| --- | --- | --- | --- |
| Impact Analysis Date |  | June 8, 2011 |  |
| Cost/Budgetary Impact |  | Between $55k and $65k |  |
| Estimated Project Duration* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | The time-line for implementing this Nodal Protocol Revision Request (NPRR) is dependent upon ERCOT Board prioritization and approval. Please see the Project Priority List (PPL) for additional information. Estimated duration: To be determined. |  |
| ERCOT Staffing Impacts (across all areas) |  | No impacts to ERCOT staffing |  |
| ERCOT Computer System Impacts |  | The following ERCOT computer systems would be impacted: - Enterprise Integration (EI) - Market Management System (MMS) - Enterprise Information Svc (EIS) |  |
| ERCOT Business Function Impacts |  | ERCOT will update its demand response functions in response to this NPRR. |  |
| Grid Operations & Practices Impacts |  | ERCOT will update its grid operations procedures and system operators will undergo training to implement this NPRR. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None proposed.

Evaluation of Interim Solutions (e.g., manual workarounds)

None proposed.

Feasibility of Implementation

Impact on Resource Availability: Impact on Other Projects:

Comments

None.