| NPRR Number | 336 | NPRR Title | Authorize ERCOT to Procure Additional RRS During Severe Cold Weather |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | April 21, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 6.5.9.3.3, Watch |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) allows ERCOT to procure additional Responsive Reserve (RRS) during cold weather conditions. |  |  |
| Reason for Revision |  | Provide Alert and actions for cold weather events. |  |  |
| Overall Market Benefit |  | Improved reliability of the ERCOT System. |  |  |
| Overall Market Impact |  | Significant impacts are expected but are needed in order to maintain reliability of the ERCOT System. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 3/9/11, NPRR336 was posted. - On 3/10/11, ROS comments were posted. - On 4/15/11, WMS comments were posted. - On 4/20/11, Operations Working Group (OWG) comments were posted. - On 4/21/11, PRS considered NPRR336. |  |  |
| PRS Decision |  | On 4/21/11, PRS voted to table NPRR336. There was one opposing vote from the Independent Retail Electric Provider (IREP) Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 4/21/11, it was noted that the 4/20/11 OWG comments recommend that PRS table NPRR336 to allow interested parties to conduct a comprehensive reliability and commercial review; that the 4/15/11 WMS comments recommended rejection of NPRR336; and that this NPRR may be premature since neither the Independent Market Monitor (IMM) nor the ERCOT Board have yet to complete the investigations related to the February 2, 2011 weather event. Concern was also expressed that a TAC-created Emergency Response Task Force may also be reviewing the weather event and that the work on this NPRR may be redundant. PRS agreed to table NPRR336; that OWG will continue to work on the associated issues; and that without a timely response, the NPRR can be reconsidered for rejection. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Significant impacts are expected but are needed in order to maintain reliability of the ERCOT System. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Improved reliability of the ERCOT System. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Stan Morris |
| E-mail Address | Stan.morris@tnmp.com |
| Company | Texas New Mexico Power |
| Phone Number | (281) 337-6589 ext. 7501 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 031011 | Recommended tabling NPRR336 to allow WMS and the OWG to review and comment. |
| WMS 041511 | Recommended rejection of NPRR336. |
| OWG 042011 | Recommended tabling NPRR336 to allow for a comprehensive reliability and commercial review. |

Comments

Please note that the following NPRR also proposes revisions to sections that are included within this NPRR:

- NPRR329, Security Classification Changes for Extracts/Reports

  - Section 6.5.9.3.3

Proposed Protocol Language Revision

2.1	DEFINITIONS

Watch

The third of four possible levels of communication issued by ERCOT in anticipation of a possible Emergency Condition, detailed in Section 6.5.9, Emergency Operations.

Cold Weather Watch

A Watch declared when temperatures are forecasted to be in between 20°F and 26°F and the maximum temperature is expected to remain 32°F or below in three or more Weather Zones in the ERCOT Region.

Severe Cold Weather Watch

A Watch declared when temperatures are forecasted to be below 20°F and the maximum temperatures are expected to remain between 20°F and 26°F or below in five or more Weather Zones in the ERCOT Region.

- 6.5.9.3.3	Watch

(1)	A Watch is the third of four possible levels of communication issued by ERCOT in anticipation of a possible Emergency Condition.

(2)	ERCOT shall issue a Watch when ERCOT determines that:

(a)	Conditions have developed such that additional Ancillary Services are needed in the current Operating Period;

(b)	There are insufficient Ancillary Services or Energy Offers. in the DAM or in a Supplemental Ancillary Services Market (SASM);

(c)	Market-based congestion management techniques embedded in SCED as specified in these Protocols will not be adequate to resolve transmission security violations;

(d)	Forced Outages or other abnormal operating conditions have occurred, or may occur that require operations with active transmission security violations; or

(e)	Forecasted weather conditions meet the Cold Weather Watch and Severe Cold Weather Watch criteria.

(3)	With the issuance of a Watch pursuant to paragraph (2)(a) above, ERCOT may exercise its authority to immediately procure the following services from existing offers:

(a)	Regulation Services;

(b)	RRS services; and

(c)	Non-Spinning Reserve Services.

(4)	If the actions in paragraph (3) above do not relieve the insufficiency described in paragraph (2)(a) above, then ERCOT may issue Dispatch Instructions to Resources certified to provide the insufficient service, even though there is not an existing Ancillary Service Offer for that Resource.

(5)	If ERCOT issues a Watch because insufficient Ancillary Service Offers were received in the DAM, and if the Watch does not result in sufficient offer and the DAM is executed with insufficient offers, then ERCOT shall acquire the insufficient amount of Ancillary Services in the Day-Ahead Reliability Unit Commitment (DRUC) and shall issue Dispatch Instructions to the QSEs for Resources that were RUC-committed to provide Ancillary Services, informing them of the requirement that the Resources be prepared to provide those Ancillary Services.

(6)	If ERCOT issues a Watch because insufficient Ancillary Service Offers were received in a SASM, and if the Watch does not result in sufficient offer and the SASM is executed with insufficient offers, then ERCOT shall acquire the insufficient amount of Ancillary Services in the next Hourly Reliability Unit Commitment (HRUC) and shall issue Dispatch Instructions to the QSEs for Resources that were RUC-committed to provide Ancillary Services, informing them of the requirement that the Resources be prepared to provide those Ancillary Services.

(7)	ERCOT shall post the Watch message electronically to the MIS Secure Area and shall provide verbal notice to all TSPs and QSEs via the Hotline.  Corrective actions identified by ERCOT must be communicated through Dispatch Instructions to all TSPs, DSPs and QSEs required to implement the corrective action.  Each QSE shall immediately notify the Market Participants that it represents of the Watch.  To minimize the effects on the ERCOT System, each TSP or DSP shall identify and prepare to implement actions, including restoration of transmission lines as appropriate and preparing for Load shedding.  ERCOT may instruct TSPs or DSPs to reconfigure ERCOT System elements as necessary to improve the reliability of the ERCOT System.  On notice of a Watch, each QSE, TSP, and DSP shall prepare for an emergency in case conditions worsen.  ERCOT may require information from QSEs representing Resources regarding the Resources’ fuel capabilities.  Requests for this type of information shall be for a time period of no more than seven days from the date of the request.  The specific information that may be requested shall be defined in the Operating Guides.  QSEs representing Resources shall provide the requested information in a timely manner, as defined by ERCOT at the time of the request.

(8)	If ERCOT issues a Cold Weather Watch, ERCOT shall procure an additional 1150 MWs of RRS on Generation Resources in addition to the requirement of 2300MWs.

(9)	If ERCOT issues a Severe Cold Weather Watch, ERCOT shall procure an additional 1150 MW of RRS on Generation Resources in addition to the requirement of 2300 MW.  In addition all available Generation Resources within the anticipated time frame of the Severe Cold Weather Watch, but having start-up times greater than one hour, shall be brought On-Line.