OWG Report to ROS

June 16, 2011

The Operations Working Group (OWG) met May 18, 2011.

On May 18, the OWG met for its regularly scheduled meeting. During the meeting the following items were discussed:

Operations Task Force Report – Stan reports that they are still working of voltage profile.  Will continue with the Severe Weather NPRR/NOGRR issues.  Group will also look at Winter Storm drills.

Black Start Task Force Report - Steve gave update.  Non-disclosure agreement was approved.

The Texas RE Report – Frank asked OWG group what their expectations were for Texas RE to report on during the OWG meeting.  Frank stated he would like to know with is coming from NERC that could affect Market Participants.  David Penney (Texas RE) reported that the first Relay Misoperation Report is due May 31st.  Event Analysis Work Group phase 2 has started, event reporting has updated.  Lindley is working on issue CEHs for the ERCOT Seminar.

OWG group discussed Texas RE’s report to PUCT which referred to the Winter Weather Planning and Preparations.  Texas RE believes that Generation preparation should be included in the drill.  Currently Resources are not part of the drill; Texas RE suggested that maybe QSE can incorporate their coordination to the Resources into the drill.  Report mentions that drill critiques were not followed up with OWG; however this statement seems to be inaccurate.  Question was asked “whose place is it to tell a Resource how to winterize”?  Also, how can you tell if there is adequate winterization?  Brad suggested that an ERCOT working group of Trainers could work with OTF on the annual drills.

The OWG reviewed the following:

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement – Tabled until ERCOT and Wind Coalition submit changes to the definition of WGR. Walter (Wind Coalition) stated this NOGRR still in progress and no resolutions at the moment. A draft NOGRR will be submitted to address this issue. To be discussed at ETWG meeting on 5/18/11.

NOGRR 063 Additional Method for Submitting Back-up Control Plans – Reviewed IA, the group recommended moving to ROS for approval.

NOGRR 064 QSE Acknowledgement of VSS Dispatch Instructions – Reviewed IA, the group recommended moving to ROS for approval.

NOGRR 065 Authorize ERCOT to Procure Additional RRS During Severe Cold Weather – Tabled by ROS and PRS to continue to look at solutions/options.  OTF will call a meeting within the next two weeks.

NOGRR 066 ERCOT WAN Connection Termination Requirement – Reviewed IA and recommended moving to ROS for approval with OWG comments to fix numbering.

NOGRR067 Review and Analysis of Turbine Speed Governor Performance – Tabled or may be withdrawn pending outcome of BAL-001.

NPRR 336 Authorized ERCOT to Procure Additional RRS During Severe Cold Weather – Tabled by ROS and PRS to continue to look at solutions/options.  OTF will call a meeting within the next two weeks.

NPRR 356 EEA Changes Related to Dispatch Instructions and BLTs – OWG reviewed and submitted comments.

NPRR 365 Change in Resource Outage Approvals from ERCOT – ROS requested a Joint Task Force be formed to discuss changes.  Woody (ERCOT) explained why the 90 day language change is important, one being the CRR model.  Generation outages are not in the CRR model, however transmission outages are and they go hand in hand.  Another important change is in anticipation of severe weather events; rules for ERCOT’s withdrawal of approved or accepted Resource Outage are more clearly defined.  Question was asked if this language was in effect during the 2/2 event, would it have changed the outcome?  There were two Resources that went on outage on 2/1.  Frank will get with Chair of QSMWG to send out request asking for members to be part of this Joint Task Force to try and resolve issues.

System Operations Report – – ERCOT reports that the week of July 18th, work for the final migration to transfer the ERCOT alternate control center from the Met Center to the new Bastrop facility will be completed.  There will be new phone numbers for the control room, a Market Notice will be sent when we get closer.

Other Discussions:

Relay Misoperation Reporting – Bill Blevins (ERCOT) gave history of relay misoperation reporting and cleared up some confusion.  There is not a requirement for Relay misoperation reports to be sent to the ERCOT Shift Supervisor anymore, these reports to go the Texas RE quarterly.  Bill requests that “TransRep” distribution e-mail be cc’d when reports are sent to Texas RE so that SPWG gets their copy.  The first quarterly report is due to Texas RE by May 31st, they are requesting this report include December - May 31st time frame.

Next OWG meeting – June 15, 2011 at the ERCOT Austin room 209.