POTENTIAL RULE CHANGES

NON-CONTROVERSIAL:

| Section | Issue |
| --- | --- |
| (a) | Change reference from EECP to EEA. |
| (c)(1) and throughout | Change “bid” to “offer.” |
| (c)(1)(B) | Change minimum offer to 100 kW. |
| (c)(1)(B) and throughout | Change “EILS resource” to “EILS Load.” |
| (c)(2)(B) and throughout | Change references for IDR to interval metering. |
| (c)(4) | Expand dispatch to accommodate XML and eliminate reference to single phone call. |
| (d)(3) | Change “load imbalance” to “real time energy imbalance.” |
| (d)(4) | ERCOT Settlements to provide recommended language. |
| (f) | Change “within 10 days of the EILS awards” to “Prior to the start of a Contract Period…” |
| (g) | Add “technical requirements” to list of docs. |

POSSIBLE

| Section | Issue |
| --- | --- |
| (a)(2) | Allow ERCOT to procure additional EILS and/or restructure Contract Periods at any time. |
| (a)(2) | Remove or modify 90-day notice requirement. |
| (c)(2)(C) | Change “reducing its load by” to “delivering its contracted demand response” |
| (c)(2)(H) | QSE qualification language should be broader and less specific. |
| (c)(2)(I) | Clarify double-dipping prohibitions. |
| (c)(3) and throughout | Change references from baseline to performance evaluation methodology. (Conform to NAESB.) |

FOR DISCUSSION

| Section | Issue |
| --- | --- |
| (b)(1) | Define EILS as a demand response service. |
| (d)(1) | Remove language relating to “as bid.” |
| (e) | Clarify obligations of EILS Loads vs. QSEs. Figure out how to allow for QSE portfolio initial compliance. Get rid of “six months” – correlate suspensions to contract period lengths. |