- Section 1:

NPRR264 - Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection

This Nodal Protocol Revision Request (NPRR) specifies that for a new Point of Interconnection (POI), Generation Resources must comply with provisions of Other Binding Documents, Section 3.15, Voltage Support, and Nodal Operating Guide Section 2.9, Voltage Ride-Through Requirements for Generation Resources, based upon the execution date of the most recent Standard Generation Interconnection Agreement (SGIA).  For existing Generation Resources with more than one POI, compliance with these requirements is based on the execution of the SGIA relative to the POI where the Generation Resource is electrically connected.  This NPRR also revises the definition of POI to clarify that the POI is determined by the voltage level and substation, rather than the location, of the relevant interconnection.

- Revised Subsection:  1.6.5

NPRR330 - Change in Frequency of Four Protocol Required Audits from Annual to Periodic (formerly “Change in Frequency of Five Protocol Required Audits from Annual to Periodic”)

This NPRR revises the frequency for the ERCOT Internal Audit Department to perform audits from an annual basis to a periodic basis no less than once every three years.

- Revised Subsection:  1.4.3.1

NPRR372 - Administrative Changes for the July 1, 2011 Protocols to Update Audit References

This Administrative NPRR updates references from SAS 70 to the new Statement on Standards for Attestation Engagements 16 (SSAE 16).

- Revised Subsection:  1.4.4

- Section 2:

NPRR264 - Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection

See Section 1 above.

- Revised Subsection:  2.1

- Section 3:

NPRR146 – ICCP Telemetry Information Submittals

This NPRR requires that changes to an existing Network Operations Model Change Request (NOMCR) that modify only Inter-Control Center Communications Protocol (ICCP) data object names be submitted prior to the completion of the testing for the Network Operations Model.

Revised Subsection:  3.10.1 [unboxed due to system implementation]

- Section 6:

NPRR326 - Adjust the Calculation of the Real-Time Settlement Point Price for a Resource Node

- This NPRR adjusts the calculation of the Real-Time Settlement Point Price for a Resource Node.  The adjustment is to remove the Base Point weighting of the Real-Time Locational Marginal Prices (LMPs).

- Revised Subsection:  6.6.1.1 [effective upon system implementation]

- Section 8:

NPRR317 - Clarification of Entity Responsible for Hydro Responsive Testing

- This NPRR clarifies the Entity responsible for hydro responsive testing.

- Revised Subsection:  8.1

NPRR372 - Administrative Changes for the July 1, 2011 Protocols to Update Audit References

See Section 1 above.

- Revised Subsection:  8.2

- Section 11:

NPRR311 - Correction of Wind Adjust Formula to Account for Daylight Savings Time

This NPRR corrects the formula for the reduction of wind excess generation to account for Daylight Savings Time (DST) adjustments in the Spring and Fall for Electric Service Identifiers (ESI IDs) with non-Interval Data Recorders (IDRs).

- Revised Subsection:  11.4.4.2 [effective upon system implementation]

- Section 16:

NPRR318 - Alignment of Nodal Registration Requirements with Current Registration Process

This NPRR aligns the registration requirements in Section 16.1, Qualification, Registration, and Execution of Agreements with the current registration process.

- Revised Subsection:  16.1

- Section 17:

NPRR330 - Change in Frequency of Four Protocol Required Audits from Annual to Periodic (formerly “Change in Frequency of Five Protocol Required Audits from Annual to Periodic”)

See Section 1 above.

- Revised Subsection:  17.3.3

- ERCOT Fee Schedule:

Changes were made to the ERCOT Security Screening Study fee and to delete the references to the zonal Protocols which are no longer in effect.

- Administrative Changes:

Non-substantive administrative changes were made such as formatting and correcting Section numbering and references.

- Revised Subsection:  3.10.1