## Summary table
Count of Maximum Shadow Price 15 minutes Intervals
(December 1, 2010 - June 7, 2011)
Month
Count | Constraint | 12 | 1 | 2 | 3 | 4 | 5 | 6 | Total
1 | WEST DENTON - JIM CHRISTAL SUBSTATION 138 kV | Month 1: 8; Month 2: 99 | 107
2 | HOLT SWITCH - ECTOR SHELL TAP 69 kV | Month 2: 14; Month 3: 18; Month 4: 24; Month 5: 7 | 63
3 | ODESSA NORTH Auto (ODNTH_FMR1) | Month 12: 20; Month 1: 8; Month 3: 5; Month 4: 26 | 59
4 | BLESSING - PALACIOS 69 kV | Month 2: 33 | 33
5 | BOMARTON TU - SEYMOUR TU 69 kV | Month 3: 7; Month 4: 1; Month 5: 3; Month 6: 21 | 32
6 | ACKERLY VEALMOOR SWITCH - ACKERLY 69 kV | Month 1: 8; Month 2: 3; Month 3: 3; Month 5: 14 | 28
7 | VALIMP | Month 1: 5; Month 2: 21 | 26
8 | LON HILL - NORTH EDINBURG 345 kV | Month 2: 19 | 19
9 | MURRAY TU - PAINT CREEK 138 kV | Month 4: 18 | 18
10 | NORTH ALVIN STATION - HASTINGS SUB 138 kV | Month 5: 1; Month 6: 16 | 17
11 | ODESSA NORTH - ODESSA BASIN SWITCH 69 kV | Month 12: 1; Month 4: 4; Month 5: 3; Month 6: 8 | 16
12 | ORANGE GROVE - ORANGE GROVE DIST SUB 69 kV | Month 2: 11 | 11
13 | WEST LEVEE SWITCH Auto (WLVEE_MR2L) | Month 2: 11 | 11
14 | ROANOKE SWITCH - ROANOKE WEST 138 kV | Month 5: 8; Month 6: 2 | 10
15 | KILLEEN TAFT STREET - KILLEEN ELM 138 kV | Month 6: 8 | 8
16 | LAKE WICHITA SWITCH - WICHITA FALLS 69 kV | Month 4: 7 | 7
17 | SPARENBURG - LAMESA 69 kV | Month 5: 7 | 7
18 | AMELIA STREET - UT SW MED CTR 138 kV | Month 4: 6 | 6
19 | ASHERTON Auto (ASHERTON_69A1) | Month 5: 6 | 6
20 | DUPONT PP1 - INGLESIDE - DUPONT SWITCH - INGLESIDE 138 kV | Month 1: 1; Month 4: 5 | 6
21 | GARROTT - MIDTOWN REIT 138 kV | Month 12: 3; Month 4: 1; Month 5: 2 | 6
22 | TAYLOR WEST - HUTTO 138 kV | Month 2: 6 | 6
23 | CUERO LCRA - CUERO HYDRO 69 kV | Month 5: 5 | 5
24 | KOCH UP RIVER Auto (KOCH_UP_69A1) | Month 4: 5 | 5
25 | UVALDE CSW Auto (UVALDE_69A1) | Month 4: 5 | 5
26 | BRECKENRIDGE - MORTON VALLEY TU 69 kV | Month 4: 4 | 4
27 | CENTER - PH ROBINSON 345 kV | Month 2: 4 | 4
28 | LEWISVILLE JONES STREET - LEWISVILLE SWITCH 138 kV | Month 1: 4 | 4
29 | RICHLAND - WORTHAM JUNCTION 69 kV | Month 5: 4 | 4
30 | SINTON - SKIDMORE 69 kV | Month 2: 2; Month 3: 1; Month 5: 1 | 4
31 | WEST LEVEE SWITCH Auto (WLVEE_FMR1) | Month 1: 4 | 4
32 | BAYTOWN ENERGY CTR Auto (BTE_AT-2) | Month 2: 3 | 3
33 | CORONADO Auto (CORONA_AT4) | Month 2: 3 | 3
34 | DFW D1 - DFW C EAST 138 kV | Month 6: 3 | 3
35 | FIVE POINTS - E1 138 kV | Month 1: 1; Month 2: 2 | 3
36 | GARDEN VILLAS - BLODGETT 69 kV | Month 4: 3 | 3
37 | GILLESPIE LCRA - PHILLIPS MASON TAP 69 kV | Month 4: 3 | 3
38 | HILLTOP LAKE SWITCH Auto (HLK_KAT1) | Month 12: 3 | 3
39 | KILLEEN SWITCH - TRIMMIER 138 kV | Month 2: 3 | 3
40 | MONTICELLO SES - MONTICELLO MINING 138 kV | Month 12: 3 | 3
41 | NAVAL BASE - NORTH PADRE 69 kV | Month 12: 3 | 3
42 | NELSON SHARPE Auto (N_SHARPE_PS1) | Month 12: 2; Month 2: 1 | 3
43 | NORTH ALVIN STATION - ALVIN SUB 138 kV | Month 4: 3 | 3
44 | STERLING CITY - STERLING COUNTY 69 kV | Month 4: 3 | 3
45 | CEDAR HILL SWITCH - MAYFIELD NORTH TAP 138 kV | Month 6: 2 | 2
46 | DICKINSON SUB - LEAGUE CITY SUB 138 kV | Month 5: 2 | 2
47 | FAYETTE PLANT 2 - HOLMAN AEN 345 kV | Month 5: 2 | 2
48 | GABRIEL Auto (GABRIE_9AT1) | Month 5: 2 | 2
49 | KIAMICHI PLANT - KIOWA SWITCH 345 kV | Month 2: 2 | 2
50 | MORGAN CREEK SES - CHINA GROVE SWITCH 138 kV | Month 12: 2 | 2
51 | PEARSALL SWITCH Auto (PEARSALL_69_4) | Month 12: 2 | 2
52 | RIO HONDO Auto (CAPSEC_LONH_1_1) | Month 1: 2 | 2
53 | SAN ANGELO CONCHO - SAN ANGELO MATHIS FIELD 69 kV | Month 4: 2 | 2
54 | TYLER NORTHWEST Auto (TYLNW_MR1H) | Month 6: 2 | 2
55 | VERNON - GRAYBACK 69 kV | Month 6: 2 | 2
56 | ABILENE SOUTH - CEDAR GAP TEC 69 kV | [7 empty] | 1 | bar: Month 1
57 | AUSTROP Auto (AUSTRO_AT1H) | [7 empty] | 1 | bar: Month 4
58 | BALLINGER - HUMBLE BALLINGER 69 kV | [7 empty] | 1 | bar: Month 1
59 | BOSQUE SWITCH - LAKE WHITNEY 138 kV | [7 empty] | 1 | bar: Month 2
60 | BROWNWOOD SWITCH - CAMP BOWIE TU 138 kV | [7 empty] | 1 | bar: Month 4
61 | CAGNON Auto (CAGNON_MR4H) | [7 empty] | 1 | bar: Month 6
62 | CAGNON Auto (CAGNON_MR4L) | [7 empty] | 1 | bar: Month 2
63 | COLORADO CITY - CHINA GROVE SWITCH 69 kV | [7 empty] | 1 | bar: Month 3
64 | EXXON - LYNCHBERG 138 kV | [7 empty] | 1 | bar: Month 5
65 | GABRIEL - GLASSCOCK LCRA 138 kV | [7 empty] | 1 | bar: Month 5
66 | HASTINGS SUB - FRIENDSWOOD TNP 138 kV | [7 empty] | 1 | bar: Month 6
67 | HIWAY 9 - AIR LIQUID AEP 69 kV | [7 empty] | 1 | bar: Month 12
68 | KENDALL Auto (KENDAL_AT1H) | [7 empty] | 1 | bar: Month 2
69 | LAKE HUBBARD SES - PRAIRIE CREEK SWITCH 138 kV | [7 empty] | 1 | bar: Month 6
70 | MORGAN CREEK SES Auto (MGSES_MR1L) | [7 empty] | 1 | bar: Month 5
71 | N_TO_W | [7 empty] | 1 | bar: Month 4
72 | NAVARRO - RICHLAND 69 kV | [7 empty] | 1 | bar: Month 1
73 | ODESSA NORTH - NORTH COWDEN 69 kV | [7 empty] | 1 | bar: Month 5
74 | SEATON Auto (SEA_AAT1) | [7 empty] | 1 | bar: Month 12
75 | SEGUIN - SEGUIN WEST 138 kV | [7 empty] | 1 | bar: Month 5
76 | SPRABERRY SWITCH - MIDLAND DOWNTOWN 138 kV | [7 empty] | 1 | bar: Month 4
77 | TABOR - SUTTON 69 kV | [7 empty] | 1 | bar: Month 4
78 | TEXAS CITY WATER TREAT SUB - INTERCITY SW STA 69 kV | [7 empty] | 1 | bar: Month 5
79 | TRINIDAD SES Auto (TRSES_MR6H) | [7 empty] | 1 | bar: Month 12
80 | TWIN OAK SWITCH - JEWETT 345 kV | [7 empty] | 1 | bar: Month 2
81 | VICTORIA - NORTH VICTORIA 69 kV | [7 empty] | 1 | bar: Month 4
82 | WESTSIDE CSW - MCKENZIE 138 kV | [7 empty] | 1 | bar: Month 2
| Grand Total | 42 | 44 | 242 | 35 | 126 | 73 | 67 | 629