Binding Constraints - December 2010

| Contingency | Binding Element | Number of 5-min intervals | Shadow Price Range $/MWh | Estimated Congestion Cost $ (Shadow Price*Limit) | Transmission Project | Clearance |
| --- | --- | --- | --- | --- | --- | --- |
| BASE CASE | West to North Stability Limit | 3865 | 0 - 612 | 11,923,923 | CREZ |  |
| W.A. Parish - Obrien 345kV | Garrott - Midtown 138kV | 1313 | 0 - 3500 | 3,200,445 | Upgrade 138 kV underground Ckt. 90 Garrott to Midtown to Polk [11TPIT0072] |  |
| Anctp - Ncwam 138kV | Odessa North 138/69KV autotransformer | 1362 | 0 - 2800 | 3,108,366 | 5YTP [2009-R4] | Outage on Moss Switch - Permian Basin SES 138kV |
| Cabaniss To Airline 138kV | Naval Base - North Padre 69kV | 173 | 0 - 2800 | 856,227 | Rebuild Airline to Naval Base 69 kV line [06TPIT0015] | Outage on Holly - Rodd Field 138 kV |
| BASE CASE, Cabaniss - Airline 138kV | Nelson Sharpe 138KV phase shifting transformer | 383 | 0 - 3500 | 757,303 | Barney Davis to Nelson Sharpe 138 kV line rebuild [12TPIT0069] | Outage on Holly - Rodd Field 138 kV |
| Austrop - Lost Pines 345kV | SALEM LCRA 345/138kV autotransformer | 95 | 0 - 4500 | 645,328 | Fayetteville Power Project [15TPIT0009] |  |
| Cagnon - Marbach 138kV | Five Points - Westside CPS 138kV | 320 | 0 - 940 | 439,002 | Westside substation equipment upgrade [12TPIT0054] | Outage on Cagnon 345/138kV autotransformer |
| Garfield-Hicross and Onion-Pilot 138kV | Garfield - Onion Creek 138kV | 193 | 0 - 3500 | 403,271 |  |  |
| Watermill - Tricorner -Tylergnd 345kV | Trinidad 345kV step-up transformer | 2 | 4500 - 4500 | 256,725 |  |  |
| Morgan Creek SES - China Grove 138kV | Morgan Creek SES - China Grove 138kV | 4 | 3500 - 3500 | 215,221 |  |  |

Binding Constraints - January 2011

| Contingency | Binding Element | Number of 5-min intervals | Shadow Price Range $/MWh | Estimated Congestion Cost $ (Shadow Price*Limit) | Transmission Project | Clearance |
| --- | --- | --- | --- | --- | --- | --- |
| BASE CASE | Valley Import | 259 | 0 - 5000 | 136,194,698 |  |  |
| BASE CASE | West to North Stability Limit | 1840 | 0 - 2833 | 79,360,076 | CREZ |  |
| Lon Hill - North Edinburg 345kV | Rio Hondo 345kV Series Capacitor 1 | 15 | 460 - 4500 | 39,021,781 |  |  |
| Watermill - Desoto Switch & Cedar Hill 345kV | West Levee 345/138kV autotransformer | 11 | 4500 - 4500 | 33,757,200 | 5YTP [2009-R21] |  |
| Denton - Argyle & West Denton 138kV, Fort Worth - W_Dent 138kV | West Denton - Jim Cristal 138kV | 61 | 0 - 3500 | 25,100,678 | 5YTP [2009-R11] |  |
| Lewisville Switch 345/138kV AT1, Parker Switch - Eagle Mountain - Roanoke 345kV, Lewisville Switch - Carrollton Northwest 345kV | Lewisville Jones Street - Lewisville Switch 138kV | 318 | 0 - 3500 | 24,335,248 |  | Outage on Lewisville - Roanoke Switch 345kV, Lewisville - Argyle 138kV |
| Braunig - Toyota & Valley 138kV, Fern Street - Ball Park 138kV, Streich - Braunig 138kV, Calavers -Streich 138kV | Five Points - Westside CPS 138kV | 975 | 0 - 3500 | 17,375,296 | Westside substation equipment upgrade [12TPIT0054] | Outage on Cagnon - Marbach 138kV, Marbach - Valley 138kV |
| Moss Switch - Holt Switch 138kV | Odessa North 138/69kV autotransformer | 79 | 0 - 2800 | 7,956,245 | 5YTP [2009-R4] |  |
| Gail - Keysb 138kV | Ackerly Vealmoor Switch - Ackerly 69kV | 134 | 0 - 2800 | 6,916,449 | Rebuild existing 69kV line [11TPIT0060] |  |
| Farmersville - Monticello 345kV | Monticello SES - Sulpher Springs Switch 345kV | 25 | 0 - 4500 | 5,531,671 |  |  |

Binding Constraints - February 2011

| Contingency | Binding Element | Number of 5-min intervals | Shadow Price Range $/MWh | Estimated Congestion Cost $ (Shadow Price*Limit) | Transmission Project | Clearance |
| --- | --- | --- | --- | --- | --- | --- |
| Nelson Sharpe - Ajo 345kV | Lon Hill - North Edinburg 345kV | 78 | 0 - 4500 | 31,689,757 |  |  |
| BASE CASE | Valley Import | 150 | 0 - 5000 | 30,105,744 |  |  |
| Denton - Argyle & West Denton 138kV | West Denton - Jim Cristal 138kV | 329 | 234 - 3500 | 20,313,041 | 5YTP [2009-R11] |  |
| BASE CASE | West to North Stability Limit | 1908 | 0 - 1162 | 9,767,701 | CREZ |  |
| West Levee Switch 345/138kV AT1 | West Levee Switch 345/138kV AT2 | 98 | 0 - 3500 | 9,073,730 | 5YTP [2009-R21] |  |
| Chamber - King & Cedar Bayou - Northbelt 345kV | Center - PH Robinson 345kV | 78 | 0 - 4500 | 6,386,600 |  |  |
| Kendall 345/138kV AT2 | Kendall 345/138kV AT1 | 225 | 0 - 4500 | 4,434,846 | Kendall Autotransformer Replacement [12TPIT0024] | Kendall 345/138kV AT2 |
| Twin Oak Switch - Gibbons Creek & Jack Creek 345kV | Twin Oak Switch - Jewet 345kV | 85 | 1 - 4500 | 4,215,057 |  |  |
| Braunig - Toyota & Valley 138kV, DCKT WB Tuttle - Austin Road 138kV, Fern Street - Ball Park 138kV, Nacogdoches Road - Skyline 138kV | Five Points - Westside CPS 138kV | 1444 | 0 - 3500 | 3,660,830 | Westside substation equipment upgrade [12TPIT0054] | Outage on Cagnon - Marbach 138kV |
| Kiowa Switch - Kiamichi 345kV | Kiowa Switch - Kiamichi 345kV | 6 | 4500 - 4500 | 2,736,638 |  |  |

Binding Constraints - March 2011

| Contingency | Binding Element | Number of 5-min intervals | Shadow Price Range $/MWh | Estimated Congestion Cost $ (Shadow Price*Limit) | Transmission Project | Clearance |
| --- | --- | --- | --- | --- | --- | --- |
| BASE CASE | West to North Stability Limit | 3349 | 0 - 410 | 13,949,765 | CREZ |  |
| Bluff Creek Auto T2_H ,T2_L & T2_T | Nicole - Oak Creek 138kV | 2136 | 0 - 209 | 1,610,275 | CREZ |  |
| Odessa North - Odessa Basin Switch 69kV | Holt Switch - Ector Shell Tap 69kV | 108 | 0 - 2800 | 934,380 | Upgrade existing 69kV line [14TPIT0008] |  |
| Odessa EHV Switch - Morgan Creek SES & Quail Switch 345kV, Gail - Keysb 138kV, Willow Valley Switch - Exxon Sharon Ridge 138 kV | Ackerly Vealmoor Switch - Ackerly 69kV | 624 | 0 - 2800 | 796,808 | Lamesa - Ackerly Vealmoor 69 kV line rebuild [ 11TPIT0060] |  |
| Fort Stockton - Barilla 138kV | Fort Stockton Switch - Barrilla 69kV | 530 | 0 - 952 | 581,960 | CREZ |  |
| Lon Hill 345/138kV AXFMR | Nelson Sharpe - Celanese Bishop 138kV | 157 | 22 - 3500 | 391,772 |  |  |
| Pawnee - Lon Hill 345kV | Sinton - Skidmore 69kV | 284 | 0 - 2800 | 310,484 | Lon Hill to Sinton 69 kVLine Modifications [11TPIT0103] |  |
| Moss Switch - Holt Switch 138kV | Odessa North 138/69kV autotransformer | 40 | 0 - 2800 | 305,580 | 5YTP [2009-R4] |  |
| Coleto Creek Generator 1, STP Units 1 &2 | Blessing - Lolita 138kV | 82 | 0 - 1461 | 204,277 |  |  |
| Graham SES - Long Creek & Cook Field 345kV | Bomarton - Seymour 69kV | 30 | 2334 - 2800 | 167,506 |  |  |

Binding Constraints - April 2011

| Contingency | Binding Element | Number of 5-min intervals | Shadow Price Range $/MWh | Estimated Congestion Cost $ (Shadow Price*Limit) | Transmission Project | Clearance |
| --- | --- | --- | --- | --- | --- | --- |
| BASE CASE | West to North Stability Limit | 3023 | 0 - 3515 | 11,286,160 | CREZ |  |
| Long Creek - Sweetwater - Abilene Mulberry 345kV, Graham SES - Long Creek Switching Station 345kV | Paint Creek - Murray TU 138KV | 1508 | 0 - 3500 | 8,839,628 | CREZ |  |
| Jewett - Singleton 345kV | Twin Oak Switch - Jack Creek 345kV | 715 | 0 - 4500 | 5,480,086 | Zenith to Fayetteville 345kV project [14TPIT0002] |  |
| Moss Switch - Holt Switch 138kV | Odessa North 138/69kV autotransformer | 233 | 0 - 2800 | 2,265,354 | 5YTP [2010-R7, R8] |  |
| Watermill Switch - Desoto Switch and Cedar Hill Switch 345kV | Amelia Street - UT SW Medical Center 138kV | 32 | 622 - 3500 | 1,434,716 |  |  |
| PH Robinson - Center and Cedar Bayou Plant 345kV, North Alvin - Hastings 138KV | North Alvin - Alvin Sub 138kV | 102 | 0 - 3500 | 1,393,513 | Upgrade North Alvin-Hastings [14TPIT0018] |  |
| Singleton - Zenith 345kV | Singleton - Tomball 345KV | 282 | 0 - 4500 | 1,326,692 | Zenith to Fayetteville 345kV project [14TPIT0002] |  |
| Ingleside Cogen Switch - Oxychem Corpus Christi 138kV | Dupont PP1 Ingleside - Dupont Switch Ingleside 138kV | 24 | 0 - 3500 | 1,302,468 |  |  |
| Fort Stockton - Barilla 138kV | Fort Stockton Switch - Barilla 69kV | 1297 | 0 - 1202 | 1,276,250 | CREZ |  |
| Singleton - Tomball and Singleton - Roans Prairie 345kV | Singleton - Zenith 345kV | 383 | 0 - 4500 | 1,220,079 | Zenith to Fayetteville 345kV project [14TPIT0002] |  |

Binding Constraints - May 2011

| Contingency | Binding Element | Number of 5-min intervals | Shadow Price Range $/MWh | Estimated Congestion Cost $ (Shadow Price*Limit) | Transmission Project | Clearance |
| --- | --- | --- | --- | --- | --- | --- |
| BASE CASE | West to North Stability Limit | 3001 | 0 - 151 | 12,511,733 | CREZ |  |
| Greens Bayou - Gable and Hardy - Crocket 138kV, Meadow - Oasis 345kV | Garrott - Midtown 138kV | 1461 | 0 - 3500 | 6,065,257 | Upgrade 138 kV underground Ckt. 90 Garrott to Midtown to Polk [11TPIT0072] |  |
| Willow Valley Switch - Lamesa 138kV, Willow Valley Switch - Exxon Sharon Ridge 138 kV | Ackerly Vealmoor Switch - Ackerly 69kV | 2136 | 0 - 2800 | 5,725,921 | Lamesa - Ackerly Vealmoor 69 kV line rebuild [ 11TPIT0060] |  |
| Austrop - Lost Pines 345kV | Fayette - Holman 345kV | 514 | 0 - 4500 | 3,686,167 | Zenith to Fayetteville 345kV project [14TPIT0002] | Outage on Fayette - Lytton Springs 345kV |
| Bluff Creek Auto T2_H ,T2_L & T2_T | Nicole - Oak Creek 138kV | 2574 | 0 - 328 | 3,020,155 | CREZ |  |
| Austrop - Garfield and Austrop -Zorn 345kV | Austrop 345/138kV autotransformer 1 | 445 | 0 - 1281 | 2,649,141 | Add a new 345kV line from Dunlap to Austrop [ 10TPIT0031] | Outage on Bastrop - Sim Gideon 138kV |
| Willow Valley Switch - Lamesa 138kV, Willow Valley Switch - Exxon Sharon Ridge 138kV | Sparenburg - Lamesa 69kV | 831 | 0 - 2800 | 2,297,907 | Lamesa - Ackerly Vealmoor 69 kV line rebuild [ 11TPIT0060] |  |
| Coppell - Mound 138kV | Roanoke Switch - Roanoke West 138 kV | 19 | 3500 - 3500 | 1,361,179 | Rhome to Roanoke Rebuild [08TPIT0097] | Outage on Grapevine Highway 360 - Grapevine Ball Street 138kV |
| Pawnee - Lon Hill 345kV, Orange Grove Switching Station - Lon Hill 138 kV, Lon Hill - Mathis Sub 69kV | Sinton - Skidmore 69kV | 648 | 0 - 2800 | 1,179,664 | Lon Hill to Sinton 69 kV Line Modifications [11TPIT0103] |  |