## Slide 1: Protocol Revision Subcommittee
Sandy Morris
July 7, 2011

## Slide 2
Summary of Revision Requests
13 NPRRs Recommended for Approval
1 SCR Recommended for Approval
6 NPRRs Rejected
1 NPRR Withdrawn

## Slide 3: Items for a Vote
Unanimous Recommendations with No Impacts
  NPRR356, EEA Changes Related to Dispatch Instructions and BLTs
  NPRR387, Hydro RRS Deployment Under Frequency Relay Set Point - URGENT
Unanimous Recommendations with Impacts
  NPRR313, Revision to the Resource Plan Reference to Current Operating Plan for EILS and Synchronous Condensers and Black Start Notification Requirements (formerly “Updating the Term Resource Plan to Current Operating Plan”)
  NPRR348, Generation Resource Start-Up and Shut-Down process
  NPRR355, Adjust the Calculation of the Real-Time Settlement Point Price for a Load Zone
  NPRR359, Monthly TDSP Load Report
  NPRR376, CRR Volume Limitation Enhancements - URGENT
Notes: 3

## Slide 4: Items for a Vote
Non-unanimous Recommendations
  NPRR299, Remove Requirement for ERCOT Board Approval of PUCT, IMM, and FERC Required Reports
  NPRR361, Real-Time Wind Power Production Data Transparency
  NPRR362, Changes to PRC Calculation
  SCR766, Load Zone and Hub LMPs Distributed by ICCP (formerly “Load Zone Price Distributed by ICCP”)
Notes: 4

## Slide 5: Items for Notice
Rejected NPRRs
  NPRR309, Providing STWPF to QSEs Contractually Affiliated with WGR
  NPRR351, Calculate and Post Projected Non-Binding LMPs for the Next 15 Minutes
  NPRR363, Revision to EEA Level 2B ERCOT Requirements During the EILS VDI
  NPRR367, Shaping of PTP Options Taken to Real-Time to Match Forecasted Load
  NPRR368, Clarification of the Purpose of Point-to-Point Options
  NPRR378, Posting of the ERCOT Short-Term Load Forecast and the Aggregated HDL and LDL Used in SCED
Withdrawn NPRRs
  NPRR373, Revised State Estimator Reports on Individual Transmission Load on Electrical Buses
Notes: 5

## Slide 6
NPRRs Recommended for Approval

## Slide 7: NPRR299, Remove Requirement for ERCOT Board Approval of PUCT, IMM, and FERC Required Reports
Purpose (ERCOT) | This NPRR modifies the Nodal Protocols to better capture the requirement for ERCOT to prepare and submit reports in accordance with its regulatory requirements and removes the need for the ERCOT Board, Public Utility Commission of Texas (PUCT) Staff and Independent Market Monitor (IMM) to approve a schedule and format for reports.
PRS Vote | On 1/20/11, PRS voted to recommend approval of NPRR299 as amended by the 1/7/11 PSEG TX comments and as revised by PRS. There was one opposing vote from the Investor Owned Utility (IOU) Market Segment and two abstentions from the IOU and Municipal Market Segments. On 6/23/11, PRS voted to endorse and forward the 1/20/11 PRS Report as revised by PRS for NPRR299 to TAC. There were two opposing votes from the Independent Generator Market Segment and two abstentions from the Independent Power Marketer (IPM) Market Segment.
Effective Date/Priority | September 1, 2011
ERCOT Impact | No impacts
Notes: 7

## Slide 8: NPRR313, Revision to the Resource Plan Reference to Current Operating Plan for EILS and Synchronous Condensers and Black Start Notification Requirements (formerly “Updating the Term Resource Plan to Current Operating Plan”)
Purpose (Luminant) | This NPRR replaces the term “Resource Plan” with the term “Current Operating Plan” or “Availability Plan” in those instances where the change in terminology was not previously made. This NPRR also proposes adding a Black Start capable status indicator to the Availability Plan to allow ERCOT to settle payment for Black Start units programmatically; and also allows QSEs with Black Start units to provide all of the Black Start availability through the Availability Plan.
PRS Vote | On 3/24/11, PRS unanimously voted to recommend approval of NPRR313 as amended by the 3/21/11 Luminant Energy comments and as revised by PRS. On 5/19/11, PRS unanimously voted to recommend approval of the 3/24/11 PRS Report as amended by the 5/17/11 Luminant comments and as revised by PRS and to bring NPRR313 back to PRS for consideration of the Impact Analysis. On 6/23/11, PRS unanimously voted to endorse and forward the 5/19/11 PRS Report as amended by the 6/22/11 ERCOT comments and as revised by PRS for NPRR313 to TAC with a recommended priority of High and a rank of 30.
Effective Date/Priority | Upon System Implementation – Priority High; Rank 30
ERCOT Impact | $80k - $85k; impacts to Market Management System (MMS), Web Applications (WA), Settlements & Billing (S&B), and Enterprise Information Services (EIS).
Notes: 8

## Slide 9: NPRR348, Generation Resource Start-Up and Shut-Down process
Purpose (ERCOT) | This NPRR removes Protocol language concerning the use of the “ONTEST” Resource Status during start-up and shut-down and adds language to address the start-up and shut-down processes.
PRS Vote | On 5/19/11, PRS unanimously voted to recommend approval of NPRR348 as submitted. On 6/23/11, PRS unanimously voted to endorse and forward the 5/19/11 PRS Report, Impact Analysis, and Cost Benefit Analysis for NPRR348 to TAC with a recommended priority of Critical and rank of 8.4.
Effective Date/Priority | Upon System Implementation – Priority Critical; Rank 8.4.
ERCOT Impact | $80k - $85k; impacts to MMS, S&B, and Energy Management System (EMS).
Notes: 9

## Slide 10: NPRR355, Adjust the Calculation of the Real-Time Settlement Point Price for a Load Zone
Purpose (ERCOT) | This NPRR removes the energy-weighting in the current calculation for the Real-Time Settlement Point Price (RTSPP) for a Load Zone. It also adds a new RTSPP for a Load Zone that is energy-weighted (Real-Time Settlement Point Price Energy-Weighted (RTSPPEW)) and adjusts the appropriate formulas that use these prices. This NPRR also corrects the Real-Time Price for the Energy Metered for each Resource meter at bus (RTRMPRb) in the event that the Energy at bus near Real-Time (EBNRT) is less than or equal to zero.
PRS Vote | On 5/19/11, PRS unanimously voted to recommend approval of NPRR355 as submitted. On 6/23/11, PRS unanimously voted to endorse and forward the 5/19/11 PRS Report, Impact Analysis, and Cost Benefit Analysis for NPRR355 to TAC with a recommended priority of High and rank of 32.
Effective Date/Priority | Upon System Implementation – Priority High; Rank 32.
ERCOT Impact | $60k - $75k; impacts to MMS, Commercial Systems Integration (CSI), S&B, Current Day Reports (CDR), and EIS.
Notes: 10

## Slide 11: NPRR356, EEA Changes Related to Dispatch Instructions and BLTs
Purpose (ERCOT) | This NPRR changes the need to issue Dispatch Instructions to suspend any ongoing ERCOT-required generating unit or Resource performance testing and moves the requirement to inquire about the availability of Block Load Transfers (BLTs) from Energy Emergency Alert (EEA) Level 2A to EEA Level 2B.
PRS Vote | On 5/19/11, PRS unanimously voted to recommend approval of NPRR356 as amended by the 5/18/11 OWG comments and as revised by PRS. On 6/23/11, PRS voted to endorse and forward the 5/19/11 PRS Report and Impact Analysis for NPRR356 to TAC.
Effective Date/Priority | September 1, 2011
ERCOT Impact | No impacts.
Notes: 11

## Slide 12: NPRR359, Monthly TDSP Load Report
Purpose (MIS Users Group) | This NPRR creates a new secure report to provide aggregate Load data for Transmission Service Providers (TSPs) and Distribution Service Providers (DSPs) in a monthly posting.
PRS Vote | On 5/19/11, PRS unanimously voted to recommend approval of NPRR359 as revised by PRS. On 6/23/11, PRS voted to endorse and forward the 5/19/11 PRS Report, Impact Analysis and Cost Benefit Analysis for NPR359 to TAC with a recommended priority of High and rank of 33.
Effective Date/Priority | Upon System Implementation – Priority High; Rank 33
ERCOT Impact | $15k - $20k; impacts to EIS and Market Information System (MIS).
Notes: 12

## Slide 13: NPRR361, Real-Time Wind Power Production Data Transparency
Purpose (MIS Users Group) | This NPRR adds a new public report to be posted every five minutes that provides, on both a system-wide and regional basis (west and north, south and Houston, are the two regions), the five-minute actual wind power production for a rolling historical 60-minute period; and changes the existing hourly report for Actual and Forecast Regional Wind Report to provide the following information on both a system-wide and regional basis: Aggregate Wind-powered Generation Resource (WGR) Power Output, Aggregate Short-term Wind Power Forecast (STWPF), Aggregate Wind-powered Generation Resource Production Potential (WGRPP), and Aggregate Current Operating Plan (COP) High Sustained Limits (HSLs) for On-Line WGRs.
PRS Vote | On 5/19/11, PRS unanimously voted to recommend approval of NPRR361 as revised by PRS. On 6/23/11, PRS voted to endorse and forward the 5/19/11 PRS Report, Impact Analysis and Cost Benefit Analysis for NPRR361 to TAC with a recommended priority of High and a rank of 34. There was one opposing vote from the Independent Generator Segment.
Effective Date/Priority | Upon System Implementation – Priority High; Rank 34.
ERCOT Impact | $10k - $15k; impacts to CDR and MIS.
Notes: 13

## Slide 14: NPRR362, Changes to PRC Calculation
Purpose (ERCOT) | This NPRR aligns the Protocols with the current systems. The proposed changes properly reflect the current Responsive Reserve (RRS) which is supplied from Load Resources into the Physical Responsive Capability (PRC) calculation. This NPRR also deletes the method for calculating the PRC from EEA Levels 1 and 2.
PRS Vote | On 5/19/11, PRS voted to recommend approval of NPRR362 as revised by PRS. There was one abstention from the Independent Generator Market Segment. On 6/23/11, PRS unanimously voted to endorse and forward the 5/19/11 PRS Report and Impact Analysis for NPRR362 to TAC.
Effective Date/Priority | September 1, 2011
ERCOT Impact | No impacts.
Notes: 14

## Slide 15: NPRR376, CRR Volume Limitation Enhancements - URGENT
Purpose (ERCOT) | This NPRR establishes that Congestion Revenue Right (CRR) Account Holders are not included in the CRR transaction volume limitation process if they do not own open CRR positions or have credit allocated to the CRR Auction; and also expands ERCOT’s requirement to notify CRR Account Holders about issues pertaining to the transaction limitation.
PRS Vote | On 6/23/11, PRS unanimously voted to recommend approval of NPRR376 as amended by the 6/22/11 ERCOT comments and to forward NPRR376 to TAC.
Effective Date/Priority | Pending.
ERCOT Impact | $50k - $55k; impacts to CRR and EIS; CRR business processes will be update.
Notes: 15

## Slide 16: NPRR387, Hydro RRS Deployment Under Frequency Relay Set Point - URGENT
Purpose (LCRA) | This NPRR clarifies that for hydro Generation Resources operating in the synchronous condenser fast-response mode to provide RRS, the initiation setting of the automatic under frequency relay setting shall not be lower than 59.80 Hz; includes language to address the instances when a hydro Generation Resource operating in synchronous condenser fast-response mode is triggered by an under frequency relay device without a corresponding RRS deployment by ERCOT; and is the companion NPRR to Nodal Operating Guide Revision Request (NOGRR) 068, Hydro-Responsive Reserve.
PRS Vote | On 6/23/11, PRS unanimously voted to recommend approval of NPRR387 as revised by PRS and to forward NPRR387 to TAC.
Effective Date/Priority | Pending.
ERCOT Impact | No impacts.
Notes: 16

## Slide 17: SCR766, Load Zone and Hub LMPs Distributed by ICCP (formerly “Load Zone Price Distributed by ICCP”)
Purpose (WMS) | This SCR allows the price data to be transferred to the EMS for distribution over ICCP links, as soon as the five-minute Load Zone and Hub prices are calculated in Real-Time.
PRS Vote | On 4/20/11, the motion to grant SCR766 Urgent status failed via WMS email vote. On 5/11/11, WMS unanimously voted to recommend approval of SCR766 as revised by WMS. On 6/15/11, WMS unanimously voted to endorse and forward the 5/11/11 WMS Report and Impact Analysis for SCR766 to PRS. On 6/23/11, PRS voted to endorse and forward the 6/15/11 WMS Report, Impact Analysis, and Cost Benefit Analysis for SCR766 to TAC with a recommended priority of High and a rank of 40. There was one abstention from the Independent Generator Market Segment.
Effective Date/Priority | Upon System Implementation – Priority High; Rank 40.
ERCOT Impact | $13k - $15k; impacts to MMS and EMS; Inter-Control Center Communications Protocol (ICCP) handbook will be updated.
Notes: 17