TAC Report


	NOGRR Number
	068
	NOGRR Title
	Hydro-Responsive Reserve

	Timeline
	Urgent
	Action
	Approved

	Date of Decision
	July 7, 2011

	Effective Date
	Upon TAC approval.

	Priority and Rank Assigned
	Not applicable.

	Guide Sections Requiring Revision
	2.3.1.1, Obligation
2.3.1.2, Additional Operational Details for Responsive Reserve Providers

	Revision Description
	This Nodal Operating Guide Revision Request (NOGRR) adds a frequency requirement for the deployment of synchronous condenser fast response service to the Nodal Operating Guides.

	Reason for Revision
	The frequency requirement existed in zonal Operating Guide Section 2.5.2.3, Types of Responsive Reserve, but was inadvertently omitted from the Nodal Operating Guides

	Overall Market Benefit
	Assists in maintaining reliability of the ERCOT System by making this service available more quickly and preventing frequency from dropping further.

	Overall Market Impact
	Reliability of the ERCOT System.

	Consumer Impact
	Unknown.

	Procedural History
	· On 3/31/11, NOGRR068 and an Impact Analysis were posted.

· On 4/1/11, the motion to grant NOGRR068 Urgent status failed via ROS e-mail vote.

· On 4/11/11, ROS considered NOGRR068.

· On 5/10/11, Performance Disturbance Compliance Working Group comments were posted (PDCWG).

· On 5/12/11, ROS again considered NOGRR068.

· On 6/7/11, a second set of PDCWG comments were posted.

· On 6/16/11, ROS again considered NOGRR068.

· On 6/23/11, ERCOT comments were posted.

· On 6/29/11, LCRA comments were posted.

· On 7/6/11, a second set of LCRA comments were posted.

· On 7/7/11, TAC considered NOGRR068.

	ROS Decision 
	On 4/11/11, ROS voted to grant NOGRR068 Urgent status via roll-call vote.  ROS then unanimously voted to table NOGRR068.  All Market Segments were present for the votes.

On 5/12/11, ROS unanimously voted to table NOGRR068 for one month.  All Market Segments were present for the vote.

On 6/16/11, ROS unanimously voted to recommend approval of NOGRR068 as submitted with a proposed effective date “of upon TAC approval” and to forward NOGRR068 and the Impact Analysis to TAC.  All Market Segments were present for the vote.  

	Summary of ROS Discussion
	On 4/11/11, the need for Urgent status was debated.  ERCOT Staff stated that Urgent status is needed to ensure reliability of the ERCOT System during high Demand periods and that this NOGRR aligns the Nodal Operating Guides with language that existed in the zonal Operating Guides.  There was concern expressed regarding the treatment of hydro in the Nodal Market.  It was noted that a holistic review of Responsive Reserve (RRS) is needed.  There was a request for the PDCWG to review the reliability aspects of NOGRR068.

On 5/12/11, it was noted that the PDCWG requested additional time to review NOGRR068.

On 6/16/11, ERCOT Staff stated that comments were forthcoming to further clarify the requirements of hydro-powered Resources and compliance concerns expressed by LCRA.  ROS discussed the urgency to implement NOGRR068 and agreed that it should be effective upon TAC approval.  

	TAC Decision
	On 7/7/11, TAC unanimously voted to approve NOGRR068 as recommended by ROS in the 6/16/11 ROS Report and as amended by the 7/6/11 LCRA comments.  All Market Segments were present for the vote.

	Summary of TAC Discussion
	On 7/7/11, it was noted that a Verbal Dispatch Instruction (VDI) referenced in NOGRR068 is not payable as a Reliability Unit Commitment (RUC) instruction.


	Quantitative Impacts and Benefits

	Assumptions
	1
	

	
	2
	

	
	3
	

	
	4
	

	Market Cost
	
	Impact Area
	Monetary Impact

	
	1
	Unknown
	Unknown

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Market Benefit
	
	Impact Area
	Monetary Impact

	
	1
	Assists in maintaining reliability of the ERCOT System by making this service available quicker and preventing frequency from dropping further.
	Unknown.

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Additional Qualitative Information
	1
	No impacts to ERCOT systems.

	
	2
	

	
	3
	

	
	4
	

	Other Comments
	1
	

	
	2
	

	
	3
	

	
	4
	


	Sponsor

	Name
	Isabel Flores

	E-mail Address
	iflores@ercot.com

	Company
	ERCOT 

	Phone Number
	512/248-6531

	Cell Number
	512/565-9117

	Market Segment
	N/A


	Market Rules Staff Contact

	Name
	Yvette M. Landin

	E-Mail Address
	ylandin@ercot.com

	Phone Number
	512/248-4513


	Comments Received

	Comment Author
	Comment Summary

	PDCWG 051211
	Requested time to further review NOGRR068 to better understand the effect certain market design changes in Nodal have on Primary Frequency Response and to provide ROS with observations and recommendations as appropriate.

	PDCWG 060711
	Opined on frequency relay setting of 59.750 Hz vs. 59.900 Hz and its effect on reliability.  

	ERCOT 062311
	Proposed revisions to clarify the operational details required of hydro Generation Resources operating under synchronous fast-response mode.

	LCRA 062911
	Proposed revisions to further clarify details regarding hydro Generation Resources operating under synchronous fast-response mode and to remove duplicative language.

	LCRA 070611
	Proposed revisions to clarify that it should be the Qualified Scheduling Entity (QSE) for the hydro Generation Resource that may contact ERCOT to determine if it is allowed to recall and reset the individual unit(s) to the synchronous condenser fast-response mode.


	Proposed Guide Language Revision


2.3.1.1
Obligation

ERCOT operating reserve requirements are more restrictive than North American Electric Reliability Corporation (NERC) Reliability Standards.  The  Responsive Reserve (RRS) obligation is a minimum of 2300 MW.

2.3.1.2
Additional Operational Details for Responsive Reserve Providers  

(1)
ERCOT shall specify the minimum amount of RRS provided by Generation Resources.  Qualified Scheduling Entity’s (QSE’s) Generation Resources providing RRS must be On-Line and capable of ramping to the awarded output level within ten minutes of the notice to deploy energy, must be immediately responsive to system frequency, and must be able to maintain the scheduled level for the period of service commitment. 

(2)
RRS provided by a QSE shall meet the requirements as defined in item (3) of Protocol Section 3.18, Resource Limits in Providing Ancillary Service.
(3)
ERCOT shall issue a Verbal Dispatch Instruction (VDI) to QSEs of hydro Generation Resources operating in synchronous condenser fast-response mode who provide MWs to the ERCOT System in response to a frequency event occurring at or below the frequency set point specified in paragraph (3)(b) of Protocol Section 3.18 when the energy is provided without an RRS deployment.  The VDI shall be in the quantity of MWs (energy) supplied by the hydro Generation Resource responding in synchronous condenser fast-response mode and shall relieve the QSE of its obligation for the equivalent RRS obligation quantity.  If ERCOT issues an RRS deployment to the QSE responding with hydro Generation Resources operating in synchronous condenser fast-response mode, ERCOT shall count the responding hydro Generation Resource(s) MWs (energy) as part of its response to the RRS deployment.  

(4)
Unless ERCOT issues a recall instruction for the RRS deployed via Inter-Control Center Communications (ICCP), the hydro Generation Resource(s) QSE may contact ERCOT to determine if it is allowed to recall and reset the individual unit(s) to the synchronous condenser fast-response mode.
(5)
ERCOT, at its sole discretion, may request that the hydro Generation Resource(s) remain On-Line and generating after an initial deployment.  The request to remain On-Line and generating after an initial deployment may not exceed 30 minutes per deployment for each frequency deviation or event nor shall such request exceed two hours per a consecutive 12-hour period in aggregate unless ERCOT has declared an Energy Emergency Alert (EEA).
(6)
Load Resources providing RRS must be controlled by under-frequency relays for automatic interruption.  For eligibility to participate as a RRS provider, reference Protocol Section 8.1.1.2.1.2, Responsive Reserve Service Qualification.  Load Resources shall also complete the following requirements:   

(a)
The under-frequency relay must have a delay of no more than 20 cycles (or 0.33 seconds for relays that do not count cycles).  Total time from the time frequency first decays to a value low enough to initiate action of the under frequency relay(s) to the time Load is interrupted should be no more than 30 cycles, including all relay and breaker operating times;

(b)
The initiation setting of the under-frequency relay shall not be any lower than 59.7 Hz; and

(c)
Load Resource must be able to remain interrupted during actual event until replaced by other net dependable capability.  In no case may interrupted Load be restored to service without the approval of an ERCOT operator.

(7)
To become and remain fully qualified as a provider of RRS, the Load shall complete the requirements above and the following:

(a)
Pass simulated or actual testing according to ERCOT procedures; and,

(b)
Perform verification testing as described in Section 8, Attachment G, Load Resource Tests.

(8)
A Direct Current Tie (DC Tie) may be used as RRS up to 30 MW subject to the following constraints:

(a)
The tie shall respond with increased deliveries to ERCOT or decreased deliveries from ERCOT at a frequency of 59.9 Hz;

(b)
The response rate will not be less than 30 MW per minute;

(c)
The response delay will not exceed four seconds;

(d)
The response will be retained until frequency has recovered to a level at or above 60.00 Hz or as directed by ERCOT;

(e)
A QSE claiming DC Tie RRS must demonstrate the existence of contracts agreeing to provide the required response with the DC Tie operator; and

(f)
A QSE claiming DC Tie RRS must have an agreement with the balancing authority on the opposite side of the DC Tie involved approving the amount and conditions.

(9)
Hydro Unit(s) – Modes of RRS that will be counted:

(a)
Synchronous condenser fast response mode - described in item (3) of Protocol Section 3.18;
(b)
Generation MW mode - For any hydro Generation Resource with a 5% droop setting operating as a generator, the amount of RRS provided may never be more than 20% of the High Sustained Limit (HSL); 

(c)
Synchronous Condenser Mode in “Manual” Dispatch Mode - Units will supply MWs based on operator action within the ten-minute Protocol requirement for supplying RRS.  Once deployed these units are frequency responsive; and

(d)
A Real-Time signal of the MW capacity of hydro units being operated in any of the synchronous condenser modes is telemetered to ERCOT.

PRR_Template.doc
Page 2 of 1
PRR_Template.doc
Page 2 of 1
2068NOGRR-13 TAC Report 070711


Page  of 6
PUBLIC

