PRS Recommendation Report

TAC Action Report

	PRR Number
	486PRR
	PRR Title
	Fuel Oil Inventory Service

	Recommended Action
	Reject

	Protocol Section(s) Requiring Revision (include Section No. and Title)
	1.3.1.2 – Items Not Considered Protected Information

2.1 – Definitions

4.5.11 – Scheduling Requirements for RMR Units and Black Start Resources

4.5.11.1 – Day Ahead Scheduling for RMR Units and Black Start Resources

4.5.11.2 – RMR Unit, Synchronous Condenser Unit and Black Start Resources Availability Plan

4.5.11.5 – Fuel Oil Inventory Resource Delivery Plan (NEW)

5.6.1 - Introduction

5.6.7 – EECP Steps

6.1.13 – Fuel Oil Inventory Service (NEW)

6.2.1 – Ancillary Services Provided Solely by ERCOT

6.3.1 – ERCOT Responsibilities

6.4.2 – Determination of ERCOT Control Area Requirements

6.5.12 – Fuel Oil Inventory Service (NEW)

6.6.2- Competitive Procurement of Ancillary Services Resources by ERCOT

6.8.6 – Capacity Payments for Fuel Oil Inventory Service (NEW)

6.9.4 – Settlement Obligation for Black Start Service, RMR Standby Service, and RMR Synchronous Condenser Service

6.9.4.4 – Settlement Obligations for Fuel Inventory Service (NEW)

6.10.3.7 – Fuel Oil Inventory Service Capability (NEW)

12.4.2 – Ancillary Service-Related Information

12.4.4 – Current System Conditions

22 Attachment J – Standard Form Fuel Oil Inventory Service Agreement (NEW)

	Proposed Effective Date
	N/A

	Priority & Rank Assigned
	N/A

	Summary of Impact Analysis
	N/A

	Revision Description
	This PRR adds Fuel Oil Inventory Service as an Ancillary Service that can be provided by Generating Resources.

	Benefit
	Currently, ERCOT has no means of ensuring that adequate supplies of alternate fuel supplies are available to maintain adequate reliability of the ERCOT System during fuel curtailments (e.g., natural gas) or other supply disruptions.  Some of the existing natural gas-fueled generating resources in ERCOT have the capability to burn no. 2 or no. 5 fuel oil in lieu of, or in addition to, their primary fuel, natural gas.  However, there is no market mechanism in place to ensure that such resources maintain alternate fuel supplies.  This PRR is designed to provide a market incentive to those generating resources that are able to use alternate fuels to be compensated for making such dual fuel capability available to the ERCOT market when needed for reliability purposes.  This will reduce risk of firm load shedding during natural gas curtailments or other fuel supply disruptions.

	PRS Recommendation
	PRS recommends rejection of PRR486.

	TAC Recommendation
	TAC recommends rejection of PRR486 as recommended by PRS.


	Sponsor

	Name
	Larry Gurley

	E-mail Address
	lgurley1@txu.com

	Company
	TXU Energy

	Company Address
	1717 Main Street Dallas TX 75201

	Phone Number
	(214) 875-9020

	Fax Number
	(214) 875-9074


	ERCOT/Market Segment Impacts and Benefits


	
	Impact
	Benefit

	
	Business
	Computer Systems
	

	ERCOT
	Additional resources needed to deploy and settle new Ancillary Service
	Software changes to accommodate settlements
	Increased reliability during fuel curtailments or supply disruptions.

	MARKET SEGMENT                      
	
	
	

	Consumer
	Unknown
	Unknown
	Increased reliability during fuel curtailments or supply disruptions.

	LSE:
General, Including NOIE
	Additional cost
	Software changes to accommodate settlements
	Increased reliability during fuel curtailments or supply disruptions.

	LSE:
CR & REP
	Additional cost 
	Software changes to accommodate settlements
	Increased reliability during fuel curtailments or supply disruptions.

	QSE
	Additional Ancillary Service bids, deployments, revenues and cost allocations
	Software changes to accommodate settlements
	Increased reliability during fuel curtailments or supply disruptions.

	Resource
	Develop and maintain alternate fuel supplies
	Potentially settlements
	Financial incentive to provide alternate fuel supplies.

	TDSP
	None
	None
	Increased reliability during fuel curtailments or supply disruptions.


	Proposed Protocol Language Revision


1.3.1.2 Items Not Considered Protected Information

Notwithstanding the foregoing, the following items shall not be considered Protected Information even if so designated:

(1) Data comprising Load flow cases.  Such data may include estimated peak and off-peak demand of any Load;

(2) RMR Agreements, applicable portions of studies, reports and data, excluding information that is otherwise considered as Protected Information according to Protocols Section 1.3.1.1, Items Considered Protected Information, used in ERCOT’s assessment of whether an RMR Unit satisfies ERCOT’s criteria for operational necessity to support ERCOT System reliability, and status of RMR Units and RMR Synchronous Condenser Units;

(3) Information provided to ERCOT in support of an “Application for Reliability Must Run (RMR) Status” according to Protocols Section 6.5.9, Reliability Must-Run Service;

(4) Fuel Oil Inventory Service Agreement terms;

(5) Black Start Agreement terms; and

(6) Any other information specifically designated in these Protocols as information to be posted to all Market Participants or to the public.

Protected Information that Receiving Party is permitted or required to Disclose or use under the Protocols or under an agreement between Receiving Party and a Disclosing Party does not cease to be regarded as Protected Information in all other circumstances not encompassed by these Protocols or such agreement by virtue of the permitted or required Disclosure or use under these Protocols or such agreement.

2.1  Definitions

Availability Plan

An hourly representation of availability of RMR, Synchronous Condenser, Fuel Oil Inventory Resources and/or Black Start Resources submitted to ERCOT by Entities with RMR, Synchronous Condenser, Fuel Oil Inventory Resources and/or Black Start Resources by 0600 in the Day Ahead Period.

Delivery Plan

A plan by ERCOT containing the hours and levels of operation that an RMR Unit, including Synchronous Condenser Units, or a Fuel Oil Inventory Resource is instructed to operate.

Fuel Oil Inventory (FOI) Service
The provision of sufficient fuel oil inventories and Generation Resources capable of converting fuel oil into electricity at ERCOT’s direction in order to maintain system reliability in the event of natural gas curtailments or other supply disruptions.

Fuel Oil Inventory (FOI) Resource
A Generation Resource operated under the terms of an Agreement with ERCOT that would not otherwise be operated except in order to maintain system reliability in the event of natural gas curtailments or other supply disruptions.
4.5.1 Scheduling Requirements for RMR Units, Black Start Resources, and Fuel Oil Inventory Resources
4.5.11.1 Day Ahead Scheduling for RMR Units,  Black Start Resources and Fuel Oil Inventory Resources
Below is a Day Ahead Scheduling Process for RMR Units, Black Start Resources, and Fuel Oil Inventory Resources:

	· RMR Scheduling
	QSE Responsibility:
	ERCOT Responsibility:

	0600


	Submit initial unit Availability Plan for RMR and/or Synchronous Condenser Units, Fuel Oil Inventory Resources, and Black Start Resources.
	

	0900
	
	Provide initial Delivery Plan to QSEs representing RMR and/or Synchronous Condenser Units where a Market Solution potentially cannot exist.
Provide initial Delivery Plan to QSEs representing Fuel Oil Inventory Resources if curtailment of natural gas or other supply disruptions have occurred or are expected to occur.

	1830
	 
	Provide updated Delivery Plan to QSEs representing RMR and/or Synchronous Condenser Units where a Market Solution does not exist.
Provide updated Delivery Plan to QSEs representing Fuel Oil Inventory Service Resources if curtailment of natural gas or other supply disruptions have occurred or are expected to occur.


Resources providing Fuel Oil Inventory Service must meet these scheduling requirements during the period contained in the Fuel Oil Inventory Service Agreement.
4.5.11.2 RMR Unit, Synchronous Condenser Unit, Fuel Oil Inventory Resource and Black Start Resource Availability Plan
In addition to updating the Resource Plan, QSEs representing RMR Units, Synchronous Condenser Units, Fuel Oil Inventory Resources, and Black Start Resources shall submit initial Availability Plans for those Resources by 0600 in the Day Ahead Period.

QSEs representing RMR Units, Synchronous Condenser Units, Fuel Oil Inventory Resources, and Black Start Resources shall submit revised Availability Plans reflecting changes in the plans as soon as reasonably practicable, but in no event later than sixty (60) minutes after the event that caused the change.
Fuel Oil Inventory Resources need only submit their initial Availability Plans in the Day Ahead Period during the period contained in the Fuel Oil Inventory Service Agreement.
Insert the following new section after existing Section 4.5.11.4:

4.5.11.5 Fuel Oil Inventory Resource Delivery Plan
By 0900 of the Day Ahead Period, during the period contained in the Fuel Oil Inventory Service Agreement, ERCOT shall notify the QSE representing a Fuel Oil Inventory Resource of the initial Delivery Plan for any Fuel Oil Inventory Resource that is required to be placed on fuel oil if curtailment of natural gas or other supply disruptions have occurred or are expected to occur.  At any time during the Day Ahead or Adjustment Period, ERCOT may notify the QSE representing a Fuel Oil Inventory Resource of any modifications to the Delivery Plan for the Fuel Oil Inventory Resource.  At 1830 of the Day Ahead Period, during the period contained in the Fuel Oil Inventory Service Agreement, ERCOT may update its Delivery Plan to include any Fuel Oil Inventory Resource that is required to be placed on fuel oil if curtailment of natural gas or other supply disruptions have occurred or are expected to occur.
5.6 Emergency and Short Supply Operation

5.6.1 Introduction

ERCOT, as the single Control Area Operator, is responsible for maintaining reliability in normal and emergency operating conditions.  The Operating Guides are intended to ensure that minimum standards for reliability are maintained. Minimum standards for reliability are defined by the Operating Guides and the North American Electric Reliability Council (NERC) standards and include, but are not limited to:

(1) Minimum operating reserve levels,

(2) Criteria for determining acceptable operation of the frequency control system,

(3) Criteria for determining and maintaining system voltages within acceptable limits,

(4) Criteria for maximum acceptable transmission equipment loading levels, and

(5) Criteria for determining when ERCOT is subject to unacceptable risk of widespread cascading outages.

In implementing these Protocols, ERCOT shall, to the fullest extent practicable, utilize market tools as prescribed in these Protocols before implementing command and control actions, such as OOMC, OOME, Fuel Oil Inventory Service, or RMR Service. It is anticipated that, with effective and timely communication, the tools available to ERCOT from the market will avert most threats to the reliability of the ERCOT System. However, these Protocols shall not preclude ERCOT from taking other actions to preserve the integrity of the ERCOT System.

5.6.7 EECP STEPS

Step 1 — Maintain 2300 MW of ERCOT’s reserve service Resources comprised of: (1) undeployed Responsive Reserve Service; and (2) that amount of Non-Spinning Reserve Service which has been deployed but has not ramped to its specified output level. ERCOT will:

(1) Use those available Ancillary Services that can be deployed to increase Responsive Reserves.

(2) Provide Dispatch Instructions to QSEs to start all Resources that are available in the time frame of the emergency (OOMC). Similarly, ERCOT will provide Dispatch Instructions to QSEs to suspend any ongoing generating unit or Resource performance testing and maximize Resource deployment (OOME) to increase Responsive Reserve levels on other Resources. QSEs intending to provide OOMC and OOME will comply as soon as practicable

(3) Use available DC Tie capacity that is not already being used by the market.

(4) Start RMR Units available in the time frame of the Emergency. RMR Units should be loaded to full capability.

(5) Start Fuel Oil Inventory Resources that are available in the timeframe of the Emergency if curtailment of natural gas or other supply disruptions have occurred or are expected to occur.
Step 2 — Maintain ERCOT undeployed Responsive Reserve Service on Generation Resources  equal to the largest Generation Resource On-line in ERCOT.  In addition to measures associated with Step 1, ERCOT will:

[PRR307:  Revise Section 5.6.7, Step 2 as follows when system change implemented.]

Step 2 — Maintain ERCOT undeployed Responsive Reserve Service on Generation Resources, and Load Resources capable of controllably reducing or increasing consumption under Dispatch control (similar to AGC) and that immediately respond proportionally to frequency changes (similar to generator governor action) equal to the largest Generation Resource On-line in ERCOT.  In addition to measures associated with Step 1, ERCOT will:

(1) Instruct TDSPs to reduce Load by using distribution voltage reduction management tools, if deemed beneficial by the TDSP.

(2) Deploy all Responsive Reserve, which is supplied from Load acting as a Resource (controlled by high-set under-frequency relays) to remove such Load.

(3) With the approval of the affected Non-ERCOT Control Area, may instruct TDSPs to implement BLTs, which transfer Load from the ERCOT Control Area to Non-ERCOT Control Areas. Use of a BLT will be defined in the ERCOT Operating Guides.

Step 3 – Maintain system frequency at 60 Hz

In addition to measures listed above, ERCOT will issue an appeal through the public media for voluntary Load curtailment.

Step 4 — Maintain system frequency at 59.8 Hz or greater

In addition to measures listed above, ERCOT will instruct, in 100 MW blocks, all TDSPs having control over distribution feeder breakers and/or control of breakers serving retail customers to shed Load in order to maintain a steady state system frequency of 59.8 Hz. ERCOT will allocate manual Load shedding for ERCOT-wide emergencies based on the amount of Load that is served by each TDSP.

6.1.13 Fuel Oil Inventory Service
As provided by ERCOT to the QSEs:  The procurement by ERCOT through Agreements for the provision of sufficient installed generating capacity capable of converting fuel oil into electricity in order maintain system reliability if curtailment of natural gas or other supply disruptions have occurred or are expected to occur.
As provided by a QSE to ERCOT: The provision of Resources under a Fuel Oil Inventory Agreement of a predetermined amount of installed generating capacity capable of converting fuel oil into electricity in order to maintain system reliability if curtailment of natural gas or other supply disruptions have occurred or are expected to occur.
6.2.1 Ancillary Services Provided Solely by ERCOT

ERCOT is the sole provider of system-wide Balancing Energy Service; Generation 
Resource unit-specific Voltage Support Service (VSS), Black Start Service, Replacement Reserve Service, Zonal OOME Service, RMR Service, Fuel Oil Inventory Service, OOMC and OOME Service to QSEs.

ERCOT will arrange Resources to provide system-wide VSS, Black Start, Fuel Oil Inventory Service, Zonal OOME, and RMR Service from QSEs.  ERCOT will direct Resources to provide OOMC or OOME in accordance with OOMC Service and OOME Service provisions of these Protocols.

6.3.1 ERCOT Responsibilities

(1) ERCOT through its Ancillary Service function shall develop the Operating Day Ancillary Service Plan for the ERCOT System, and the Day Ahead Ancillary Service Obligation which will be assigned based on Load Ratio Share data, by LSE, aggregated to the QSE level.  Unless otherwise provided in these Protocols, a QSE’s allocation for Ancillary Service Obligation will be determined for each hour according to that LSE’s Load Ratio Share computed by ERCOT.  The LSE Ancillary Service allocation shall be based on the hourly Load Ratio Share from the Initial Settlement data, as defined in Section 9.2, Settlement Statements, for the same hour and day of the week multiplied by the quantity of the service in the Operating Day Ancillary Service Plan.

[PRR451:  Replace Section 6.3.1, item (1) above with the following upon system implementation:]

(1)
ERCOT, through its Ancillary Services function, shall develop the Operating Day Ancillary Service Plan for the ERCOT System, and the Day Ahead Ancillary Service Obligation which will be assigned based on Load Ratio Share data, by LSE, aggregated to the QSE level.  Unless otherwise provided in these Protocols, a QSE’s allocation for Ancillary Service Obligation will be determined for each hour according to that LSE’s Load Ratio Share computated by ERCOT.  The LSE Ancillary Service allocation for the Day Ahead Ancillary Service Obligation shall be based on the hourly Load Ratio Share from the Initial Settlement data, for the Operating Day that is twenty-one (21) days before the Operating Day for which the Obligation is being calculated, as defined in Section 9.2, Settlement Statements, for the same hour and day of the week multiplied by the quantity of the Ancillary Service in the Operating Day AS Plan.
(2) ERCOT shall procure required Ancillary Services not self-arranged by QSEs.

(3) ERCOT accepts Ancillary Service bids only from QSEs.

(4) ERCOT shall allow the same capacity to be bid as multiple Ancillary Services types recognizing that this capacity may only be selected for one service.

(5) ERCOT shall ensure provision of Ancillary Services to all ERCOT System Market Participants in accordance with these Protocols.

(6) ERCOT shall not discriminate when obtaining Ancillary Services from QSEs submitting Ancillary Service bids.  ERCOT shall not discriminate between Self-Arranged Ancillary Services and ERCOT-procured Ancillary Services when dispatching Ancillary Services.

(7) For AS that are not self-arranged, ERCOT shall procure any additional Resources ERCOT requires during the Day-Ahead Scheduling Process, the Adjustment Period process, or the Operating Period.

(8) ERCOT shall procure Resources that are used to provide Reliability Must-Run Service or Black Start Service through longer-term Agreements.

(9) Following submission of QSE self-arranged schedules, ERCOT will identify the remaining amount of Ancillary Services that must be acquired in order to complete ERCOT’s Day-Ahead Ancillary Services Plan.  Regulation Up, Regulation Down, Responsive, and Non-Spinning services will be procured by ERCOT on the timeline described in Section 4, Scheduling.

(10) ERCOT will not profit financially from the market.  ERCOT will follow the Protocols with respect to the procurement of Ancillary Services and will not otherwise take actions regarding Ancillary Services with the intent to influence, set or control market prices.

(11) ERCOT will provide that Market Clearing Prices are posted on the Market Information System (MIS) in a timely manner as stated in Section 12.4.1, Scheduling Information, of these Protocols.  ERCOT will monitor Market Clearing Prices for errors and will “flag” for further review questionable prices before posting, and make adjustments or notations in the posting if there are conditions that cause the price to be questionable.  ERCOT may only correct the price consistent with these Protocols.

(12) ERCOT shall post the aggregated ERCOT AS Bid Stacks in accordance with Section 12.4.2, Ancillary Service Related Information of these Protocols.

(13) ERCOT will, through procurement processes specified in these Protocols, procure Ancillary Services as required and charge QSEs for those Ancillary Services in accordance with these Protocols.

(14) ERCOT will ensure ERCOT electric network reliability and adequacy and will afford the market a reasonable opportunity to supply reliability solutions.

(15) ERCOT will not substitute one type of Ancillary Service for another.

(16) ERCOT shall strive to use Market Solutions to manage Congestion prior to using OOMC, RMR, Fuel Oil Inventory, or Zonal OOME Services.

(17) ERCOT will make reasonable efforts to minimize the use of OOMC, Zonal OOME, Fuel Oil Inventory, or contracted RMR Facilities.

(18) ERCOT will provide timely information to those Resource units providing OOMC and RMR Services as to the specific use of each unit dispatched.

(19) ERCOT will determine and procure an amount of Fuel Oil Inventory Service installed generation capacity capable of converting fuel oil into electricity to reasonably maintain system reliability if curtailment of natural gas or other supply disruptions have occurred or are expected to occur.
[PRR413:  Replace Section 6.3.1 paragraphs (16)-(18) with the following upon system implementation.  (This effectively deletes paragraph (16) above.)]

(16) ERCOT will make reasonable efforts to minimize the use of OOMC, Zonal OOME, Fuel Oil Inventory, or contracted RMR Facilities.

(17) ERCOT will provide timely information to those Resource units providing OOMC, Fuel Oil Inventory, and RMR Services as to the specific use of each unit dispatched.

6.4.2 Determination of ERCOT Control Area Requirements

By the twentieth (20th) day of the current month, ERCOT will post a forecast of minimum Ancillary Services quantity requirements for the next calendar month.

Prior to 0600 of the Day Ahead, ERCOT will use the Day Ahead Load forecast and will develop an Ancillary Services Plan that identifies the amount of Ancillary Services necessary for each hour of the next day as specified in Section 4, Scheduling.  The amount of Ancillary Services required may vary depending on ERCOT System conditions from hour to hour.

By 0600 of the Day Ahead, ERCOT will post an ERCOT System and zonal Load forecast for the next seven (7) days, by hour.  ERCOT will notify each QSE of its allocated share of Ancillary Services for each hour for the next day, as specified in Section 4, Scheduling.  ERCOT will make available to Market Participants any ERCOT area Load forecasts used in the determination of its ERCOT System and zonal forecasts.

PIP134:  There are concerns that w/o using the Messaging System, the information is susceptible to screen scrapes.  Once the system uses the Messaging System, the first sentence of the paragraph above should be replaced as follows:

By 0600 of the Day Ahead, ERCOT will post an ERCOT System and zonal Load forecast for the next seven (7) days, by hour using the Messaging System.

ERCOT will determine the total required amount of each Ancillary Service using the Operating Guides and the following:

(1) Balancing Energy Service: ERCOT will estimate Balancing Energy needs based on the actual Load, the difference in forecasted Loads and Loads reported in bilateral schedules, deployed Regulation Service, and forecasted Congestion.

(2) Regulation Service:  ERCOT will use its operational judgment and experience to determine the quantity of Regulation-Up Service and Regulation-Down Service procured.  The quantity of Regulation-Up Service may differ from the quantity of Regulation-Down Service in any particular hour.

(3) Responsive Reserve Service: The requirement for Responsive Reserve Service is specified in the Operating Guides.  Using ERCOT-approved procedures ERCOT may increase the quantity requirement based on its judgment of reliability conditions.

(4) Non-Spinning Reserve Service: ERCOT will use its operational judgment and experience to determine the quantity of Non-Spinning Reserve Service procured.

(5) Replacement Reserve Service:  Replacement Reserve Service is procured from Generation Resource units planned to be off-line and Load acting as a Resource that are available for interruption during the period of requirement.  Energy is deployed from these procured Resources by requiring them to bid the amount of procured capacity into the Balancing Energy Up Service market.  ERCOT will consider the Generation Resource capacity On-line, based on Resource Plans, in its determination of Zonal Congestion and Local Congestion requirements.  ERCOT will evaluate the need for Replacement Reserve Service necessary to correct for ERCOT total capacity insufficiency, Zonal Congestion, or Local Congestion.  ERCOT shall determine the amount of RPRS to provide sufficient capacity in appropriate locations to provide ERCOT System security as specified in the Operating Guides, given ERCOT forecasted Load conditions as posted on the Market Information System.

(6) Voltage Support:  ERCOT in coordination with the TDSPs shall conduct studies to determine the normally desired Voltage Profile for all Generation Resource busses in the ERCOT System and shall post all Voltage Profiles on the Market Information System.  ERCOT may temporarily modify its requirements based on Current System Conditions.  ERCOT shall determine the amount of Voltage Support Service needed to provide sufficient reactive capacity in appropriate locations to provide ERCOT System security as specified in the Operating Guides.

(7) Black Start Service: ERCOT shall periodically determine and review the location and number of Black Start Resources required, as well as any special transmission or voice communication needs required.  ERCOT and providers of this service shall meet the requirements as specified in the Operating Guides and in NERC policy.

(8) (8)
Fuel Oil Inventory Service: ERCOT shall periodically review the total required amount and location of installed generation capacity capable of converting fuel oil into electricity in order to reasonably maintain system reliability
Insert the following new section after existing Section 6.5.11:

6.5.12
Fuel Oil Inventory Service
ERCOT will request bids from Generation Resource Entities for the provision of Fuel Oil Inventory (FOI) Service by April 1.  Such bids will be due on or before June 1.  Bids will be evaluated based on evaluation criteria attached as an appendix to the request for bids.  ERCOT will complete negotiations and notify the successful bidders no later than August 1 to provide FOI Service for the following winter season of November 15 through March 15.  ERCOT shall ensure FOI Services are arranged, provided, and deployed as necessary to reasonably maintain ERCOT System reliability.
6.6.2 Competitive Procurement of Ancillary Service Resources by ERCOT

(1) Except where stated to the contrary in these Protocols, ERCOT shall, to the extent the Ancillary Service Resource bids are available, use competitive procurement processes to procure sufficient Ancillary Service Resources to meet the requirements specified in these Protocols.

(2) QSEs may submit bids to provide Regulation Down, Regulation Up, Responsive Reserves, and Non-Spinning Reserves, as part of the Scheduling Process in accordance with Section 4, Scheduling.

(3) QSEs offering Balancing Energy Up, Balancing Energy Down, and Replacement Reserves can offer bids through the Adjustment Period, in accordance with Section 4.5, Adjustment Period Scheduling Process.

(4) QSE’s bids to provide Ancillary Services will continue to be valid until withdrawn by the QSE prior to the market clearing or the market is cleared.  Bids may not be withdrawn during bid evaluation by ERCOT as described in Scheduling Sections 4.4 Day Ahead Scheduling Process and Section 4.5Adjustment Period Scheduling Process or after the bid is selected.

(5) QSEs may only submit bids from that portion of any Resource not used to provide capacity and energy to supply the Resources in the QSE’s Balanced Schedule.

[PRR342: Add (6) & revise (7) under Section 6.6.2 as follows upon system implementation and notice to the Market.]

(6) ERCOT will determine the MCPC of each interval for Regulation Up, Responsive Reserve and Non-Spinning Reserve using an optimized simultaneous selection process in order to minimize the overall cost of these Ancillary Services.

(7)
Other than as specified for Congestion Management, ERCOT shall select Replacement Reserve and Regulation Down bids based on the lowest bid for each service.

(7) Other than as specified for Congestion Management, ERCOT shall select Ancillary Services capacity based on the lowest Ancillary Service bids, including capacity bids for RGS Up, RGS Down, RRS, NSRS, and RPRS.  For each of RGS Up, RGS Down, RRS, NSRS and RPRS, ERCOT will determine a MCPC for each settlement period as specified in Section 6.6 Selection Methodology.

(8) Other than as specified for Congestion Management, ERCOT shall Dispatch energy from the Balancing Energy Service bids based on price Merit Order and the requirements specified in Section 5, Dispatch Instructions.

(9) For Congestion Management, ERCOT shall, if possible, resolve all Congestion using the Balancing Energy Service by Congestion Zone.

(10) ERCOT shall establish, through an annual competitive procurement process, annual agreements with Resources needed to provide Black Start capability.

(11) ERCOT shall establish, through a competitive procurement process, agreements with Resource Entities needed to provide Fuel Oil Inventory Service.

Insert the following new section after existing Section 6.8.5:

6.8.6
Capacity Payments for Fuel Oil Inventory Service
(1) ERCOT will pay a capacity payment based on hourly availability, determined through a competitive annual bidding process, over the period November 15 through March 15 in accordance with the Fuel Oil Inventory Service Agreement in Section 22, ERCOT Protocols Agreements.

(2) The calculation of the capacity payment per interval for Fuel Oil Inventory Service is as follows:

CPFOIui
=
-1 * (AvailFOIui *AvailCAPui* FOICPu)i
CPFOIqi
=
1 * Sum (CPFOIui)q
AvailFOIui
=
0 when Resource is unavailable for service during the interval
1 when Resource is available for service during the interval
Where:

i
interval

q
QSE

u
single Resource
AvailCAPui
capacity (in megawatts) of a single Resource available for Fuel Oil Inventory Service during the interval

AvailFOIui
availability factor of the single Fuel Oil Inventory Resource during the interval

CPFOIui
hourly capacity payment for Fuel Oil Inventory Service per single Resource
CPFOIqi
hourly capacity payment for Fuel Oil Inventory Service per QSE

FOICPu
hourly capacity payment per MW of capacity for Fuel Oil Inventory Service per single Resource

(3) The formula below is used to determine the total Fuel Oil Inventory Payments to be allocated to each QSE for each interval in Section 6.9.4, Settlement Obligation for Black Start Service, RMR Standby Service, Fuel Oil Inventory Service, and RMR Synchronous Condenser Service.

CPFOIi
=
SUM (CPFOIqi)q
CPFOIqi
=
SUM (CPFOIui)q
Where:

i
interval

q
QSE

u
single Resource
CPFOIqi
capacity payment for Fuel Oil Inventory Service for the QSE per interval
CPFOIui
capacity payment for Fuel Oil Inventory Service per single Resource per interval

CPFOIi
summation of capacity payments to QSEs providing Fuel Oil Inventory Service for all QSEs in the market per interval
6.9.4 Settlement Obligation for Black Start Service, RMR Standby Service, Fuel Oil Inventory Service, and RMR Synchronous Condenser Service

(1) A QSE's Obligation for Black Start Service, RMR Standby Service, Fuel Oil Inventory Service and RMR Synchronous Condenser Service will be equal to the QSE’s quantity of energy consumed hourly divided by the sum of all QSE's energy consumed in that hour, multiplied by the total ERCOT hourly cost for each of the following:  Black Start Service, RMR Standby Service and RMR Synchronous Condenser Service.

Insert the following new section after existing Section 6.9.4.3:

4 Settlement Obligations for Fuel Oil Inventory Service
(1) Fuel Oil Inventory Service costs will be allocated on a Load Ratio Share per QSE in the following manner:

LAFOIqi
=
-1 * CPFOIi * LRSqi
Where:

CPFOIi
Capacity Payment for Fuel Oil Inventory
LAFOIqi
Fuel Oil Inventory Load Charge per interval per QSE

LRSqi
Load Ratio Share for the QSE per interval  

6.10.3 Ancillary Services Qualification Criteria and Portfolio Test Methods

Insert the following new section after existing Section 6.10.3.6:

19.1.1.1 6.10.3.7
Fuel Oil Inventory Service Capability

(1) Qualification will be provided to any Resource being considered by ERCOT to provide Fuel Oil Inventory Service as a result of the bidding process that has met the following requirements:

1. Successfully demonstrate the ability to establish and burn fuel oil in an amount that satisfies the minimum oil capability in accordance with the Fuel Oil Inventory Service Agreement in Section 22, ERCOT Protocols Agreements. This minimum oil burning capability must be demonstrated for a period of one hour.

2. Verify or confirm that fuel oil inventory located at the Resource is sufficient to satisfy the requirements contained in the Fuel Oil Inventory Service Agreement.

(2) On successful demonstration of Fuel Oil Inventory Service capability, ERCOT shall qualify the Fuel Oil Inventory Service Resource as being permitted to provide Fuel Oil Inventory Service and shall provide documentation attesting to that fact to the owner of the Fuel Oil Inventory Service Resource.  Qualification shall be valid from the date of the last successful Fuel Oil Inventory Service capability test through the Stop Date shown in the Fuel Oil Inventory Service Agreement.  Qualification shall be revoked if the Resource providing Fuel Oil Inventory Service fails to perform successfully when Fuel Oil Inventory Service is requested by ERCOT.  Upon such failure, the Resource must submit to re-qualification by ERCOT as described in Section (1) before it will be considered available to provide Fuel Oil Inventory Service. 
12.4.2 Ancillary Service -Related Information

ERCOT shall post on the MIS its Ancillary Services requirements as set forth in Section 4, Scheduling.

As set forth in Section 4, Scheduling, ERCOT shall post as specified in these Protocols, Day-Ahead Ancillary Services Scheduling Process hourly summaries, including:

(1) Amount of capacity procured and the MCPCs for each Ancillary Service;
(2) Aggregated Bid Stack for each Ancillary Service, no earlier than the day following the effective day of the bids;
(3) Notices of system insufficiencies;
(4) The quantities and prices of Ancillary Services acquired under conditions of system insufficiency (OOMC);
(5) The quantities and prices of RMR Services;
(6) The quantities and prices of Fuel Oil Inventory Services; and
(7) Total ERCOT actual Load.

ERCOT shall securely post information affecting the allocation of Ancillary Services to QSEs including:

(1) Each QSE’s historical Load Ratio Share used for the Ancillary Services allocation; and

(2) Each QSE’s allocation of each Ancillary Service based upon the information in (1) above.

12.4.4 Current System Conditions

ERCOT shall post on the MIS information, other than Protected Information, available to ERCOT including:

(1) The status of the ERCOT Transmission Grid;
(2) ERCOT’s system-wide Load forecast;
(3) ERCOT’s Ancillary Service requirements;
(4) Amounts of Ancillary Services arranged by ERCOT along with the MCPC for Ancillary Services;
(5) Deemed actual Transmission Loss Factors;
(6) Approved and proposed Transmission System Planned Outage information as set forth in Section 8, Outage Coordination;

(7) Security violations from contingency analysis, Dynamic Security Analysis (DSA), and Voltage Security Analysis (VSA) cases;

(8) ERCOT’s Load flow results and network models (i.e., option for data transport via some electronic means);
(9) The quantities and prices of RMR Services deployed by ERCOT;
(10) The quantities and prices of Fuel Oil Inventory Services deployed by ERCOT; and

(11) Total ERCOT System Load, Real-Time, integrated over intervals.

ERCOT shall post this information at the close of the Day-Ahead, Adjustment Period and Real Time markets. Market Participants shall provide ERCOT with data needed to reliably operate the ERCOT System and market functions.

The following data flow requirements include the minimum data Market Participants will furnish to ERCOT for reliable operations, as described in Section 12.4.4.1, ERCOT Power Operations and the minimum data ERCOT will furnish to Market Participants for market operations purposes, as described in Section 12.4.4.2, ERCOT Market Operations.  Details regarding the format of data posted by the Market Participants and ERCOT can be found in the Operating Guides.

{Note:  Section 22 Attachment J below is proposed as a new document but is not shown as redlined for ease of reading.}

ERCOT Protocols

Section 22 

Attachment J: 

Standard Form Fuel Oil Inventory Service Agreement

19.1.1.1.1.1 December __, 2003

19.1.1.1.2 Standard Form Fuel Oil Inventory Service Agreement

Between

(Participant)

and

Electric Reliability Council of Texas, Inc.

This Fuel Oil Inventory Service Agreement (“Agreement”), effective as of ___________ of _______________, ___________ (“Effective Date”), is entered into by and between [insert Participant’s name], a [insert business entity type and state] (“Participant”) and Electric Reliability Council of Texas, Inc., a Texas non-profit corporation (“ERCOT”).

Recitals

WHEREAS:

A. Participant is Resource Entity as defined in the ERCOT Protocols, and Participant intends to supply Fuel Oil Inventory Service;

B. ERCOT is the Independent Organization certified under PURA §39.151 for the ERCOT Region; and

C. The Parties enter into this Agreement in order to establish the terms and conditions by which ERCOT and Participant will discharge their respective duties and responsibilities under the ERCOT Protocols.

19.1.1.2 Agreements

NOW, THEREFORE, in consideration of the mutual covenants and promises contained herein, ERCOT and Participant (the “Parties”) hereby agree as follows:

Section 1. Designated Unit Terms

A. Start Date: November 15, 20_____. 

B. Stop Date: March 15, 20____.

C. Unit Name:_________________________

D. Description of Designated Unit [including location, number of generators, etc.]: ______________________________________________________________________________________________________________, as described in more detail on Exhibit 1.  If Designated Unit is a combined cycle generation resource, indicate the Designated Unit’s operational capability under ERCOT Protocols Section 6.5.9(6).

E. Contract Amount Information [Fill out for unit designated in Subsection 1.C above]



Designated Unit Net Generating Capacity when burning oil*


Minimum
_____MW*



Maximum
_____MW*



On-Site Fuel Oil Storage Capacity: ____ Barrels



Type of Fuel Oil in Storage: __________



Number of days of operation on oil*: ____ Days (Minimum required = 4 days)



Maximum number of starts per day when burning oil*: _____ 



Start-up Time (Hot)
_____ Hours*



Start-up Time (Cold)
_____ Hours*


* Based on ___% natural gas and ____% fuel oil

F. Delivery Point: ____________________________

G. Revenue Meter Location (Use Resource IDs): __________________________

H. Applicable Environmental Limitations:


Maximum annual NOx emissions: ____________________

Maximum annual SO2 emissions: ____________________

Other: __________________________________________

I. Hourly Fuel Oil Inventory (FOI) Capacity Price: $_____ per MW of Billing Capacity per hour for each hour unit is available to provide Fuel Inventory Service from the Designated Unit for the full term of this Agreement.

J. All notices required to be given under this Agreement shall be in writing, and shall be deemed delivered three days after being deposited in the U.S. mail, first class postage prepaid, registered (or certified) mail, return receipt requested, addressed to the other Party at the address specified in this Agreement or shall be deemed delivered on the day of receipt if sent in another manner requiring a signed receipt, such as courier delivery or Federal Express delivery. Either Party may change its address for such notices by delivering to the other Party a written notice referring specifically to this Agreement. Notices required under the ERCOT Protocols shall be in accordance with the applicable Section of the ERCOT Protocols. 

If to ERCOT:

Electric Reliability Council of Texas, Inc.

7620 Metro Center Drive

Austin, Texas 78744-1654

Tel No. (512) 225-7000

If to Participant:

[insert appropriate information]

Section 2. Definitions.

A.
Unless herein defined, all definitions and acronyms found in the ERCOT Protocols shall be incorporated by reference into this Agreement. 

B.
“ERCOT Protocols” shall mean the document adopted by ERCOT, including any attachments or exhibits referenced in that document, as amended from time to time, that contains the scheduling, operating, planning, reliability, and settlement (including customer registration) policies, rules, guidelines, procedures, standards, and criteria of ERCOT. For the purposes of determining responsibilities and rights at a given time, the ERCOT Protocols, as amended in accordance with the change procedure(s) described in the ERCOT Protocols, in effect at the time of the performance or non-performance of an action, shall govern with respect to that action.  

Section 3. Term and Termination.

A. Term.

(1)
This Agreement is effective beginning on the Effective Date.

(2)
The period beginning on the Start Date and ending on the Stop Date is called the “Full Term” of this Agreement. 

B. Termination by Participant. Participant may, at its option, immediately terminate this Agreement upon the failure of ERCOT to continue to be certified by the PUCT as the Independent Organization under PURA §39.151 without the immediate certification of another Independent Organization under PURA §39.151. 

C. Effect of Termination and Survival of Terms. If this Agreement is terminated by a Party pursuant to the terms hereof, the rights and obligations of the Parties hereunder shall terminate, except that the rights and obligations of the Parties that have accrued under this Agreement prior to the date of termination shall survive.

Section 4. Representations, Warranties, and Covenants.

A. Participant represents, warrants, and covenants that: 

(1)
Participant is duly organized, validly existing and in good standing under the laws of the jurisdiction under which it is organized, and is authorized to do business in Texas;

(2)
Participant has full power and authority to enter into this Agreement and perform all of Participant’s obligations, representations, warranties, and covenants under this Agreement;

(3)
Participant’s past, present and future agreements or Participant’s organizational charter or bylaws, if any, or any provision of any indenture, mortgage, lien, lease, agreement, order, judgment, or decree to which Participant is a party or by which its assets or properties are bound do not materially affect performance of Participant’s obligations under this Agreement; 

(4)
The execution, delivery and performance of this Agreement by Participant have been duly authorized by all requisite action of its governing body;

(5)
Except as set out in an exhibit (if any) to this Agreement, ERCOT has not, within the 24 months preceding the Effective Date, terminated for Default any Prior Agreement with Participant, any company of which Participant is a successor in interest, or any Affiliate of Participant; 

(6)
If any Defaults are disclosed on any such exhibit mentioned in subsection 4.A(5), either (a) ERCOT has been paid, before execution of this Agreement, all sums due to it in relation to such Prior Agreement, or (b) ERCOT, in its reasonable judgment, has determined that this Agreement is necessary for system reliability, and Participant has made alternate arrangements satisfactory to ERCOT for the resolution of the Default under the Prior Agreement; Participant is a successor in interest or any Affiliates of Participant;  

(7)
Participant has obtained, or will obtain prior to beginning performance under this Agreement, all licenses, registrations, certifications, permits and other authorizations and has taken, or will take prior to beginning performance under this Agreement, all actions required by applicable laws or governmental regulations except licenses, registrations, certifications, permits or other authorizations that do not materially affect performance under this Agreement; 

(8)
Participant is not in violation of any laws, ordinances, or governmental rules, regulations or order of any Governmental Authority or arbitration board materially affecting performance of this Agreement and to which it is subject; 

(9)
Participant is not Bankrupt, does not contemplate becoming Bankrupt nor, to its knowledge, will become Bankrupt;  

(10)
Participant acknowledges that it has received and is familiar with the ERCOT Protocols; and  

(11)
Participant acknowledges and affirms that the foregoing representations, warranties, and covenants are continuing in nature throughout the full term of this Agreement. For purposes of this Section, “materially affecting performance” means resulting in a materially adverse effect on Participant’s performance of its obligations under this Agreement.

B. ERCOT represents, warrants, and covenants that:

(1)
ERCOT is the Independent Organization certified under PURA §39.151 for the ERCOT Region;

(2)
ERCOT is duly organized, validly existing and in good standing under the laws of Texas, and is authorized to do business in Texas;

(3)
ERCOT has full power and authority to enter into this Agreement and perform all of ERCOT’s obligations, representations, warranties, and covenants under this Agreement;

(4)
ERCOT’s past, present and future agreements or ERCOT’s organizational charter or bylaws, if any, or any provision of any indenture, mortgage, lien, lease, agreement, order, judgment, or decree to which ERCOT is a party or by which its assets or properties are bound do not materially affect performance of ERCOT’s obligations under this Agreement;

(5)
The execution, delivery and performance of this Agreement by ERCOT have been duly authorized by all requisite action of its governing body;

(6)
ERCOT has obtained, or will obtain prior to beginning performance under this Agreement, all licenses, registrations, certifications, permits and other authorizations and has taken, or will take prior to beginning performance under this Agreement, all actions required by applicable laws or governmental regulations except licenses, registrations, certifications, permits or other authorizations that do not materially affect performance under this Agreement;  

(7)
ERCOT is not in violation of any laws, ordinances, or governmental rules, regulations or order of any Governmental Authority or arbitration board materially affecting performance of this Agreement and to which it is subject;

(8)
ERCOT is not Bankrupt, does not contemplate becoming Bankrupt nor, to its knowledge, will become Bankrupt; and 

(9)
ERCOT acknowledges and affirms that the foregoing representations, warranties, and covenants are continuing in nature throughout the full term of this Agreement. For purposes of this Section, “materially affecting performance,” means resulting in a materially adverse effect on ERCOT’s performance of its obligations under this Agreement.

Section 5. Participant Obligations.

A. Participant shall comply with, and be bound by, all ERCOT Protocols as they pertain to provision of Fuel Oil Inventory Service by a Resource Entity.

B. Participant shall not take any action, without first providing written notice to ERCOT and reasonable time for ERCOT and Market Participants to respond, that would cause a Market Participant within the ERCOT Region that is not a “public utility” under the Federal Power Act or ERCOT itself to become a “public utility” under the Federal Power Act or become subject to the plenary jurisdiction of the Federal Energy Regulatory Commission.

C. Participant will immediately notify ERCOT when the Fuel Oil Inventory resource is not capable of providing service and will provide ERCOT a plan and schedule of when the Fuel Oil Inventory resource will be available for service.

Section 6. ERCOT Obligations.

A. ERCOT shall comply with, and be bound by, all ERCOT Protocols. 

B. ERCOT shall not take any action, without first providing written notice to Participant and reasonable time for Participant and other Market Participants to respond, that would cause Participant, if Participant is not a “public utility” under the Federal Power Act, or ERCOT itself to become a “public utility” under the Federal Power Act or become subject to the plenary jurisdiction of the Federal Energy Regulatory Commission.  If ERCOT receives any notice similar to that described in Section 5.B from any Market Participant, ERCOT shall provide notice of same to Participant.

Section 7. Capacity Tests for FOI Units.
A. Capacity Tests on Fuel Oil.

(1)
A “Capacity Test on Fuel Oil” is a one-hour performance test of the FOI Unit by Participant. The capacity as shown by a Capacity Test is called “Tested Capacity” and is determined by the applicable net meter readings during the Capacity Test. 

(2)
ERCOT may require that a Capacity Test on Fuel Oil be performed at ERCOT’s discretion at any time, but ERCOT may not require more than one Capacity Tests during the full term of this agreement.  ERCOT must give Participant at least twenty four (24) hours advance notice of a Capacity Test required by ERCOT, unless Participant agrees to less than twenty four (24) hours.  Participant may perform as many Capacity Tests on Fuel Oil as it desires, but Participant may not perform a Capacity Test on Fuel Oil without the prior approval of ERCOT, which approval ERCOT may not unreasonably withhold or delay. The Parties will reasonably cooperate to coordinate a Capacity Test on Fuel Oil.  ERCOT has the right to reasonable advance notice of, and to have personnel present during, a Capacity Test on Fuel Oil.

B. Test Report.  ERCOT shall give the Capacity Test on Fuel Oil results in writing (the “Capacity Test Report”) to Participant within twenty-four (24) hours after the test is run. 

C. Effect of Test.

(1) A determination of Tested Capacity on Fuel Oil is effective as of the beginning of the hour in which the Capacity Test on Fuel Oil is started.

(2) For all hours in which Tested Capacity on Fuel Oil is less than FOI Capacity, then Billing Capacity is reduced as set out in Section 9.D(3) below and will remain so reduced until a subsequent Capacity Test on Fuel Oil establishes that Tested Capacity equals or exceeds FOI Capacity.

(3) After the Effective Date, ERCOT shall purchase, as part of FOI Energy, the electrical energy generated by the FOI Unit, including ramping energy, during a Capacity Test on Fuel Oil requested by ERCOT, net of auxiliary equipment and other electrical requirements of the FOI Unit that are supplied by the FOI Unit. ERCOT shall also purchase, as part of FOI Energy, any electrical energy generated by the FOI Unit during a Capacity Test on Fuel Oil requested by Participant to attempt to show that Tested Capacity on Fuel Oil equals or exceeds FOI Capacity, net of auxiliary equipment and other electrical requirements of the FOI Unit that are supplied by the FOI Unit.  Such energy purchase shall be paid for by ERCOT as Out of Merit Energy (OOME), consistent with applicable ERCOT Protocols.  

Section 8. Operation.

A. Designated Unit Maintenance.  Before the start of the contract term, Participant shall furnish ERCOT with its proposed schedule for Planned Outages for inspection, repair, maintenance, and overhaul of the Designated Unit for the contract period.  Participant will promptly advise ERCOT of any later changes to the schedule.  The specific times for Planned Outages of the Designated Unit must be approved or rejected by ERCOT within thirty (30) days after submission by a Participant.  Requested outages shall only be rejected if necessary to assure reliability of the ERCOT System.  ERCOT shall, if requested by Participant, endeavor to accommodate changes to the schedule to the extent that reliability of the ERCOT System is not materially affected by those changes.  In all cases, ERCOT must find a time for Participant to perform maintenance in a reasonable timeframe as defined by Good Utility Practice.

B. Fuel Oil Storage Facilities.  Before the start of the contract term, Participant will provide fuel oil and fuel oil storage facilities at the Generating Resource location that are sufficient to meet the requirements of this contract. 
C. Planning Requirements. Participant shall timely report to ERCOT those items and conditions necessary for ERCOT’s internal planning and compliance with ERCOT’s guidelines in effect from time to time. The information supplied must include, without limitation, the following:
(1) Availability Plan for the next day (transmitted to the ERCOT dispatcher by 6:00 a.m. of the preceding day).  The information submitted in the Availability Plan will be consistent with the information submitted in the Resource Plan; 

(2)
Revised Availability Plan reflecting changes in the Plan as soon as reasonably practical, but in no event later than 60 minutes after the event that caused the change; and

(3)
Status of Designated Unit with respect to Environmental Limitations, if any.

ERCOT shall timely report to Participant the status of the Designated Unit with respect to Operational Limitations.  

C. Delivery.

(1)
ERCOT shall notify Participant, through its QSE, of the hours and levels of generation, if any, that the Designated Unit is to operate. This information is called the “Delivery Plan.” ERCOT shall notify Participant according to Section 4 – Scheduling of the ERCOT Protocols.  ERCOT shall not notify Participant to operate at levels above those stated in the Availability Plan, and ERCOT shall not notify Participant to operate the FOI Unit in a way that would violate the limitations on operation set out in Section 1 above. 

(2)
Participant shall produce and deliver electrical energy from the FOI Resource to the Delivery Point at the levels specified in the Delivery Plan.

(3)
ERCOT may dispatch the Designated Unit only as necessary to maintain system reliability in the event that natural gas supplies may be or have been curtailed due to weather conditions or other supply disruptions. ERCOT may not dispatch the Designated Unit if compliance with the dispatch would cause the Designated Unit to exceed the Operational and Environmental Limitations, if any, set forth in Section 1 above or at levels greater than are shown in the Availability Plan. Notwithstanding the foregoing, Participant retains the responsibility for operating the Designated Unit in accordance with limits provided by applicable law.  

Section 9. Payment.


A. For the transfer of any funds under this Agreement directly between ERCOT and Participant and pursuant to the Settlement procedures for Ancillary Services described in the ERCOT Protocols, the following shall apply:

(1) Participant appoints ERCOT to act as its agent with respect to such funds transferred and authorizes ERCOT to exercise such powers and perform such duties as described in this Agreement or the ERCOT Protocols, together with such powers or duties as are reasonably incidental thereto.  
(2) ERCOT shall not have any duties, responsibilities to, or fiduciary relationship with Participant and no implied covenants, functions, responsibilities, duties, obligations or liabilities shall be read into this Agreement except as expressly set forth herein or in the ERCOT Protocols.

B. Hourly Fuel Oil Inventory Service Capacity Payments. ERCOT shall pay Participant the Hourly Fuel Oil Inventory Service Capacity Payment, except as specified below:

(1) Failure of the Designated Resource to be available during any interval during the full term of this Agreement.

(2) “Available” means, with respect to a given interval (i.e., one hour), that Participant has declared, in its Availability Plan, that the Fuel Oil Inventory Service Resource is capable of being brought on line, as well as being capable of burning fuel oil to deliver the amount energy as requested by ERCOT. The Designated Resource will not be considered “Available” from the time it fails the Fuel Oil Inventory Service Resource Capability Test to the time it passes the Fuel Oil Inventory Service Resource Capability Test.

C. Capacity Payments for the FOI Unit.  ERCOT shall pay Participant, through Participant’s QSE, for FOI capacity at the appropriate Out-of-Merit Capacity (OOMC) Service for the amount of capacity provided by the FOI Unit when deployed by ERCOT as specified in Section 6.8.2.2 of the ERCOT Protocols. If the payment received by the Participant for capacity is insufficient to cover all costs of providing the OOMC Service, then the Participant may submit its verifiable costs as described in Section 6.8.2.2.(4) of the ERCOT Protocols to receive additional capacity payments.

D. Energy Payments for the FOI Unit.   ERCOT shall pay Participant, through Participant’s QSE, for FOI Energy at the appropriate Out-of-Merit Energy (OOME) Service Up or Down generic pricing for the FOI Unit for the amount of energy provided by the FOI Unit when deployed by ERCOT as specified in Section 6.8.2.3 of the ERCOT Protocols.  If the payment received by the Participant for energy is insufficient to cover all costs of providing the OOME Service, then the Participant may submit its verifiable costs as described in Section 6.8.2.3.(3) of the ERCOT Protocols to receive additional energy payments.

Section 10. Default. 

A.
Event of Default. 

(1) Failure to make payment or transfer funds as provided in the ERCOT Protocols shall constitute a material breach and shall constitute an event of default ("Default") unless cured within three (3) Business Days after delivery by the non-breaching Party of written notice of the failure to the breaching Party.  Provided further that if such a material breach, regardless of whether such breach is cured within the allotted time after notice of the material breach, occurs more than three (3) times within a rolling 12-month period, the fourth such breach shall constitute a Default by the breaching Party.

(2) For any material breach other than a failure to make payment or transfer funds, the occurrence and continuation of any of the following events shall constitute an event of Default by Participant: 

(a)
Except as excused under subsection (4) or (5) below, a material breach, other than a failure to make payment or transfer funds, of this Agreement by Participant, including any material failure by Participant to comply with the ERCOT Protocols, unless cured within fourteen (14) Business Days after delivery by ERCOT of written notice of the material breach to Participant.  Participant must begin work or other efforts within three (3) Business Days to cure such material breach after delivery by ERCOT of written notice of such material breach by Participant and must prosecute such work or other efforts with reasonable diligence until the breach is cured.   Provided further that if a material breach, regardless of whether such breach is cured within the allotted time after notice of the material breach, occurs more than three (3) times within a rolling 12-month period, the fourth such breach shall constitute a Default.
(b)
Participant becomes Bankrupt, except for the filing of a petition in involuntary bankruptcy, or similar involuntary proceedings, that is dismissed within 90 days thereafter.

(c)
The Designated Unit’s operation is abandoned without intent to return it to operation during the Full Term;

(d)
At any time, the Hourly Rolling EAF is equal to or less than 50%; or 

(e)
Three or more unexcused Misconduct Events occur during a contract year.  

(3) Except as excused under subsection (4) or (5) below, a material breach of this Agreement by ERCOT, including any material failure by ERCOT to comply with the ERCOT Protocols, other than a failure to make payment or transfer funds, shall constitute a Default by ERCOT unless cured within fourteen (14) Business Days after delivery by Participant of written notice of the material breach to ERCOT.  ERCOT must begin work or other efforts within three (3) Business Days to cure such material breach after delivery by Participant of written notice of such material breach by ERCOT and must prosecute such work or other efforts with reasonable diligence until the breach is cured.  Provided further that if a material breach, regardless of whether such breach is cured within the allotted time after notice of the material breach, occurs more than three (3) times within a rolling 12-month period, the fourth such breach shall constitute a Default.
(4)
For any material breach other than a failure to make payment or transfer funds, the breach shall not result in a Default if the breach cannot reasonably be cured within 14 calendar days, prompt written notice is provided by the breaching Party to the other Party, and the breaching Party began work or other efforts to cure the breach within 3 Business Days after delivery of the notice to the breaching Party and prosecutes the curative work or efforts with reasonable diligence until the curative work or efforts are completed.

(5)
If, due to a Force Majeure Event, a Party is in breach with respect to any obligation hereunder, such breach shall not result in a Default by that Party.  

B.
Remedies for Default.

(1) ERCOT’s Remedies for Default. In the event of a Default by Participant, ERCOT may pursue any remedies ERCOT has under this Agreement, at law, or in equity, subject to the provisions of Section 12: Dispute Resolution of this Agreement.  In the event of a Default by Participant, if the ERCOT Protocols do not specify a remedy for a particular Default, ERCOT may, at its option, upon written notice to Participant, immediately terminate this Agreement, with termination to be effective upon the date of delivery of notice. 

(2) Participant’s Remedies for Default. 

(a)
Unless otherwise specified in this Agreement or in the ERCOT Protocols, and subject to the provisions of Section 12: Dispute Resolution of this Agreement, in the event of a Default by ERCOT, Participant’s remedies shall be limited to: 

(i)
Immediate termination of this Agreement upon written notice to ERCOT, 

(ii)
Monetary recovery in accordance with the Settlement procedures set forth in the ERCOT Protocols, and 

(iii)
Specific performance.

(b)
However, in the event of a material breach by ERCOT of any of its representations, warranties or covenants, Participant's sole remedy shall be immediate termination of this Agreement upon written notice to ERCOT.

(c)
If as a final result of any dispute resolution ERCOT, as the settlement agent, is determined to have over-collected from a Market Participant(s), with the result that refunds are owed by Participant to ERCOT, as the settlement agent such Market Participant(s) may request ERCOT to allow such Market Participant to proceed directly against Participant, in lieu of receiving full payment from ERCOT. In the event of such request, ERCOT, in its sole discretion, may agree to assign to such Market Participant ERCOT’s rights to seek refunds from Participant, and Participant shall be deemed to have consented to such assignment. This subsection (c) survives termination of this Agreement.

(3) A Default or breach of this Agreement by a Party shall not relieve either Party of the obligation to comply with the ERCOT Protocols.

C. Force Majeure. 

(1)
If, due to a Force Majeure Event, either Party is in breach of this Agreement with respect to any obligation hereunder, such Party shall take reasonable steps, consistent with Good Utility Practice, to remedy such breach. If either Party is unable to fulfill any obligation by reason of a Force Majeure Event, it shall give notice and the full particulars of the obligations affected by such Force Majeure Event to the other Party in writing or by telephone (if followed by written notice) as soon as reasonably practicable, but not later than fourteen (14) calendar days, after such Party becomes aware of the event. A failure to give timely notice of the Force Majeure event shall constitute a waiver of the claim of Force Majeure Event. The Party experiencing the Force Majeure Event shall also provide notice, as soon as reasonably practicable, when the Force Majeure Event ends. 

(2)
Notwithstanding the foregoing, a Force Majeure Event does not relieve a Party affected by a Force Majeure Event of its obligation to make payments or of any consequences of non-performance pursuant to the ERCOT Protocols or under this Agreement, except that the excuse from Default provided by subsection 8.A(5) above is still effective. 

D. Duty to Mitigate. Except as expressly provided otherwise herein, each Party shall use commercially reasonable efforts to mitigate any damages it may incur as a result of the other Party’s performance or non-performance of this Agreement.

Section 11. Limitation of Damages and Liability and Indemnification.

A. EXCEPT AS EXPRESSLY LIMITED IN THIS AGREEMENT OR THE ERCOT PROTOCOLS, ERCOT OR PARTICIPANT MAY SEEK FROM THE OTHER, THROUGH APPLICABLE DISPUTE RESOLUTION PROCEDURES SET FORTH IN THE ERCOT PROTOCOLS, ANY MONETARY DAMAGES OR OTHER REMEDY OTHERWISE ALLOWABLE UNDER TEXAS LAW, AS DAMAGES FOR DEFAULT OR BREACH OF THE OBLIGATIONS UNDER THIS AGREEMENT; PROVIDED, HOWEVER, THAT Neither Party is liable to the other for any special, indirect, PUNITIVE or consequential damages or injury that may occur, in whole or in part, as a result of A DEFAULT UNDER THIS AGREEMENT, a tort, or any other cause, whether or not a Party had knowledge of the circumstances that resulted in the special, indirect, PUNITIVE or consequential damages OR INJURY, or could have foreseen that such damages OR INJURY would occur. 
B. With respect to any dispute regarding a Default or breach by ERCOT of its obligations under this Agreement, ERCOT expressly waives any Limitation of Liability to which it may be entitled under the Charitable Immunity and Liability Act of 1987, Tex. Civ. Prac. & Rem. Code §84.006, or successor statute.

C. The Parties have expressly agreed that, other than subsections A and B of this Section, this Agreement shall not include any other limitations of liability or indemnification provisions, and that such issues shall be governed solely by applicable law, in a manner consistent with the Choice of Law and Venue subsection of this Agreement, regardless of any contrary provisions that may be included in or subsequently added to the ERCOT Protocols (outside of this Agreement). 

Section 12. Dispute Resolution.

A. In the event of a dispute, including a dispute regarding a Default, under this Agreement, Parties to this Agreement shall first attempt resolution of the dispute using the applicable dispute resolution procedures set forth in the ERCOT Protocols. 

B. In the event of a dispute, including a dispute regarding a Default, under this Agreement, each Party shall bear its own costs and fees, including, but not limited to attorneys’ fees, court costs, and its share of any mediation or arbitration fees. 

Section 13. Miscellaneous. 

A. Choice of Law and Venue. Notwithstanding anything to the contrary in this Agreement, this Agreement shall be deemed entered into and performable solely in Texas and, with the exception of matters governed exclusively by federal law, shall be governed by and construed and interpreted in accordance with the laws of the State of Texas that apply to contracts executed in and performed entirely within the State of Texas, without reference to any rules of conflict of laws.  Neither Party waives primary jurisdiction as a defense; provided that any court suits regarding this Agreement shall be brought in a state or federal court located within Travis County, Texas, and the Parties hereby waive any defense of forum non-conveniens, except defenses under Tex. Civ. Prac. & Rem. Code §15.002(b). 

B. Assignment. 

(1)
Notwithstanding anything herein to the contrary, a Party shall not assign or otherwise transfer all or any of its rights or obligations under this Agreement without the prior written consent of the other Party, which shall not be unreasonably withheld or delayed, except that a Party may assign or transfer its rights and obligations under this Agreement without the prior written consent of the other Party (if neither the assigning Party or the assignee is then in Default of any Agreement with ERCOT):

(a)
Where any such assignment or transfer is to an Affiliate of the Party; or 

(b)
Where any such assignment or transfer is to a successor to or transferee of the direct or indirect ownership or operation of all or part of the Party, or its facilities; or

(c)
For collateral security purposes to aid in providing financing for itself, provided that the assigning Party will require any secured party, trustee or mortgagee to notify the other Party of any such assignment. Any financing arrangement entered into by either Party pursuant to this Section will provide that prior to or upon the exercise of the secured party’s, trustee’s or mortgagee’s assignment rights pursuant to said arrangement, the secured creditor, the trustee or mortgagee will notify the other Party of the date and particulars of any such exercise of assignment right(s). If requested by the Party making any such collateral assignment to a Financing Person, the other Party shall execute and deliver a consent to such assignment containing customary provisions, including representations as to corporate authorization, enforceability of this Agreement and absence of known Defaults, notices of Default, and an opportunity for the Financing Person to cure Defaults. 

(2)
An assigning Party shall provide prompt written notice of the assignment to the other Party.  Any attempted assignment that violates this Section is void and ineffective. Any assignment under this Agreement shall not relieve either Party of its obligations under this Agreement, nor shall either Party’s obligations be enlarged, in whole or in part, by reason thereof. 

C. No Third Party Beneficiary. Except with respect to the rights of other Market Participants in Section 10.B and the Financing Persons in Section 13.B(3), (1) nothing in this Agreement nor any action taken hereunder shall be construed to create any duty, liability or standard of care to any third party, (2) no third party shall have any rights or interest, direct or indirect, in this Agreement or the services to be provided hereunder and (3) this Agreement is intended solely for the benefit of the Parties, and the Parties expressly disclaim any intent to create any rights in any third party as a third-party beneficiary to this Agreement or the services to be provided hereunder. Nothing in this Agreement shall create a contractual relationship between one Party and the customers of the other Party, nor shall it create a duty of any kind to such customers.

D. No Waiver. Parties shall not be required to give notice to enforce strict adherence to all provisions of this Agreement. No breach or provision of this Agreement shall be deemed waived, modified or excused by a Party unless such waiver, modification or excuse is in writing and signed by an authorized officer of such Party. The failure by or delay of either Party in enforcing or exercising any of its rights under this Agreement shall (1) not be deemed a waiver, modification or excuse of such right or of any breach of the same or different provision of this Agreement, and (2) not prevent a subsequent enforcement or exercise of such right. Each Party shall be entitled to enforce the other Party’s covenants and promises contained herein, notwithstanding the existence of any claim or cause of action against the enforcing Party under this Agreement or otherwise.

E. Headings. Titles and headings of paragraphs and sections within this Agreement are provided merely for convenience and shall not be used or relied upon in construing this Agreement or the Parties’ intentions with respect thereto.

F. Severability. In the event that any of the provisions, or portions or applications thereof, of this Agreement is finally held to be unenforceable or invalid by any court of competent jurisdiction, that determination shall not affect the enforceability or validity of the remaining portions of this Agreement, and this Agreement shall continue in full force and effect as if it had been executed without the invalid provision; provided, however, if either Party determines, in its sole discretion, that there is a material change in this Agreement by reason thereof, the Parties shall promptly enter into negotiations to replace the unenforceable or invalid provision with a valid and enforceable provision. If the Parties are not able to reach an agreement as the result of such negotiations within fourteen (14) days, either Party shall have the right to terminate this Agreement on three (3) days written notice.

G. Entire Agreement. Any Exhibits attached to this Agreement are incorporated into this Agreement by reference and made a part of this Agreement as if repeated verbatim in this Agreement. This Agreement represents the Parties’ final and mutual understanding with respect to its subject matter. It replaces and supersedes any prior agreements or understandings, whether written or oral. No representations, inducements, promises, or agreements, oral or otherwise, have been relied upon or made by any Party, or anyone on behalf of a Party, that are not fully expressed in this Agreement. An agreement, statement, or promise not contained in this Agreement is not valid or binding. 

H. Amendment. The standard form of this Agreement may only be modified through the procedure for modifying ERCOT Protocols described in the ERCOT Protocols.  Any changes to the terms of the standard form of this Agreement shall not take effect until a new Agreement is executed between the Parties.  
I. ERCOT’s Right to Audit Participant. Participant shall keep detailed records for a period of three years of all activities under this Agreement giving rise to any information, statement, charge, payment or computation delivered to ERCOT under the ERCOT Protocols. Such records shall be retained and shall be available for audit or examination by ERCOT as hereinafter provided. ERCOT has the right during Business Hours and upon reasonable written notice and reasonable cause to examine the records of Participant as necessary to verify the accuracy of any such information, statement, charge, payment or computation made under this Agreement. If any such examination reveals any inaccuracy in any information, statement, charge, payment or computation, the necessary adjustments in such information, statement, charge, payment, computation, or procedures used in supporting its ongoing accuracy will be promptly made. 

J. Participant’s Right to Audit ERCOT. Participant’s right to data and audit of ERCOT shall be as described in the ERCOT Protocols and shall not exceed the rights described in the ERCOT Protocols. 

K. Further Assurances. Each Party agrees that during the full term of this Agreement it will take such actions, provide such documents, do such things and provide such further assurances as may reasonably be requested by the other Party to permit performance of this Agreement.

L. Conflicts. This Agreement is subject to applicable federal, state, and local laws, ordinances, rules, regulations, orders of any Governmental Authority and tariffs. Nothing in this Agreement may be construed as a waiver of any right to question or contest any federal, state and local law, ordinance, rule, regulation, order of any Governmental Authority, or tariff. In the event of a conflict between this Agreement and an applicable federal, state, and local law, ordinance, rule, regulation, order of any Governmental Authority or tariff, the applicable federal, state, and local law, ordinance, rule, regulation, order of any Governmental Authority or tariff shall prevail, provided that Participant shall give notice to ERCOT of any such conflict affecting Participant. In the event of a conflict between the ERCOT Protocols and this Agreement, the provisions expressly set forth in this Agreement shall control. 

M. No Partnership. This Agreement may not be interpreted or construed to create an association, joint venture, or partnership between the Parties or to impose any partnership obligation or liability upon either Party. Neither Party has any right, power, or authority to enter any agreement or undertaking for, or act on behalf of, or to act as or be an agent or representative of, or to otherwise bind, the other Party except as provided in Section 9.A.

N. Construction. In this Agreement, the following rules of construction apply, unless expressly provided otherwise or unless the context clearly requires otherwise:

(1) The singular includes the plural, and the plural includes the singular.

(2) The present tense includes the future tense, and the future tense includes the present tense.

(3) Words importing any gender include the other gender.

(4) The word “shall” denotes a duty.

(5) The word “must” denotes a condition precedent or subsequent.

(6) The word “may” denotes a privilege or discretionary power.

(7) The phrase “may not” denotes a prohibition.

(8) References to statutes, tariffs, regulations or ERCOT Protocols include all provisions consolidating, amending, or replacing the statutes, tariffs, regulations or ERCOT Protocols referred to.

(9) References to “writing” include printing, typing, lithography, and other means of reproducing words in a tangible visible form.

(10) The words “including,” “includes,” and “include” are deemed to be followed by the words “without limitation.”

(11) Any reference to a day, week, month or year is to a calendar day, week, month or year unless otherwise indicated.

(12) References to Articles, Sections (or subdivisions of Sections), Exhibits, annexes or schedules are to this Agreement, unless expressly stated otherwise.

(13) Unless expressly stated otherwise, references to agreements, ERCOT Protocols and other contractual instruments include all subsequent amendments and other modifications to the instruments, but only to the extent the amendments and other modifications are not prohibited by this Agreement.

(14) References to persons or entities include their respective successors and permitted assigns and, for governmental entities, entities succeeding to their respective functions and capacities.

(15) References to time are to Central Prevailing Time.

O. Multiple Counterparts. This Agreement may be executed in two or more counterparts, each of which is deemed an original but all constitute one and the same instrument.

SIGNED, ACCEPTED AND AGREED TO by each undersigned signatory who, by signature hereto, represents and warrants that he or she has full power and authority to execute this Agreement.

Electric Reliability Council of Texas, Inc.:
By: ______________________________

Name: ____________________________

Title: _____________________________

Date: _____________________________

Participant:

By: ______________________________

Name: ____________________________

Title: _____________________________

Date: _____________________________

	PRR Evaluation

	Non-ERCOT Market Comparison
	No Comparison conducted.

	

	Comments Author
	Comments Summary

	ERCOT
	Recommends that this PRR be remanded to the appropriate Subcommittee or Working Group.

	Garland
	ERCOT Operations, not TXU Energy should be the submitter of a PRR requiring alternative fuel resources.  This PRR will force Customer costs to raise while lowering Market Place competitiveness.  To keep costs down, Resource Owners should be able to make their own decisions in regards to storage and if it is better to retrofit their resources to burn alternative fuels or not.

	MOD
	If the PRS decides to approve this type of Ancillary Service, then the bidding should be open to demand-side Resources.


	Sponsor's Revision Description
	This PRR adds Fuel Oil Inventory Service as an Ancillary Service that can be provided by Generating Resources.

	Sponsor's Reason for Revision
	Currently, ERCOT has no means of ensuring that adequate supplies of alternate fuel supplies are available to maintain adequate reliability of the ERCOT System during fuel curtailments (e.g., natural gas) or other supply disruptions.  Some of the existing natural gas-fueled generating resources in ERCOT have the capability to burn no. 2 or no. 5 fuel oil in lieu of, or in addition to, their primary fuel, natural gas.  However, there is no market mechanism in place to ensure that such resources maintain alternate fuel supplies.  This PRR is designed to provide a market incentive to those generating resources that are able to use alternate fuels to be compensated for making such dual fuel capability available to the ERCOT market when needed for reliability purposes.  This will reduce risk of firm load shedding during natural gas curtailments or other fuel supply disruptions.


486PRR TAC Rec 040804
Page 35 of 35
486PRR TAC Action 040804.doc
Page 1 of 4

