TAC Report

	NOGRR Number
	063
	NOGRR Title
	Additional Method for Submitting Back-up Control Plans

	Timeline
	Normal
	Action
	Approved

	Date of Decision
	July 7, 2011

	Effective Date
	August 1, 2011

	Priority and Rank Assigned
	Not applicable.

	Guide Sections Requiring Revision
	3.2.1, Operating Obligations

3.7, Transmission Operators

	Revision Description
	This Nodal Operating Guide Revision Request (NOGRR) provides an additional method of submitting back-up control plans.

	Reason for Revision
	This NOGRR proposes language changes that will allow Qualified Scheduling Entities (QSEs) and Transmission Operators (TOs) to submit their backup control plans either via secured webmail or via encrypted data transfer.

	Overall Market Benefit
	Provides an additional method of submitting backup control plans and avoids the potential for non-compliance should the webmail service be inoperable.

	Overall Market Impact
	None.

	Consumer Impact
	None.

	Procedural History
	· On 3/4/11, NOGRR063 and an Impact Analysis were posted.

· On 4/20/11, the Operations Working Group (OWG) considered NOGRR063.

· On 5/18/11, the OWG considered the 4/20/11 OWG Report and Impact Analysis for NOGRR063.

· On 6/16/11, ROS considered NOGRR063.

· On 7/7/11, TAC considered NOGRR063.

	OWG Decision 
	On 4/20/11, OWG was in consensus to recommend approval of NOGRR063 as submitted.

On 5/18/11, the OWG was in consensus to endorse and forward the 4/20/11 OWG Report and Impact Analysis for NOGRR063 to ROS.

	Summary of OWG Discussion
	On 4/20/11, ERCOT Staff reviewed the reason for revision and noted that the changes avoid the potential for non-compliance should the webmail service be inoperable.

On 5/18/11, there was no discussion.

	ROS Decision
	On 6/16/11, ROS unanimously voted to recommend approval of NOGRR063 as recommended by OWG in the 5/18/11 OWG Report.  All Market Segments were present for the vote.

	Summary of ROS Discussion
	On 6/16/11, there was no discussion. 

	TAC Decision
	On 7/7/11, TAC unanimously voted to approve NOGRR063 as recommended by ROS in the 6/16/11 ROS Report.  All Market Segments were present for the vote.

	Summary of TAC Discussion
	On 7/7/11, there was no discussion.


	Quantitative Impacts and Benefits

	Assumptions
	1
	

	
	2
	

	
	3
	

	
	4
	

	Market Cost
	
	Impact Area
	Monetary Impact

	
	1
	None.
	None.

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Market Benefit
	
	Impact Area
	Monetary Impact

	
	1
	Provides an additional method of submitting backup control plans and avoids the potential for non-compliance should the webmail service be inoperable.
	Unknown.

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Additional Qualitative Information
	1
	

	
	2
	

	
	3
	

	
	4
	

	Other Comments
	1
	

	
	2
	

	
	3
	

	
	4
	


	Sponsor

	Name
	Colleen Frosch

	E-mail Address
	cfrosch@ercot.com

	Company
	ERCOT

	Phone Number
	(512) 248-4219

	Cell Number
	

	Market Segment
	N/A


	Market Rules Staff Contact

	Name
	Yvette M. Landin

	E-Mail Address
	ylandin@ercot.com

	Phone Number
	(512) 248-4513


	Comments Received

	Comment Author
	Comment Summary

	None.
	


	Proposed Guide Language Revision


3.2.1
Operating Obligations

(1)
A Qualified Scheduling Entity (QSE) shall maintain a 24x7 scheduling center with qualified personnel with the authority to commit and bind the QSE.  QSEs shall communicate with ERCOT for the purpose of meeting their obligations specified in the Protocols and these Operating Guides.  Each QSE shall designate an Authorized Representative as defined in Protocol Section 2.1, Definitions.  

(2)
Each QSE shall submit to ERCOT, by March 15 of each year, a written back-up control plan to continue operation in the event the QSE’s scheduling center becomes inoperable.  Back-up control plans shall be submitted to ERCOT via secured webmail or encrypted data transfer.  QSEs shall request that a secure email account be created with ERCOT by sending an email to shiftsupervisors@ercot.com. 

(3)
Each back-up control plan shall be reviewed and updated annually and shall include as a minimum, the following:

(a)
Description of actions to be taken by QSE personnel to avoid placing a prolonged burden on ERCOT and other Market Participants, while operating in back-up control mode;

(b)
Description of specific functions and responsibilities to be performed to continue operations from an alternate location;

(c)
Procedures and responsibilities for maintaining basic voice communications capabilities with ERCOT; and

(d)
Procedures for back-up control function testing and the training of personnel.

(4)
As an option, the back-up control plan may include arrangements made with another Entity to provide the minimum back-up control functions in the event the QSE’s primary functions are interrupted.

(5)
For connectivity requirements for back-up sites, refer to Section 7, Telemetry and Communication.
3.7  
Transmission Operators 

(1)
Transmission Operators (TOs) shall follow ERCOT instructions related to ERCOT responsibilities:

(a)
Performing the physical operation of the ERCOT Transmission Grid, including circuit breakers, switches, voltage control equipment, protective relays, metering and Load shedding equipment;

(b)
Directing changes in the operation of transmission voltage control equipment;

(c)
Managing Voltage Profiles established by ERCOT.  TOs, under the direction of ERCOT, will coordinate Transmission Service Provider (TSP) static device switching with Qualified Scheduling Entity (QSE) dynamic reactive device operation.  Static reactive devices will be brought On-Line before predicted daily maximum Load growth or dynamic reactive Resources reach operating limits.  Static reactive devices will be taken Off-Line during daily Load decline and before dynamic reactive Resources reach operating limits.  ERCOT will coordinate Automatic Voltage Regulator (AVR), dynamic and static reactive device Outages to ensure adequate reactive reserves are maintained; and

(d)
Taking those additional actions required to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of a system emergency.

 (2)

TOs must meet all requirements identified in the Protocols for TOs in addition to those requirements stated below for all Transmission Facilities represented:

(a)
Monitor system conditions and notify ERCOT when Transmission Facility elements reach maximum safe operating limits as soon as practicable;

(b)
Notify ERCOT of any changes in its Transmission Facility status within ten seconds of the change of status as specified in Protocol Section 3.10.7.5, Telemetry Criteria; 

(c)
Operate and manage Transmission Facilities between energy sources and the point of delivery;

(d)
Coordinate emergency communications between a represented TSP system and ERCOT;

(e)
Monitor the loading of the transmission system(s);

(f)
Notify ERCOT of all changes to the status of all Transmission Elements and Transmission Facilities;

(g)
Act as Single Point of Contact for transmission Outages;

(h)
Maintain continuous communication (24x7) with ERCOT;  

(i)
Ensure Dispatch Instructions, received for their system or on behalf of represented TSPs or Distribution Service Providers (DSPs), are carried out as issued;  
(j)
Maintain operational metering; and

(k)
Implement Black Start.

(3)
TOs shall submit to ERCOT, by March 15 of each year, a written back-up control plan to continue operation in the event the TOs control center becomes inoperable.  Back-up control plans shall be submitted to ERCOT via secured webmail or encrypted data transfer.  TOs shall request that a secure email account be created with ERCOT by sending an email to shiftsupervisors@ercot.com. 

(4)
Each back-up control plan shall be reviewed and updated annually and shall meet the following minimum requirements:

(a)
Include descriptions of actions to be taken by TO personnel to avoid placing a prolonged burden on ERCOT and other Market Participants;

(b)
Include descriptions of specific functions and responsibilities to be performed to continue operations from an alternate location;

(c)
Include procedures and responsibilities for maintaining basic voice communications capabilities with ERCOT; and

(d)
Include procedures for back-up control function testing and the training of personnel.

(5)
As an option, the back-up control plan may include arrangements made with another Entity to provide the minimum back-up control functions in the event the TO’s primary functions are interrupted.






PRR_Template.doc
Page 2 of 1
PRR_Template.doc
Page 2 of 1
063NOGRR-06 TAC Report 070711
Page 1 of 5
PUBLIC

