## NPRR258 Summary
Cost Benefit Analysis Summary
Request Information
PRR / SCR / PR / "New": | NPRR 258 |  | Estimator's Name: | R. Rajagopal
Project Title: | Synchronization with PRR824 and PRR833 and Additional Clarifications |  | Sponsor's Name: | PDCWG
|  |  | Estimate Date: | 2011-06-22
Project Description: | This Nodal Protocol Revision Request (NPRR): synchronizes the Nodal Protocols with Protocol Revision Request (PRR) 824, Primary Frequency Response from WGRs, and PRR833, Primary Frequency Response Requirement from Existing WGRs.
Benefits and Impacts
1 - This NPRR enhances reliability of the grid.
2 - This NPRR will ensure that EPFR calculation in EMS will reflect the generator settings more accurately since several generators have already implemented the PFR without a step function.
3 - This NPRR ensures that generation Resources understand that Primary Frequency Response is a reliability function that they must provide or arrange to be delivered on their behalf.
4 - The NPRR clearly defines the Primary Frequency Response function independent of Resource type and includes WGRs as a source of Primary Frequency Response.
5 - It aligns the Nodal Protocols with the new terms added by PRR824 and PRR833.
6 - ERCOT does not have a manual alternative to implement the requirements of this NPRR.
Feasibility
Alternatives
Assumptions
Cost and Benefit Summary
Project Costs |  | 0
This project is being considered based on its non-quantified benefits, listed above. The cost, as noted in the Impact Analysis is between $55k and $60k.
Project Benefit
Calculation Parameters
Market Cost | Impacted Number of QSEs |  | 0
| Impacted Number of CRs |  | #REF!
| Impacted Number of TDSPs |  | #REF!
| Impacted Number of Resources |  | #REF!
Present Value Interest Rate: |  |  | 6%
Changing this parameter is not recommended
It is used to calculate present value of future cash flows

## NPRR258 Detail
Cost Benefit Analysis Data Entry Worksheet
PRR / SCR / Etc.: | NPRR 258 | Project Title: | Synchronization with PRR824 and PRR833 and Additional Clarifications
Sponsor: | PDCWG | Estimate Date: | 2011-06-22 | Estimator: | R. Rajagopal
Project Description: (please be clear and concise) | This Nodal Protocol Revision Request (NPRR): synchronizes the Nodal Protocols with Protocol Revision Request (PRR) 824, Primary Frequency Response from WGRs, and PRR833, Primary Frequency Response Requirement from Existing WGRs.
Benefits and Impacts
Click here for ideas on benefit and impact areas… ---------------------------------------------------------------------------------->>>
1 | This NPRR enhances reliability of the grid.
2 | This NPRR will ensure that EPFR calculation in EMS will reflect the generator settings more accurately since several generators have already implemented the PFR without a step function.
3 | This NPRR ensures that generation Resources understand that Primary Frequency Response is a reliability function that they must provide or arrange to be delivered on their behalf.
4 | The NPRR clearly defines the Primary Frequency Response function independent of Resource type and includes WGRs as a source of Primary Frequency Response.
5 | It aligns the Nodal Protocols with the new terms added by PRR824 and PRR833.
6 | ERCOT does not have a manual alternative to implement the requirements of this NPRR.
7
8
Feasibility
Click here for ideas on feasibility… ---------------------------------------------------------------------------------->>>
Dependencies
Other 1
Other 2
Other 3
Alternatives
Click here for ideas on alternatives… ---------------------------------------------------------------------------------->>>
1
2
Assumptions
Click here for ideas on assumptions… ---------------------------------------------------------------------------------->>>
1
2
3
4
5
6
7
ERCOT Cost and Benefit Detail
ERCOT Internal Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | This project is being considered based on its non-quantified benefits, listed above. The cost, as noted in the Impact Analysis is between $55k and $60k. |  |  |  |  | NPV = | 0
Ongoing Cost (O&M) | [5 empty] | NPV = | 0
[6 empty] | NPV = | 0
[6 empty] | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Cost: | 0
ERCOT Internal Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Direct Cost Savings | Select type… |  |  |  |  | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
Productivity Increases | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
Cost Avoidance | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Internal ERCOT Benefit: | 0
Market Cost and Benefit Detail
Market Cost | Type | Year 0 | Year 1 | Year 2 | Year 3
Implementation Cost | Select type… |  |  |  |  | NPV = | 0
Ongoing Cost | Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Present Value of Market Cost: | 0
Market Benefit | Type | Year 0 | Year 1 | Year 2 | Year 3
Benefits for Market | Select type… |  |  |  |  | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Select type… | 0 | 0 | 0 | 0 | NPV = | 0
| Total Present Value of Market Benefit: | 0
Total Cost | 0 |  | Net (Cost) - Benefit ($) |  | 0
Total Benefit | 0 |  | Cost Benefit Ratio |  | 0
Summary values are rounded to 2 significant digits.
Additional Comments
Enter any additional comments here…
1
2
3
4
Benefit and Impact Prompts
GOVERNANCE: Is the project required to support a PUCT rulemaking or government requirement?
GOVERNANCE: Is the project required by a market or ERCOT committee?
GOVERNANCE: Will the project provide better information for management decision making?
RELIABILITY: Does the project improve the reliability of the grid?
RELIABILITY: Does the project improve the reliability of ERCOT's computing infrastructure?
RELIABILITY: Is there a significant operational need for the project?
SAFETY: Will the project enhance safety within ERCOT?
SECURITY: Is there a physical or cyber-security issue that is addressed by this effort?
SECURITY: Does the project address an audit finding?
SECURITY: Will the project decrease the chance of fraud or help protect sensitive data?
RISK REDUCTION: Does this reduce risk to ERCOT in some significant manner?
RESOURCES: Does the project reduce the number of resources needed to support current operations?
RESOURCES: Does the project deliver infrastructure components that are more efficient or more easily upgraded?
DATA MANAGEMENT: Does this improve the accuracy, timeliness and transparency of transactions or settlements?
DATA MANAGEMENT: Does this enhance or optimize our data storage capability?
DATA MANAGEMENT: Does this improve reporting capabilities (financial, operational, etc.)?
EFFICIENCY: Does the project improve the efficiency or effectiveness of ERCOT?
EFFICIENCY: Does the project automate, improve or streamline a necessary function?
INVESTMENT: Is the project an investment in new capability or does it support the current architecture?
OTHER: Are there other areas that will indirectly benefit from this project?
Feasibility Prompts
REQUIREMENTS: Are high level requirements clearly defined?
REQUIREMENTS: How complex are the potential solutions?
REQUIREMENTS: Does a required completion date make delivery more difficult?
DELIVERY: Can the project be broken down into smaller sections or delivered in stages to reduce risk?
DELIVERY: Will training be required as the project is rolled out?
DEPENDENCIES: Are there major dependencies on other projects that make this difficult to implement?
Alternative Prompts
DELIVERY: Is a manual workaround an option (short-term or long-term)?
DELIVERY: Does a partial implementation provide enough value to be worth considering?
DELIVERY: Should a phased implementation be considered to reduce risk or accelerate key benefits?
DELIVERY: If this is an automation project is it reasonable to consider using the current process?
Assumption Prompts
DEPENDENCIES: Is this request is dependent on another ERCOT project (either active or planned)?
DELIVERABLES: Are specific key deliverables required from this project?
DELIVERABLES: What is the useful life of the deliverables of this project?
RESOURCES: Are computing resources assumed that are not to be delivered by this project?
RESOURCES: Are specific key resources assumed to be available for this project?
RESOURCES: Are there facilities requirements necessary for this project?
REQUIREMENTS: Is completion required by a specific date?