| PGRR Number | 006 | PGRR Title | New Planning Guide Section 6.5, Annual Load Data Request |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | June 2, 2011 |  |  |
| Proposed Effective Date |  | August 1, 2011 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Guide Section Requiring Revision |  | 6.5, Annual Load Data Request (new) |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) adds new Section 6.5 to the Planning Guide. |  |  |
| Reason for Revision |  | A portion of the proposed language in new Section 6.5 currently exists in Nodal Operating Guide Section 5.1.3, Load Forecasts. This language is deemed appropriate to be part of the Planning Guide and will be removed from the Nodal Operating Guides through Nodal Operating Guide Revision Request (NOGRR) 058, Deletion of Section 5, Planning. |  |  |
| Overall Market Benefit |  | Transmission planning requirements are located within the Planning Guide. |  |  |
| Overall Market Impact |  | Minimal since this PGRR only moves existing Nodal Operating Guides and Annual Load Data Request (ALDR) Procedure language to the Planning Guide. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 1/18/11, PGRR006 was posted. - On 2/22/11, ERCOT comments were posted. - On 2/25/11, CenterPoint Energy comments were posted. - On 2/25/11, the Planning Working Group (PLWG) considered PGRR006. - On 3/10/11, an Impact Analysis was posted. - On 3/25/11, the PLWG considered the 2/25/11 PLWG Report and Impact Analysis for PGRR006. - On 4/7/11, a second set of CenterPoint Energy comments were posted. - On 4/11/11, ROS considered PGRR006. - On 5/5/11, TAC considered PGRR006. - On 5/31/11, PLWG comments were posted. - On 6/2/11, TAC again considered PGRR006. |  |  |
| PLWG Decision |  | On 2/25/11, the PLWG was in consensus to recommend approval of PGRR006 as amended by the 2/25/11 CenterPoint Energy comments and as revised by the PLWG. On 3/25/11, the PLWG was in consensus to endorse and forward the 2/25/11 PLWG Report and Impact Analysis to ROS. |  |  |
| Summary of PLWG Discussion |  | On 2/25/11, the 2/22/11 ERCOT comments and 2/25/11 CenterPoint Energy comments were discussed. It was agreed that both sets of comments provided clarification to the ALDR process and that the Transmission and/or Distribution Service Provider (TDSP) or the Designated Agent are responsible for submitting historical and forecasted Load data as outlined in the ALDR Procedure. On 3/25/11, there was no discussion. |  |  |
| ROS Decision |  | On 4/11/11, ROS unanimously voted to recommend approval of PGRR006 as amended by the 4/7/11 CenterPoint Energy comments. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 4/11/11, it was noted that the 4/7/11 CenterPoint Energy comments address new requirements relating to the Load forecast data. |  |  |
| TAC Decision |  | On 5/5/11, TAC unanimously voted to table PGRR006 for one month. All Market Segments were present for the vote. On 6/2/11, TAC unanimously voted to recommend approval of PGRR006 as revised by the 5/31/11 PLWG comments. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 5/5/11, there was concern raised regarding the requirement that the owner of a Private Use Network provide Load data, since those Entities do not have a legal relationship with ERCOT, rather than the correct registered Entity. On 6/2/11, it was noted that in response to the 5/5/11 TAC discussion related to Private Use Network data, PLWG reviewed the issue and submitted comments to revise PGRR006 to align with existing language in the Nodal Operating Guides. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Transmission planning requirements are located within the Planning Guide. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | Although the normal process is to introduce new language as redline, the PLWG believes that since the language currently exists in the Nodal Operating Guides, only proposed changes will be shown as redline. |  |
|  | 2 | The PLWG has sponsored NOGRR058 to delete Section 5, Planning, from the Nodal Operating Guides. |  |
|  | 3 | PGRR005, New Planning Guide Section 5, Planning Criteria, moves the remaining subsections of Nodal Operating Guide Section 5 to the Planning Guide. |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Rob Lane on behalf of the PLWG |
| E-mail Address | Robert.Lane@luminant.com |
| Company | Luminant |
| Phone Number | (214) 875-8063 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 022211 | Proposed language changes to align the PGRR with the current ALDR process. |
| CenterPoint Energy 022511 | Proposed language changes to further better align the PGRR language with the current practice. |
| CenterPoint Energy 040711 | Proposed language changes to revise the Load forecast data requirements. |
| PLWG 060211 | Proposed changes to align PGRR006 with existing Nodal Operating Guide language. |

Proposed Guide Language Revision

6.5	Annual Load Data Request

- (1)	The Transmission and/or Distribution Service Provider (TDSP) or its Designated Agent must provide Load data each year to allow necessary ERCOT System reliability analysis and planning and to meet requirements of  North American Electric Reliability Corporation (NERC).  Each TDSP or its Designated Agent is responsible for providing historical and forecasted Load data to ERCOT for all Loads connected to its system as outlined in the Annual Load Data Request Form Instructions.  Data supplied in the Annual Load Data Request (ALDR) is considered Protected Information.

(2)	Some or all of the following factors may be considered when developing Load forecast data:

(a)	Economic;

(b)	Demographic;

(c)	Customer trends;

(d)	Conservation;

(e)	Improvements in the efficiency of electrical energy uses;

(f)	Other changes in the end uses of electricity; and

(g)	Weather effects.

(3)	Each DSP or its Designated Agent directly interconnected with the ERCOT Transmission Grid shall provide annual Load forecasts to ERCOT as outlined in the Annual Load Data Request Form Instructions.

(4)	For each substation not owned by either a TSP or a DSP, the owner shall provide a substation Load forecast to the directly-connected TSP sufficient to allow it to adequately include that substation in its ALDR response.

(5)	The TDSP or its Designated Agent shall coordinate with the appropriate working group as described in the Annual Load Data Request Form Instructions for issues with data submissions.

(6)  	Load data that is incomplete, not timely submitted on the schedule, or not in the format defined in the Annual Load Data Request Form Instructions will be considered missing data.  For these missing Load data, ERCOT shall calculate Loads based on historical data and insert these Loads into the Load flow cases during Data Set A and Data Set B annual updates.