| NPRR Number | 258 | NPRR Title | Synchronization with PRR824 and PRR833 and Additional Clarifications |  |
| --- | --- | --- | --- | --- |
| Timeline | N/A | Action |  | Recommended Approval of Impact Assessment |
| Date of Decision |  | July 7, 2011 |  |  |
| Effective Date |  | Upon System Implementation |  |  |
| Priority and Rank Assigned |  | Priority – Critical; Rank – 8.5 |  |  |
| Nodal Protocol Section Grey-Boxed |  | 8.1.1.4.1, Regulation Service and Generation Resource/Controllable Load Resource Energy Deployment Performance |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) synchronizes the Nodal Protocols with Protocol Revision Request (PRR) 824, Primary Frequency Response from WGRs, and PRR833, Primary Frequency Response Requirement from Existing WGRs; refines and clarifies the definition of Generation Resource Energy Deployment Performance (GREDP); moves the definition of Measurable Event to Section 2.1, Definitions; and adds a definition for Dead Band. |  |  |
| Reason for Revision |  | This NPRR aligns the Nodal Protocols with the new terms added by PRR824 and PRR833. This NPRR also adds new terms and acronyms, and refines and clarifies the definition of GREDP. |  |  |
| Procedural History |  | - On 11/16/10, the ERCOT Board considered NPRR258. - On 6/7/11, a revised Impact Analysis was posted. - On 6/22/11, a Cost Benefit Analysis was posted. - On 6/23/11, PRS considered the impact assessment for NPRR258. - On 7/7/11, TAC considered the impact assessment for NPRR258. |  |  |
| PRS Decision |  | On 6/23/11, PRS voted to endorse and forward the impact assessment for NPRR258 to TAC. There was one abstention from the Independent Generator Market Segment. PRS then unanimously voted to recommend a priority of Critical and rank of 8.5 to NPRR258. All Market Segments were present for both votes. |  |  |
| Summary of PRS Discussion |  | On 6/23/11, ERCOT Staff provided a qualitative Cost Benefit Analysis emphasizing the issues associated with providing quantifiable data for the reliability benefits that are provided by NPRR258. |  |  |
| TAC Decision |  | On 7/7/11, TAC unanimously voted to recommend approval of the impact assessment for NPRR258 as recommended by PRS in the 6/23/11 PRS Report – Impact Assessment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 7/7/11, ERCOT staff noted that NPRR258 could be combined with other ERCOT planned releases for 2011 and that if it was TAC’s goal for the NPRR to be implemented this year, it would be desirable for the impact assessment to be considered at the 7/19/11 ERCOT Board meeting. |  |  |
| Board Decision |  | On 11/16/10, the ERCOT Board considered NPRR258 as recommended by TAC in the 11/4/10 TAC Report. |  |  |

| Sponsor |  |
| --- | --- |
| Name | Sydney Niemeyer on behalf of the Performance, Disturbance, Compliance Working Group (PDCWG) |
| E-mail Address | Sydney.Niemeyer@nrgenergy.com |
| Company | NRG Texas Power, LLC |
| Phone Number | 713.795.6108 |
| Cell Number |  |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Ann Boren |
| E-Mail Address | aboren@ercot.com |
| Phone Number | 512-275-7411 |