| PGRR Number | 009 | PGRR Title | New Planning Guide Section 6.8, Resource Registration Procedures |
| --- | --- | --- | --- |

| Date | July 13, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Art Deller |
| E-mail Address | adeller@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6505 |
| Cell Number | 512-657-9775 |
| Market Segment | Not applicable. |

Comments

ERCOT submits these comments to propose additional edits to Section 6.8.1, Resource Registration.  The field rules are coded into the database application and are updated periodically.  What validation rules that can be, are inherent in the spreadsheet for immediate feedback during entry.

ERCOT also recommends that Notification of changes made to the Resource registration process and requirements, be made via a Really Simple Syndication (RSS) feed as the RSS feed is a more immediate and efficient answer than a Market Notice.

Revised Proposed Guide Language

6.8	Resource Registration Procedures

In accordance with Protocol Sections 3.7, Resource Parameters, 3.10, Network Operations Modeling and Telemetry, and 16.5, Registration of a Resource Entity, a Resource Entity shall register each All-Inclusive Generation Resource with ERCOT.  The Resource Entity shall submit Resource registration data and information through the registration process made available on the ERCOT website and the Market Information System (MIS) Public Area.

6.8.1	Resource Registration

(1)	A Resource Entity shall properly complete the Resource registration for each Generation Resource that contains all pertinent data for all Generation Resources at that site prior to inclusion in applicable systems that model Resources.  Load Resources represented by the Resource Entity shall be registered through the Resource registration process.

(2)	ERCOT shall post a detailed Resource Registration Guide on the ERCOT website that provides detailed instructions and explanations for the various data types required for Resource registration.

(3)	ERCOT shall make available related documents for Resource registration on the ERCOT website and shall notify Market Participants when changes are made to the Resource registration process and requirements, including the Resource registration forms and Resource Registration Guide via a Really Simple Syndication (RSS) feed.

(4)	Prior to an official submission of Resource registration for inclusion in the ERCOT Network Operations Model, a similar document as stated in Section 5, Generation Resource Interconnection or Change Request, shall be completed for new Resources.  The information in these documents will be used to model future generation for Steady-State Working Group (SSWG), Dynamics Working Group (DWG), and System Protection Working Group (SPWG) base cases.

(5)	A Resource Entity shall revise the Resource registration form as necessary to reflect changes in any data related to a Generation or Load Resource.

6.8.2	Resource Registration Process

(1)	A Resource Entity shall submit and authorize the Resource registration form as described in the Resource Registration Guide located on the ERCOT website.

(2)	Upon receipt of the Resource registration form, ERCOT shall review the completeness and provide notice of acceptance and/or deficiencies to the Resource Entity.

(3)	ERCOT shall provide notice to the Resource Entity if the Resource registration form is approved, which is not the same as an “approved” Network Operations Model Change Request (NOMCR).  The approval of the Resource registration form only means that the registered data moves to the next step of being converted to a NOMCR.

(4)	If ERCOT’s notice reports deficiencies, the Resource Entity shall make necessary changes specified and re-submit the Resource registration form and as many times as necessary until approval of the total set of registered data is granted.

(5)	Upon approval of the Resource registration form, ERCOT shall provide the Resource Entity with the model ready date for which the Resource registration form will be implemented in production.

(6)	If a Resource Entity desires that the approved Resource registration form become effective earlier than the schedule established in Protocol Section 3.10.4, ERCOT Responsibilities, it may submit a request for interim update as described in the Resource Registration Guide.