OWG Meeting Notes 06/15/11

Attendance:

Leticia Soto Reyes 	ERCOT

Matt C. Ponce 		Oncor (TO)

Tip Tipton		BEPC (TO)

John Warren		LCRA (TO)

John Blackwell	AE (TO)

Brad Calhoun		CNP (TO)

David Penney		Texas RE

Colleen Frosch	ERCOT

Jack Thormahlen	LCRA (QSE)

Leo Villanueva	ERCOT

Yvette Landin		ERCOT

Frank Owens   	TMPA	(TO)

Steve Zaragoza	GP&L (TO) phone

Jeff Sims		CPS Energy (TO)

Linda Rodriguez 	AEP (TO) phone

DeAnn Walker 	CNP (TO)

Brenda Hampton	Luminant (QSE)

Kelly Blackmer	ERCOT

Isabel Flores		ERCOT

9:30 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting Report – not available, meeting will be tomorrow 06/16/2011

The May meeting notes were reviewed.

All action items are highlighted in green

NOGRR 065 Authorize ERCOT to Procure Additional RRS During Severe Cold Weather – No action, awaiting OTF review/comments. ERCOT informed the group that the ERCOT procedures were updated to include the definition in this NOGRR and NPRR 366 when making notifications.  ERCOT had a severe cold weather procedure and added a cold weather procedure.  Procedure changes will be made as needed as this gets approved.

NPRR 336 Authorized ERCOT to Procure Additional RRS During Severe Cold Weather –

Tabled by ROS and PRS to continue to look at solutions/options, OTF will call a meeting within the next two weeks.

NOGRR 067 Review and Analysis of Turbine Speed Governor Performance – Brenda (Luminant) mentioned that PDCWG assessed that the proposed language is appropriate; changes the term generating unit to Generation Resource and QSE to Resource Entity.   Recommended approval as revised by 6/13/11 Luminant comments, Impact Analysis (IA) will be reviewed next month.

ERCOT will follow up to see what the process is when Governor Performance tests are received.

NOGRR 070 Synchronization with NPRR356, EEA Changes Related to Dispatch Instructions and BLTs – OWG aligned the NOGRR language with the changes in NPRR356 which were approved by PRS.  Recommended approval as revised by OWG, IA will be reviewed next month.

NOGRR 071 Synchronization with NPRR362, Changes to PRC Calculation – ERCOT mentioned that this change was only for clarification to properly reflect the current Responsive Reserve (RRS) which is supplied from Load Resources into the PRC calculation.  Recommended approval as submitted, IA will be reviewed next month.

NOGRR 073 Entity Responsible for Load Shed During EEA Level 3 – The Group made changes and recommended approval as revised by OWG. IA will be reviewed next month.

NOGRR 074 Clarified Responsible Entities for Reporting Sabotage Information to NERC –

Group reviewed and discussed changes made from Centerpoint, OWG modified language in section 3.8 Requirements for Reporting Sabotage Information. IA will be reviewed next month.

NOGRR 075 Synchronization with NPRR363, Revision to EEA Level 2B ERCOT Requirements during the EILS VDI – Tabled to allow PRS to take action on the associated NPRR 363.

NPRR 365 Change in Resource Outage Approvals from ERCOT – No action, will seek additional directive from ROS.

NPRR 369 Black Start Service Requirement Revisions – ERCOT Staff discussed the intent to conduct unannounced testing of Black Start Resources is to make sure that the units that are available can start. No action taken.

Operations Report – ERCOT reviewed May Operations Report.

Nodal Operating Guides Review and Revision Task Force – The group reviewed the draft NOGRR on removing 4.6.1 (2) requirements for Black Start Capability Plan, draft NOGRR 1.5.5, Criteria for the Selection of Operators, and possible issues between PER-003, PER-005 and Nodal Operating Guide 1.5.2. No issues were noted but the group will refer to the Trainers Working Group for further review and impact to applicable entities. The group also reviewed issues with Transmission Operator registration.

Operations Task Force Report – No report.

Frank Owens will schedule a meeting with OTF as soon as possible.

Black Start Task Force Report – The Dry Run will be June 28th and 29th.  The regular BS training sessions will begin July 26th and 27th with training every week on Tuesday and Wednesday for six weeks. The last training will be August 30th and 31st.  The simulator work is continuing and expected to be complete by the start of the Dry Run. All device controls have been assigned to the appropriate operator of that equipment. The Transmission operators will only be able to operate their equipment and Generation Operators will only be able to see and operate their units.  The NDAs were approved and they were required to be at ERCOT by July 1st.  The BSWG was expected to go to ROS tomorrow (Thursday June 16th) for approval.

Compliance Report – David Penney (Texas RE), reported that FERC will publish the EEA report by August 15, The System Protection Working Group (SPWG) have a meeting regarding the relay misoperation language. NERC posted revision for PRC for relay misoperations. Frank Owens stated he would like to know what the Texas RE process is with the Event Analysis Reports and lesson learned.

System Operations Report – ERCOT reports that Oncor and Centerpoint are now able to monitor the North to Houston and West to North limits via ICCP links.  Also when the ERCOT RTCA goes down Oncor and Centerpoint will be asked to monitor the North to Houston and West to North flows at 70% instead of 90%.

Other items – Group reviewed the Nodal Operating Guide 1.3 for any other functions of the OWG that are not captured. Group recommended approval to ROS for next month.

Next meeting – July 20, 2011

14:10 meeting adjourned.