| NPRR Number | 210 | NPRR Title | Wind Forecasting Change to P50, Synchronization with PRR841 |  |
| --- | --- | --- | --- | --- |
| Timeline | N/A | Action |  | Tabled |
| Date of Decision |  | June 23, 2011 |  |  |
| Effective Date |  | Upon System Implementation |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Grey-Boxed |  | 5.7.4, RUC Make-Whole Charges |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) changes the wind forecasting methodology to use a 50% probability of exceedance calculation instead of an 80% for Reliability Unit Commitment (RUC) considerations. |  |  |
| Reason for Revision |  | The P80 forecast provides an unrealistically low prediction of wind output resulting in overcommitment of RUC Resources. Implementation of this NPRR allows ERCOT to commit fewer RUC Resources and still maintain reliability. |  |  |
| Procedural History |  | - On 6/15/10, the ERCOT Board considered NPRR210. - On 6/7/11, a revised Impact Analysis was posted. - On 6/23/11, a Cost Benefit Analysis was posted. - On 6/23/11, PRS considered the impact assessment for NPRR210. |  |  |
| PRS Decision |  | On 6/23/11, PRS unanimously voted to table the impact assessment for NPRR210 for one month. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 6/23/11, PRS discussed changing the wind forecasting methodology from P80 to P50 and the affect this would have on RUC. It was requested that further consideration be given to the Cost Benefit Analysis to ensure that the calculation of market benefit from not over-committing Resources is accurate. |  |  |
| Board Decision |  | On 6/15/10, The ERCOT Board approved NPRR210 as recommended by TAC in the 6/3/10 TAC Report. |  |  |

| Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | greercntgreer@aol.com |
| Company | Morgan Stanley |
| Phone Number | 512-497-2986 |
| Cell Number |  |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Ann Boren |
| E-Mail Address | aboren@ercot.com |
| Phone Number | 512-275-7411 |