| NPRR Number | 360 | NPRR Title | Summary Report of HDL and LDL |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | July 21, 2011 |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Priority – High; Rank – 32.5 |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) creates a new posting for the sum of High Dispatch Limit (HDL) and the sum of Low Dispatch Limit (LDL) and any Generation Resource instances of manual overrides of HDL or LDL to the Market Information System (MIS) Public Area after every Security-Constrained Economic Dispatch (SCED) run. This NPRR also adds the requirement to post any Qualified Scheduling Entity (QSE) instances of manual overrides of HDL and LDL for a Generation Resource to the MIS Certified Area after every SCED run. |  |  |
| Reason for Revision |  | This NPRR will allow Real-Time operations data to be accessible to Market Participants so that they have visibility to Generation Resources restricted from full economic consideration by SCED. Currently, the only information available on HDL and LDL is at a QSE specific level when the limit is manually overridden. This will provide the market visibility to the sum of the MW quantities Dispatched by SCED and the amount of Dispatch room remaining until scarcity prices appear. |  |  |
| Overall Market Benefit |  | Provides transparency into the outputs of SCED, which is beneficial to Market Participants in pursuing their business interests. |  |  |
| Overall Market Impact |  | Beneficial as it provides the market access to Real-Time data for SCED output. |  |  |
| Consumer Impact |  | No. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR360 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 5/4/11, NPRR360 was posted. - On 5/19/11, PRS considered NPRR360. - On 6/20/11, WMS comments were posted. - On 6/21/11, an Impact Analysis and Cost Benefit Analysis were posted. - On 6/23/11, PRS considered the 5/19/11 PRS Report, Impact Analysis and Cost Benefit Analysis for NPRR360. - On 7/14/11, a revised Impact Analysis and a revised Cost Benefit Analysis were posted. - On 7/21/11, PRS considered the 6/23/11 PRS Report, Impact Analysis and Cost Benefit Analysis for NPRR360. |  |  |
| PRS Decision |  | On 5/19/11, PRS voted to recommend approval of NPRR360 as revised by PRS. There were three abstentions from the Investor Owned Utility (IOU), Independent Generator and Municipal Market Segments. All Market Segments were present for the vote. On 6/23/11, PRS unanimously voted to endorse the 5/19/11 PRS Report as amended by the 6/20/11 WMS comments and to bring NPRR360 back to PRS for consideration of the Impact Analysis. All Market Segments were present for the vote. On 7/21/11, PRS unanimously voted to endorse and forward the 6/23/11 PRS Report, Impact Analysis and Cost Benefit Analysis for NPRR360 to TAC with a recommended priority of High and a rank of 32.5. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 5/19/11, ERCOT Staff recommended modifying language in paragraph (8) of Section 6.5.7.1.13 due to concerns of releasing confidential information. Market Participants stated that this information would be useful and that they would like to see it implemented in the future. On 6/23/11, it was stated that the WMS comments delay disclosure of the Generation Resource name and override type until 60 days after the applicable Operating Day. On 7/21/11, ERCOT Staff reviewed the Cost Benefit Analysis for NPRR360 explaining that it was based on non-quantifiable benefits. It was stated that the benefit of NPRR360 was the transparency it provides. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Provides transparency to information in Real-Time to Market Participants of SCED output. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Restoring transparency from zonal to Nodal for market data. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Jackie Ashbaugh on behalf of the MIS User Group (MISUG) |
| E-mail Address | jashbaugh@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3937 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 062011 | Endorsed NPRR360 as revised by WMS. |

Comments

Please note that NPRR327, State Estimator Data Redaction Methodology, also proposes revisions to Section 6.5.7.1.13.

Please also note that the baseline Nodal Protocol language in Section 6.5.7.1.13 has been updated due to the unboxing of NPRR329, Security Classification Changes for Extracts/Reports, in the May 18, 2011 Nodal Protocols.

Proposed Protocol Language Revision

.

6.5.7.1.13	Data Inputs and Outputs for the Real-Time Sequence and SCED

(1)	Inputs:  The following information must be provided as inputs to the Real-Time Sequence and SCED.  ERCOT may require additional information as required, including:

(a)	Real-Time data from TSPs including status indication for each point if that data element is stale for more than 20 seconds;

(i)	Transmission Electrical Bus voltages;

(ii)	MW and MVAr pairs for all transmission lines, transformers, and reactors;

(iii)	Actual breaker and switch status for all modeled devices; and

(iv)	Tap position for auto-transformers;

(b)	State Estimator results (MW and MVAr pairs and calculated MVA) for all modeled Transmission Elements;

(c)	Transmission Element ratings from TSPs;

(i)	Data from the Network Operations Model:

- (A)	Transmission lines – Normal, Emergency, and 15-Minute Ratings (MVA); and

- (B)	Transformers and Auto-transformers – Normal, Emergency, and 15-Minute Ratings (MVA) and tap position limits;

(ii)	Data from QSEs:

- (A)	Generator step-up transformers tap position;

- (B)	Resource HSL (from telemetry); and

- (C)	Resource LSL (from telemetry); and

(d)	Real-Time weather, from WGRs, and where available from TSPs or other sources.  ERCOT may elect to obtain other sources of weather data and may utilize such information to calculate the dynamic limit of any Transmission Element.

(2)	ERCOT shall validate the inputs of the Resource Limit Calculator as follows:

(a)	The calculated SURAMP and SDRAMP are each greater than or equal to zero; and

(b)	Other provision specified under Section 3.18, Resource Limits in Providing Ancillary Service.

(3)	Outputs for ERCOT Operator information and possible action include:

(a)	Operator notification of any change in status of any breaker or switch;

(b)	Lists of all breakers and switches not in their normal position;

(c)	Operator notification of all Transmission Element overloads detected from telemetered or State-Estimated data;

(d)	Operator notification of all Transmission Element security violations; and

(e)	Operator summary displays:

(i)	Transmission system status changes;

(ii)	Overloads;

(iii) 	System security violations; and

(iv)	Base Points.

(4)	Every hour, ERCOT shall post on the MIS Secure Area the following information:

(a)	Status of all breakers and switches used in the NSA except breakers and switches connecting Resources to the ERCOT Transmission Grid;

(b)	All binding transmission constraints and the contingency or overloaded element pairs that caused such constraint; and

(c)	Shift Factors by Resource Node.

(5)	Sixty days after the applicable Operating Day, ERCOT shall post on the MIS Secure Area, the following information:

(a)	Hourly transmission line flows and voltages from the State Estimator, excluding transmission line flows and voltages for Private Use Networks; and

(b)	Hourly transformer flows, voltages and tap positions from the State Estimator, excluding transformer flows, voltages, and tap positions for Private Use Networks.

(6)	Notwithstanding paragraph (5) above, ERCOT, in its sole discretion, shall release relevant State Estimator data less than 60 days after the Operating Day if it determines the release is necessary to provide complete and timely explanation and analysis of unexpected market operations and results or system events including, but not limited to, pricing anomalies, recurring transmission congestion, and system disturbances.  ERCOT’s release of data under this paragraph shall be limited to intervals associated with the unexpected market or system event as determined by ERCOT.  The data release shall be made available simultaneously to all Market Participants.

(7)	Notwithstanding paragraph (5) above, ERCOT shall develop and post a redacted version of the State Estimator data, as soon as reasonably practicable after collection of the data, so long as a redacted version excludes information (including, but not limited to, voltages, transmission flows and transformer flows) from which resource-specific output levels or offer curves could continually and systematically be derived.

(8)	Every hour, ERCOT shall post on the MIS Public Area, the sum of ERCOT generation, and flow on the DC Ties, all from the State Estimator.

(9)	After every SCED run, ERCOT shall post to the MIS Public Area the sum of the HDL and the sum of the LDL for all Generation Resources On-Line and Dispatched by SCED.

(10)	Sixty days after the applicable Operating Day, ERCOT shall provide the summary LDL and HDL report from paragraph (8) above and include, for any Generation Resource, instances of manual overrides of HDL or LDL, including the name of the Generation Resource and the type of override.

(11)	After every SCED run, ERCOT shall post to the MIS Certified Area, for any QSE, instances of a manual override of the HDL or LDL for a Generation Resource, including the original and overridden HDL or LDL.