## Matrix
Scenario Description: |  |  |  | Business As Usual (BAU) | Reduced Natural Gas Supply / High Natural Gas Prices | High Economic Growth | Nuclear Incentives / Guarantees | High Renewables / High Economic Growth | Low CO2 Concerns / High Coal Prices | Long-Term Recession Question: How long? | Sustained Drought / High Environmental Regulations | High Clean Energy Note: Define clean energy | Carbon Capture and Sequestration (CCS) Implementation | High Petroleum Prices | Retirement of Coal Fleet
Category / Factor | Label | Entry* | Value or Range | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 4 | Scenario 5 | Scenario 6 | Scenario 7 | Scenario 8 | Scenario 9 | Scenario 10 | Scenario 11 | Scenario 12
Policy Considerations
Environmental Regulations |  |  |  |  | Carbon reduction initiatives are medium. | Carbon reduction initiatives are medium. | Carbon reduction initiatives are high and all EPA initiatives are in place. |  |  |  | Carbon reduction initiatives are high and all EPA initiatives are in place. | Carbon reduction initiatives are high and all EPA initiatives are in place. | Carbon reduction initiatives are high and all EPA initiatives are in place. |  | All EPA initiatives are in place.
Carbon Reduction Initiatives | $/ton | L/M/H | Define Range | L | M | M | H | L | L | L | H | H | H | L | L
Current EPA Initiatives |  |  | Identify Specific Rules | None | None | None | All | None | None | None | All | All | All | None | All
Cooling Water Intake Technology Requirements (316B)
Controls (MACT) for Mercury and Other Hazardous Pollutants
Clean Air Transport Rule (CATR) for Particulates (NOX, SOX)
Lower National Ambient Air Quality Standards (NAAQS ) for Ozone
Coal Combustion Residuals (CCR) for Coal Ash
Mandates | [9 empty] | No technology specific mandate (removal of non-wind mandate) | 33 GW renewable generation by 2030 of which 5 GW is non-wind by 2030. | 80% of energy from clean energy sources. | CCS technology must be used on all new coal plants.
Renewable Mandate | MW or % |  | Value & Description | 10,888 MW by 2025 | 10,888 MW by 2025 | 10,888 MW by 2025 | 10,888 MW by 2025 | 10,888 MW by 2025 | 10,888 MW by 2025 | 10,888 MW by 2025 | 33,000 MW total renewable by 2030 |  | 10,888 MW by 2025 | 10,888 MW by 2025 | 10,888 MW by 2025
Technology Specific Target (specify if required) | MW or % |  | Value & Description | 500 MW non-wind by 2025 | 500 MW non-wind by 2025 | 500 MW non-wind by 2025 | 500 MW non-wind by 2025 | 500 MW non-wind by 2025 | 500 MW non-wind by 2025 | N/A | 5,000 MW non-wind renewable by 2030 |  | CCS must be used at all new coal plants | 500 MW non-wind by 2025 | 500 MW non-wind by 2025
Energy Efficiency Mandate | MW or % |  | Value & Description | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year. | After 2014, 30% of new load growth per year.
Energy Security Policies | Future Sensitivity
Siting | [10 empty] | Restricted water use and availability.
Siting/Routing Issues - Water Use, Availability and Permitting |  | Avail/Restr | Description | Avail | Avail | Avail | Avail | Avail | Avail | Avail | Restricted | Avail | Avail | Avail | Avail
Siting/Routing Issues - Land Use, Availability, and Permitting | Future Sensitivity
Siting/Routing Issues - Existing Infrastructure (Railroads, Pipelines, Roads, etc.) | Future Sensitivity
Economic Assumptions
Economic Assumptions | [5 empty] | Texas employment is high due to high economic growth, leading to high demand for capital. |  | Texas employment is high due to high economic growth, leading to high demand for capital. |  | Recession results in low Texas employment and low demand for capital. | Drought results in new technology requirements and increased demand for capital. |  |  | Group Discussion
Texas Non-Farm Employment | People | L/M/H | Define Range | M | M | H | M | H | M | L | M | M | M | Group Discussion | M
U.S. Tax Rate
U.S. Interest Rate
U.S. Inflation Rate
Texas Economic Growth Rate
U.S. Economic Growth Rate
Population Growth
Business/Industrial Competitiveness
Weighted Average Cost of Capital (WACC) | % | L/M/H | Define Range | M | M | H | M | H | M | L | H | M | M | Group Discussion | M
Population Shift/Growth by Area | Future Sensitivity
Load/Demand Growth Modifiers
Load Growth | [5 empty] | Load growth rate is high. |  | Load growth rate is high. |  | Load growth rate is low. |  |  |  | Group Discussion
Load Growth Rate | % | L/M/H | Define Range | M | M | H | M | H | M | L | M | M | M | Group Discussion | M
Customer Behavior (Load Shape)
Energy Efficiency | Future Consideration
Demand Response* - Behind the Meter & Distribution Level | Future Consideration
Distributed Generation - Behind the Meter & Distribution Level | Future Consideration
Electric Vehicles | Future Consideration
Non-conforming Load Growth | Future Consideration
Data Centers / Other Load Growth | Future Consideration
Home Energy Optimization Systems / Smart Grid | Future Consideration
Building Technologies (LEED, etc.) | Future Consideration
Residential/Commercial Energy Storage - Behind the Meter & Distribution Level | Future Consideration
Technology Impacts on Generation/Transmission
Technology Impacts on Generation/Transmission | [6 empty] | Enhanced federal loan guarantees for nuclear. | Decrease of capital costs for renewable generation; additional tax credits available for renewable generation. . | No renewable production tax credit. | No renewable production tax credit. |  | Group discussion. | Federal loan guarantees for CCS. | Group Discussion | Incentives to retire older coal plants.
Advancement of Generation Technology / Sensitivity of Cost by Technology |  | Description | Description |  |  |  |  | Capital cost of renewable generation decrease by 50%. |  |  |  | Group discussion. |  | Group Discussion
Technology-specific Financial Incentives |  | Description | Description | Production tax credit for renewable generation is in place. | Production tax credit for renewable generation is in place. | Production tax credit for renewable generation is in place. | Enhanced federal loan guarantees available for nuclear power. Production tax credit for renewable generation is in place. | Production tax credit for renewable generation is in place. Additional tax credits available for renewable generating resources. |  |  | Production tax credit for renewable generation is in place. | Group discussion. | Federal loan guarantees available for CCS technology. Production tax credit for renewable generation is in place. | Group Discussion | Incentives in place to retire older coal plants. Production tax credit for renewable generation is in place.
Desalinization (Additional Load/Demand Response) | Future Sensitivity
Demand Response* - Transmission Level | Future Sensitivity
Energy Storage - Transmission Level | Future Sensitivity
Asynchronous Ties | Future Sensitivity
Fuel Prices and Availability
Fuel Prices and Availability |  |  |  |  | High natural gas prices. |  | High natural gas prices. |  | High coal prices. | Low coal and natural gas prices. | Low coal demand/price. High gas prices as a result of reduced water availability for fracking. | Group discussion. | High natural gas prices. | Fuel prices increase.
Natural Gas Price | $/mmbtu | L/M/H | Define Range (M=EIA) | M | H | M | H | M | M | L | H | Group discussion. | H | M-H | M
Coal Prices | $/mmbtu | L/M/H | Define Range | M | M+ | M | M | M | H | L | L | Group discussion. | M | H | M
*…clarification as follows
L/M/H = Low/Medium/High
Avail/Restr = Available / Restrictive
Pos/Neg = Positive (coming to TX) / Negative (leaving TX)
MW = positive (+) is increase of available MW to ERCOT System; negative (-) is decrease of available MW to ERCOT system
Demand Response, per NAESB, is a load change (+/-) by an end user in response to a signal.