## TDSP Load
STATUS: | DRAFT
Name: | Monthly TDSP Load Report | Business Notes:
Basic Info |  | The data that has been provided in the past and is now included in the RTM Market Operating Day Extract by Operating Day is TDSP load. The recorder used for this purpose today is LTDSPUFE_<TDSPCODE>.
Master List Number: | new
Report or Extract: | Report
Posting Format(s): | .zip
File Format(s): | .csv
Display or Delivery System: | MIS
MP Recipient(s): | Secure
Protocol Reference: | NP11.5.1.2
MIS Info
MIS Link Name: | Monthly TDSP Load Report
MIS Report ID:
MIS File Display Name Format(s): | rpt.0000000000000000000.MPDUNS.TIMESTAMP.Monthly_TDSP_Load_Report_mmyyyy.zip | 11.5.1.2 TSP and/or DSP Load Data Posting/Availability
MIS Display Lifespan: | 3 months | (1) ERCOT will post TSP and/or DSP Load plus allocation of Distribution Losses, Transmission Losses, and UFE, by TSP and/or DSP, to the MIS Secure Area.
Files post in order on MIS?: | n/a | (2) ERCOT will make the aforementioned data for each Settlement run type available to Market Participants via the MIS Secure Area within 48 hours of finalizing the data for Settlement statements.
DDL/XSD: | No
Landing Page: | Data Aggregation
Portlet: | <MIS>
Schedule Info |  | MISUG notes
Frequency: | Monthly | check to see what bill determinant will need to be added in data agg.
Days of Week: | 15th of Month | check to see what protocols will need to be added to cover this.
Generation Time of Day: | N/A | ensure that TDSP load cuts posted only include ERCOT load - Dcties and BLTs should not be included.
PITS Range Logic: | Current
Trade Date Range Logic: | All approved Operating Days for prior month - use current records
Run Dependencies | N/A
Data based on Approval?: | No
Dynamic or Chronological?: | Chronological
Available on Extract Scheduler?: | Yes
Coding Info or Example
UIDCHANNELCUT, Number of intervals, RECORDER, SAVECHANNEL, STARTTIME, STOPTIME, INTVALUES 1-100 By TDSP Pull all approved Operating Day records occurring in month prior from 1st day of month to last day of month for TDSP for load adjusted through UFE. Provide 15 minute output data for each data record. Question - Information with ERCOT load only? Or do we include all exports to other grids that we settle as load - DCTies and BLT? ERCOT load only - do not include exports via DCTies and BLTs.

## 5-min Wind
[7 empty] | MISUG notes | zone is defined as the 2003 CMZones (forecast zone)
STATUS: | DRAFT | [6 empty] | looking for EWS, as well
there are multiple resources in each of the zones and multiple qses where no one would be able to get back to the single entity production - would have to watch for Houston as none exists today
Name: | 5 Minute Wind Output |  | Business Notes:
Basic Info |  |  | This report will be used to feed the new Wind Forecast vs. Actual Aggregate Windpower Dashboard that is being proposed by the MIS UG. This report will be updated every 5 minutes for a rolling 48-hours. It will be sorted by timestamp. The report should include the total system aggregate WGR Net MW Output value for ERCOT and the aggregate WGR Net MW Output value for the four forecast zones: Houston, North, South and West (equivalent to 2003 CMZones). Every 5 minutes, ERCOT will post the data.
Master List Number:
Report or Extract: | Report
Posting Format(s): | .zip
File Format(s): | .csv, .xml
Display or Delivery System: | ERCOT.com, MIS
MP Recipient(s): | Public
Protocol Reference: | NP4.2.2
MIS Info
MIS Link Name:
MIS Report ID:
MIS File Display Name Format(s): | cdr.000rptid.0000000000000000.YYYYMMDD.HHMMSS.short_nameNP####.xml.zip cdr.000rptid.0000000000000000.YYYYMMDD.HHMMSS.short_nameNP####.csv.zip
MIS Display Lifespan: | 3 days
Files post in order on MIS?: | Yes
DDL/XSD: | No
Landing Page: | Real-Time, Generation
Portlet: | <MIS>
Schedule Info
Frequency: | Every five minutes
Days of Week: | Daily
Generation Time of Day: | N/A
PITS Range Logic: | N/A
Trade Date Range Logic: | N/A
Run Dependencies | None
Data based on Approval?: | No
Dynamic or Chronological?: | Chronological
Available on Extract Scheduler?: | No
Report Input
Input Data | Data Source | Latency | Schema | Table | Column | Notes
SCED Timestamp | EMS | 5 min.
Aggregate WGR Net MW Output - ERCOT | EMS | 5 min.
Aggregate WGR Net MW Output - Houston | EMS | 5 min.
Aggregate WGR Net MW Output - North | EMs | 5 min.
Aggregate WGR Net MW Output - South | EMS | 5 min.
Aggregate WGR Net MW Output - West | EMS | 5 min.
Report Output
Output Data | Data Source | Avg # of Rows | Max Rows | Include Nulls | NVL | Notes
SCED Timestamp | Input
Aggregate WGR Net MW Output - ERCOT | Input
Aggregate WGR Net MW Output - Houston | Input
Aggregate WGR Net MW Output - North | Input
Aggregate WGR Net MW Output - South | Input
Aggregate WGR Net MW Output - West | Input

## HDL_LDL
STATUS: | DRAFT
Name: | Sum of HDL/LDL Report |  | Business Notes:
Basic Info |  |  | Sum of LDL/HDL for every SCED run and posted at a market level. Will consist of all units online and dispatched to SCED for the SCED run. Online is defined as a generation status not equal to 'OUT', 'OFFNS', 'OFF' or 'EMR'. When the generation status is 'ON TEST', the report will use the telemetered MW value.
Master List Number:
Report or Extract: | Report
Posting Format(s): | .zip
File Format(s): | .csv, .xml
Display or Delivery System: | MIS
MP Recipient(s): | Public
Protocol Reference:
MIS Info
MIS Link Name: | Sum of HDL/LDL Report
MIS Report ID:
MIS File Display Name Format(s): | cdr.000rptid.0000000000000000.YYYYMMDD.HHMMSS.short_nameNP####.xml.zip cdr.000rptid.0000000000000000.YYYYMMDD.HHMMSS.short_nameNP####.csv.zip
MIS Display Lifespan: | 3 days
Files post in order on MIS?: | Yes
DDL/XSD: | No
Landing Page: | Real-Time
Portlet:
Schedule Info
Frequency: | Event Triggered per SCED Run
Days of Week: | Daily
Generation Time of Day: | N/A
PITS Range Logic: | N/A
Trade Date Range Logic: | N/A
Run Dependencies | None
Data based on Approval?: | No
Dynamic or Chronological?: | Event Triggered - SCED Completion
Available on Extract Scheduler?: | No
Report Input
Input Data | Data Source | Latency | Schema | Table | Column | Notes
SCED Timestamp | MMS | 5 min.
Generation Status
LDL Values
HDL Values
Report Output
Output Data | Data Source | Avg # of Rows | Max Rows | Include Nulls | NVL | Notes
SCED Timestamp | Input
Sum of HDL | Input
Sum of LDL | Input

## Unconfirmed Trades
STATUS: | DRAFT
Name: | Unconfirmed Trades Report |  | Business Notes:
Basic Info |  |  | Certified report for unconfirmed trades for 1) Energy, 2) Capacity and 3) Ancillary Services. For DRUC, this report will run and contain 92-100 intervals of data for energy and 23-25 intervals of data for capacity and AS. For HRUC, this report will run hourly and provide data hourly by settlement interval for energy trades and hourly for capacity and AS trades. The report will contain current hour ahead plus next day for up to 48 hours total (today and next day at the begining of the day).
Master List Number:
Report or Extract: | Report
Posting Format(s): | .zip
File Format(s): | .csv, .xml
Display or Delivery System: | MIS
MP Recipient(s): | QSEs, CRRAHs - certified
Protocol Reference:
MIS Info
MIS Link Name:
MIS Report ID:
MIS File Display Name Format(s): | cdr.000rptid.0000000000000000.YYYYMMDD.HHMMSS.short_nameNP####.xml.zip cdr.000rptid.0000000000000000.YYYYMMDD.HHMMSS.short_nameNP####.csv.zip
MIS Display Lifespan: | 31 days
Files post in order on MIS?: | Yes
DDL/XSD: | No
Landing Page: | Real-Time, Day-Ahead
Portlet: | <MIS>
Schedule Info
Frequency: | Hourly, Daily
Days of Week: | Daily
Generation Time of Day: | N/A
PITS Range Logic: | N/A
Trade Date Range Logic: | N/A
Run Dependencies | DRUC, HRUC
Data based on Approval?: | Yes
Dynamic or Chronological?: | Event Driven - RUC
Available on Extract Scheduler?: | No
Report Input
Input Data | Data Source | Latency | Schema | Table | Column | Notes
RUC Timestamp | MMS | Hourly, Daily
Report Output
Output Data | Data Source | Avg # of Rows | Max Rows | Include Nulls | NVL | Notes
RUC Timestamp | MMS
Trade Type | MMS
Trade Party | MMS
Load Zone | MMS
Hub | MMS
Resource Node | MMS

## Grid Ops
STATUS: | DRAFT
Name: | Grid Ops Report | Business Notes:
Basic Info |  | Looking to get the report the morning following the op day for which the data is provided.
Master List Number:
Report or Extract: | Report
Posting Format(s): | .zip
File Format(s): | .xls
Display or Delivery System: | MIS
MP Recipient(s): | Public - does this impact any of the other reports that are currently posting
Protocol Reference:
MIS Info
MIS Link Name: |  | MISUG notes
MIS Report ID: |  | Manual overrides of HDL/LDL (equivalent to OOME) and the resources and intervals affected and reason OR contingency binding element pairs or if it is capacity (answer why it was needed)
MIS File Display Name Format(s): |  | Responsive Reserve and Non-spin deployed by SCED run (not actual MW, but how much of the entergy curve was released as related to each)
MIS Display Lifespan: | 31 days | how much was released to SCED in each SCED run.
Files post in order on MIS?: | N/A | how much was available.
DDL/XSD: | No
Landing Page: | Real-Time, Transmission
Portlet: | <MIS>
Schedule Info
Frequency: | Daily
Days of Week: | Daily
Generation Time of Day: | midnight for day prior
PITS Range Logic: | N/A
Trade Date Range Logic: | N/A
Run Dependencies | None
Data based on Approval?: | No
Dynamic or Chronological?: | Chronological
Available on Extract Scheduler?: | No
Report Elements
Peak Load | For the day; also available in Today's Outlook - not summarized for the day
Peak Hour | For the day; also available in Today's Outlook - not summarized for the day
Planned Peak | For the day; also available in Today's Outlook - not summarized for the day
Planned Peak Hour | For the day; also available in Today's Outlook - not summarized for the day
Non-Spin Available | Per SCED Run? MISUG - not needed
Non-Spin Deployed | Per SCED Run? MISUG - not currently available, not sure it needs to be part of a Grid Ops Report, should this be a separate report? 0726: Given as a public notification on the MIS/www. Need to determine if this is wanted
Responsive Reserve Available | Per SCED Run? PRC given on the Sys AS Cap Monitor every 1 min 07/26: Not needed
Responsive Reserve Deployed | Per SCED Run? 07/26: Flag for RR being deployed. Amount, duration and SCED run for which RRS were deployed. Look at possibly including a reason for deployment. This will not be an automated piece - need CBA on if to include
SCED Offsets | ERCOTs Remedy for resources not following basepoints, generation deviation (including wind), unit trips SCED timestamp for when offset is used, amount, offset timestamp
RUC Commitments | Per RUC Run? MISUG - Currently posted as Commitments and De-commitments for HRUC, DRUC and RUC VDIs. Compilation of a day needed. 07/26: to provide an automated report, we could give the contingency name, for capacity, RUC timestamp. Summary of the hourly and daily reports currently provided. to provide the reason for RUC committment/decommitment other than capacity, this would need to provided manually
VDIs | Should this be included? What is the security classification of VDIs? What information should be presented? MISUG - looking for REASON. Used to look at ratings. VDIs that are secure/public should be included. ERCOT to determine list of VDIs available and their disclosure to certified/secure/public. 07/26: element ratings for re-dispatch. this info is not currently captured in the system. what manually effort would it take to provide?
K Factors | Can this be eliminated? These do not change often or without market notification MISUG - Create a report that contains the most current Kfactors. ERCOT - look into what value it is and the need for history. Should this be in a daily summary report like this? 07/26 - REMOVE
Other Instructions/Notable Events | What are the specific notifications to include? MISUG - Binding Constraints - when these occur, what actions did ERCOT take to mitigate --ERCOT activated the constraint. If not binding (post contingency overloads with no associated binding constraint) - what action is taken? covered in NPRR364. What did ERCOT Ops do? Transmission Watch and Alert - date, start and event EEA notifications - date, start and event OCNs - date, start and event 07/26 - any constraints not solved in SCED -issue under review. Tied to NPRR364 and 393. come back to see if this is something that can be included in the report here.
Unit Trips | Difficult to provide - manual data input MISUG - This is confidential - would have to mask the data set. Looking for MW and time. 07/26: currently post all unit trips that are 450 MW or greater to the MIS Public. This is provided thru the notice builder. would be manual to add to the report. Captured in the monthly ROS report as well. Tied to frequency deviations 59.9/60.1
Sum of HDL/LDL for all gen res online for the op day | avail after every SCED run in sum of HDL/LDL report. Want summed for the day
**For those items that are per SCED or RUC run, what granularity are you expecting in a daily report? The overall number encountered? Data during the peak and planned peak hours only? Or all data by SCED execution?
**For those items which are defined as manual inputs that are difficult to provide, can they be eliminated?
looking to get the report the morning after the op day for which the data is provided.

## RUC VDI
REQUIREMENT STATUS: | DRAFT
Name: | Verbal RUC Committed or Decommitted Resources Report |  | Business Notes:
Basic Info |  |  | Instructions: 1) Sorted by Resource Name and Notification Time. 2) The data is for previous hour (H-1) for the report run at hour H. 3) Date and Time is always CDT\CST unless specifed. 4) Please include Headers as part of the csv extract. This will help the end users to understand and use the data when opened as Excel Speadsheet. The Header for the extracts should be taken from "Output Data" column. The information in the flower brackets {} is only for understanding and not part of the extract header. Notes: 1) The report provides verbal RUC Committed or Decommitted Resources. 2) The report shall be run hourly to pull applicable records of previous hour (identified by VERBAL_DISP_INSTRUCT_OT.NOTIFICATION_TIME). 3) The report shall consider the records with VERBAL_DISP_INSTRUCT_OT.INSTRUCTION_TYPE of 'CAN_COM', 'COMMIT', and/or 'DECOMMIT'. Rerun instructions: If the report run fails, this report is set to retry. Market Operator shall have an ability to manually trigger the report creation with an operator-entered time range of interest.
Master List Number: | NP5-756-CD
Short Name: | Verbal RUC Committed or Decommitted Resources Report
Report or Extract: | Report
Posting Format(s): | .zip
File Format(s): | .csv,.xml
Display or Delivery System: | MIS
MP Recipient(Security Level): | MIS Public Area
MIS Info
MIS Report ID: | 10050xxxxxx
MIS File Display Name Format(s): | Actual file name: cdr.00010050.0000000000000000.VRUCComorDecomResNP5756.xml cdr.00010050.0000000000000000.VRUCComorDecomResNP5756.csv MIS Display Name
MIS Display Lifespan: | 1 Month
Files post in order on MIS?: | Y
MIS DDL Version(s):
MIS Landing Page: | Grid-Generation
MIS Portlet: | Reliability Unit Commitment
Schedule Info
Frequency: | Hourly (with 5 minutes offset)
Days of Week: | Mon - Sunday
Generation Time of Day: | After each Hourly RUC run
PITS Range Logic: | N/A
Trade Date Range Logic: | N/A
Run Dependencies | HRUC
Data based on Approval?: | N/A
Dynamic or Chronological?: | HRUC Completion Trigger
Available on Extract Scheduler?: | No
Report Input
Input Data | Data Source | Latency | Schema | Table | Column | Notes
Resource Name | MMS | Hourly |  | VERBAL_DISP_INSTRUCT_OT | RESOURCE_NAME
Instruction Type | MMS | Hourly |  | VERBAL_DISP_INSTRUCT_OT | INSTRUCTION_TYPE | Filter data with 'CAN_COM', 'COMMIT', and 'DECOMMIT'
Notification Time | MMS | Hourly |  | VERBAL_DISP_INSTRUCT_OT | NOTIFICATION_TIME | Find the data of previous hour (of the report run time)
Inititation Time | MMS | Hourly |  | VERBAL_DISP_INSTRUCT_OT | INITIATION_TIME
Completion Time | MMS | Hourly |  | VERBAL_DISP_INSTRUCT_OT | COMPLETION_TIME
Cancel Flag | MMS | Hourly |  | VERBAL_DISP_INSTRUCT_OT | CANCEL_FLAG | filter data for the reaords with 'N'
Acknowledged Glag | MMS | Hourly |  | VERBAL_DISP_INSTRUCT_OT | ACKNOWLEDGED_FLAG
Reason | MMS | Hourly |  | VERBAL_DISP_INSTRUCT_OT | OTHER_INFORMATION | Reason
Report Output
Output Data | Data Source | Avg # of Rows | Max Rows | Include Nulls | NVL | Notes
Resource Name | Input | No of Committed and Decomitted Resources | No of Committed and Decomitted Resources | No |  | DataType: VARCHAR2
Instruction Type | Input |  |  | No |  | DataType: VARCHAR2
Notification Time | Input |  |  | YES |  | DataType:Date Format MM/DD/YYYY HH24:MI:SS {02/22/2008 14:25:33}
Inititation Time | Input |  |  | YES |  | DataType:Date Format MM/DD/YYYY HH24:MI:SS {02/22/2008 14:25:33}
Completion Time | Input |  |  | YES |  | DataType:Date Format MM/DD/YYYY HH24:MI:SS {02/22/2008 14:25:33}
Acknowledged Flag | Input |  |  | YES |  | DataType: VARCHAR2
Reason | Input |  |  | YES |  | DataType: VARCHAR2

## DC Tie Schedules
STATUS: | IN PROGRESS
Name: | DC Ties Schedules |  | Business Notes:
Basic Info |  |  | Post the Total MW by DC Tie at XX:XX:XX for the ?next? operating day. This is a daily report that has aggregate MW values by hour for each DC Tie Settlement Point name showing Import and Export values. Sort by : ??
Master List Number: | new
Report or Extract: | Report
Posting Format(s): | .zip
File Format(s): | .csv
Display or Delivery System: | MIS
MP Recipient(s): | Public |  | Input (from protocol) -- Each DC Tie Schedule must correspond to an implemented e-Tag and include the following information: - The QSE ERCOT identifier or non-ERCOT Control Area buying the energy; - The QSE ERCOT identifier or non-ERCOT Control Area selling the energy; - The DC Tie Settlement Point name; - The quantity in MW for each 15-minute Settlement Interval of the schedule; - The first and last 15-minute Settlement Intervals of the schedule; and - The e-Tag name. Output -- - Hour Ending - DC Tie Settlement Point name - Total MW Import - Total MW Export
Protocol Reference: | NP4.4.4
MIS Info
MIS Link Name: | DC Ties Schedules
MIS Report ID:
MIS File Display Name Format(s): | rpt.0000000000000000000.TIMESTAMP.Name.zip rpt.0000000000000000000.TIMESTAMP.Name.csv
MIS Display Lifespan:
Files post in order on MIS?: | n/a
DDL/XSD: | N
Landing Page:
Portlet: | <MIS>
Schedule Info
Frequency: | Daily, at XX:XX:XX
Days of Week:
Generation Time of Day: | n/a
PITS Range Logic: | n/a
Trade Date Range Logic: | n/a
Run Dependencies | n/a
Data based on Approval?: | N
Dynamic or Chronological?: | Chronological
Available on Extract Scheduler?: | Y
Input:
Input Data | Data Source | Latency | Schema | Table | Column | Notes
Schedule ID | MMS | Daily | MIDB | ETAG_INT_V | SCHEDULE_ID
Interval Ending | MMS | Daily | MIDB | ETAG_INT_V | INTERVALENDING | Date and Time
DC Tie | MMS | Daily | MIDB | ETAG_DLY_V | DCTIE
MW | MMS | Daily | MIDB | ETAG_INT_V | MW | (minus indicates sellling plus indicates buying
Delivery_Date? | MMS | Daily | MIDB | ETAG_INT_V | Delivery_Date
Update_Time? | MMS | Daily | MIDB | ETAG_INT_V | Update_Time
Name | MMS | Daily | MIDB | ETAG_DLY_V | Name
Type | MMS | Daily | MIDB | ETAG_DLY_V | Type
Status | MMS | Daily | MIDB | ETAG_DLY_V | Status
Participant Name | MMS | Daily | MIDB | ETAG_DLY_V | Participant Name
Output:
Input Data | Data Source | Latency | Schema | Table | Column | Notes
Hour Ending | Input | Daily | MIDB | ETAG_INT_V | INTERVALENDING
DC Tie | Input | Daily | MIDB | ETAG_DLY_V | DCTIE
Total MW Import | Input | Daily | MIDB | ETAG_INT_V | MW
Total MW Export | Input | Daily | MIDB | ETAG_INT_V

## NDCRC
STATUS: | DRAFT
Name: | NDCRC Modifications | Business Notes:
Basic Info |  | Fields not consistent with the data they have to put into the application (doesn't necessarily accept negatives and have to enter a negative value)
Master List Number:
Report or Extract: | Application
Posting Format(s):
File Format(s):
Display or Delivery System: | MIS
MP Recipient(s): | Certified
Protocol Reference: | N/A
MIS Info
MIS Link Name: | NDCRC | MISUG notes
MIS Report ID: | N/A
MIS File Display Name Format(s): | N/A
MIS Display Lifespan: | N/A
Files post in order on MIS?: | N/A
DDL/XSD: | No
Landing Page: | Applications
Portlet: | Applications
Schedule Info
Frequency:
Days of Week:
Generation Time of Day:
PITS Range Logic: | N/A
Trade Date Range Logic: | N/A
Run Dependencies | None
Data based on Approval?: | No
Dynamic or Chronological?: | Chronological
Available on Extract Scheduler?: | No

## ACE
STATUS: | DRAFT | ** It is the recommendation of ERCOT that the System ACE value be captured in the Real-Time System Condtions dashboard
Name: | System ACE | Business Notes:
Basic Info |  | The ACE algorithm subtracts the actual frequency in Hz from the scheduled system frequency (normally 60 Hz), and multiplies the result by the frequency bias constant of MW/0.1 Hz. The ACE algorithm then takes that product and subtracts a configurable portion of the sum of the difference between the Updated Desired Base Point and Real-Time net MW output as appropriate. LFC shall ensure that the total reduction will not exceed the system-wide regulation requirement. This calculation produces an ACE value, which is a MW-equivalent correction needed to control the actual system frequency to the scheduled system frequency value.
Master List Number:
Report or Extract: | Application
Posting Format(s): | HTML
File Format(s):
Display or Delivery System: | MIS
MP Recipient(s): | Public
Protocol Reference: | N/A
MIS Info
MIS Link Name: | Real-Time System Conditions | MISUG notes
MIS Report ID: | N/A
MIS File Display Name Format(s): | N/A
MIS Display Lifespan: | N/A
Files post in order on MIS?: | N/A
DDL/XSD: | No
Landing Page: | Applications
Portlet: | Applications
Schedule Info
Frequency: | every 4 seconds
Days of Week:
Generation Time of Day:
PITS Range Logic: | N/A
Trade Date Range Logic: | N/A
Run Dependencies | None
Data based on Approval?: | No
Dynamic or Chronological?: | Chronological
Available on Extract Scheduler?: | No

## System Load
STATUS: | DRAFT
Name: | Actual System Load | Business Notes:
Basic Info |  | Current System Load is provided in Today's Outlook: Current System Load from DB_STATE_ESTIMATOR every 5 minutes System Wide Demand:
Master List Number:
Report or Extract:
Posting Format(s):
File Format(s):
Display or Delivery System: | MIS
MP Recipient(s): | Public
Protocol Reference: | N/A
MIS Info
MIS Link Name: | Todays Outlook & System Wide Demand | MISUG notes
MIS Report ID: | N/A | looking for report similar to the nodal control area load but by load zone and weather zone and total
MIS File Display Name Format(s): | N/A | daily report with op day info, build on it daily for a report with 365 days of data
MIS Display Lifespan: | N/A | OR looking for a daily report of info from the day prior
Files post in order on MIS?: | N/A | looking for a downloadable report
DDL/XSD: | No | csv/xml
Landing Page: |  | OD
Portlet: |  | Hour ending
Schedule Info |  | LZ
Frequency: | 5 Mins | Total
Days of Week:
Generation Time of Day: |  | add the display of load zone data (current day and prior 5)
PITS Range Logic: | N/A
Trade Date Range Logic: | N/A
Run Dependencies | None
Data based on Approval?: | No
Dynamic or Chronological?: | Chronological
Available on Extract Scheduler?: | No

## CRR Shift Factors
STATUS: | DRAFT
Name: | CRR Shift Factors | Business Notes:
Basic Info |  | For CRR, the shift factors on all of the constraints is generally around 10M lines in the database for each auction. This is created as the number of constraints times the number of CRR’s (awarded or not) for the auction – but it tends to be a sparse matrix (e.g., only a small number of the 500 or so constraints apply to each CRR, and not all CRR’s have constraints). We generally have around 500 constraints, and in theory, we could have up to 600,000 CRRs (if all bids were 24-hour bids – unlikely, but possible). So it’s possible that a file with all of that data would be around 300M pieces of information per auction (in the DB, it would be 300M lines).
Master List Number:
Report or Extract: | Report
Posting Format(s): | .zip
File Format(s):
Display or Delivery System: | MIS
MP Recipient(s): | Public
Protocol Reference: | NP6.5.7.1.13(4)(f)
MIS Info
MIS Link Name: | CRR Shift Factors | MISUG notes
MIS Report ID: | N/A | post auction, time of use, monthly and annual
MIS File Display Name Format(s): | N/A | looking for shift factors of SPPs for any binding constraints in the auction
MIS Display Lifespan: | N/A
Files post in order on MIS?: | N/A | auction date
DDL/XSD: | No | time of use
Landing Page: | CRR | block
Portlet: | CRR Informaiton | constraint name
Schedule Info |  | SPP
Frequency: |  | shift factor
Days of Week: |  | **NPRR to impact transparency section of NP7
Generation Time of Day: |  | csv
PITS Range Logic: | N/A | posted on the same timeline as the market results for the auction
Trade Date Range Logic: | N/A
Run Dependencies | None
Data based on Approval?: | No
Dynamic or Chronological?: | Chronological
Available on Extract Scheduler?: | No

## DAM Shift Factors
STATUS: | DRAFT
Name: | DAM Shift Factors | Business Notes:
Basic Info |  | Daily, for the binding constraints in the DAM, csv/xml
Master List Number:
Report or Extract: | Report
Posting Format(s): | .zip
File Format(s): | csv or xml
Display or Delivery System: | MIS
MP Recipient(s): | Public
Protocol Reference: | NP6.5.7.1.13(4)(f)
MIS Info
MIS Link Name: | DAM Shift Factors | MISUG notes
MIS Report ID: | N/A
MIS File Display Name Format(s): | N/A | Delivery Date
MIS Display Lifespan: | 31 Days | Delivery Hour
Files post in order on MIS?: | N/A | Contingency Name
DDL/XSD: | No | Constraint Name
Landing Page: | DAM | Constraint ID
Portlet: | Day-Ahead Public Information | SPP Name
Schedule Info |  | Settlement Point Shift Factor
Frequency: | Daily | Repeated Hour Flag
Days of Week:
Generation Time of Day:
PITS Range Logic: | N/A
Trade Date Range Logic: | N/A
Run Dependencies | None
Data based on Approval?: | No
Dynamic or Chronological?: | Chronological
Available on Extract Scheduler?: | No

## add to task list
Available Capacity | Can provide online generation data from COP HSLs MISUG - The online generation data from the HSL is captured in the Real Time System Conditions dashboard based on the system parameters EWS from the system AS capacity monitor dashboard. ***Looking for HDL and HASL in a real time feed to know the generation commitments. No report necessary at this time. | move from grid ops - add to task list.