Planning Guides Working Group

Meeting Minutes, July 29, 2011

ERCOT MET, Room 206

==============================================================================

Meeting Attendees (PLWG Members):

Rob Lane, Chair (Luminant)

Sergio Garza, vice-Chair (LCRA TSC)

Ken Bowen (CPS)

Dennis Hogan (Luminant)

Michael Juricek (Oncor)

Wayne Kemper (CNP)

Yvette Landin (ERCOT)

Dan Woodfin (ERCOT)

Biju Mathew (AE)

Charles DeWitt, DWG Chair (LCRA TSC)

John Moore (STEC)

Teleconference/WebEx:

Henry Durrwachter (Luminant)

Tony Hudson, SSWG Chair (TNMP)

Liz Jones (Oncor)

Jay Teixeira (EROCT)

==============================================================================

- Antitrust Admonition								All	9:30

- Agenda Review								R. Lane

- PGRR Review

  - PGRR003 SSWG Procedures Manual Language Considerations	Lane/Hudson

Tony requested support from PLWG to assist in developing language. The following PLWG members volunteered to assist:

- Rob Lane (Luminant)

- Eric  Goff (Reliant)

- Mike Holland (Oncor)

- Wes Woitt (Centerpoint)

Group will coordinate meeting and webex to complete this assignment.

  - PGRR009 Resource Asset Registration				Durrwachter

Review version that has ERCOT and CNP comments.

PLWG reviewed comments filed by CNP and recommends follow-up PGRR to address

PLWG discussed appropriateness of including this in Guides versus ERCOT Protocols.

- PLWG recommends proposed language (with minor edits and w/out CNP comments); and,

- ERCOT will conduct impact analysis.

  - Data Dictionary							Durrwachter

Tabled for next PLWG meeting.

Identify data that market participant require.

- Planning Guide Assignments

  - Short  Circuit Database						Belkin

Peter Belkin was not in attendance. This item was not taken up by PLWG.

  - Dynamic Model Procedures						DeWitt

PLWG adopts proposed guided and will review DWG’s specific language for action at next meeting.

PLWG will take up as a PGRR at 08/29 meeting. Yvette will post by 8/11.

  - Planning Guides							Woodfin

Dan Woodfin will post for next meeting for PLWG review.

- Report on NPRR381 and Possible Conflict with PGRR008

Discussion on timing when generating entity is classified as a Market Participant.

ERCOT endorsed language proposed by ERCOT on PGRR008.

PLWG endorsed PGRR008 with ERCOT edits

ROS vote in August.

PLWG reviewed ERCOT proposed comments on NPRR381 and endorsed.

- Joint Meeting with CMWG (CMWG participants joined meeting)

  - Continue discussion and craft PGRR language as appropriate

- Need to address how to meet NERC compliance for immediate needs that cannot be implemented until a later year.

- Ensure that we do not set up for a compliance obligation that cannot be met? How to implement these criteria. How to demonstrate compliance.

- Need to review ERCOT process for project submittal in terms of stating case assumptions (e.g., load).

- Present update to ROS and TAC in terms status of assignment and general “concept”.

- Adjourn									All	3:30

Other discussion:

Need to be transparent with Issues List

Future Meetings: 08/12/2011 Joint Meeting with CMWG.

Action Items:

- Need to address how to meet NERC compliance for immediate needs and cannot be implemented until a later year.

- Need to review ERCOT process for project submittal in terms of stating case assumptions (e.g., load).

- Continued comments from PLWG regarding need to provide sensistivity study to assess possible consequences of criteria revision.

PLWG Issues List Items:

During PLWG meetings, the following items were identified as planning issues that need to be addressed in the future and potentially be included in the Planning Issues List.

- From April 29, 2011 meeting

  - Interruptible load: Interruptible load might not be appropriate to consider as a solution in a fixing a system problem.

  - Definition of credible single contingency: Revise the definition to separate the description of the event (contingency) from the performance.

  - Mothballed generator: Include the treatment of mothballed generation units in planning studies especially in tests associated with short circuit.

  - Severe contingencies: Add a definition of severe contingency as well as description of required performance. This is consistent with ERCOT’s recommendations on paralleling 345 kV lines in CREZ.

- From May 26, 20911 Meeting

  - Need to review ERCOT ALDR procedure on a couple of matters:

    - Is ERCOT issuing ALDR to appropriate entities?

    - Need to address how ALDR information is getting into DSA and DSB (planning) cases.

  - Is the present Category C and D language needed in the planning guide in the future?

  - A procedure for aggregating wind generator collector system into the model needs to be developed and put into the DWG procedures?

  - Do we need to research Operating Guide or protocol language addressing the changing of taps on GSUs after plant goes in service.

- From July 29, 2011 meeting

  - Follow-up PGRR009 to address other matters.

  - Add “Generator Reactive” capability to issues list.  This is a follow up to Centerpoint comments on PGRR009.