Date: 	July 28, 2011

To:	Technical Advisory Committee (TAC) Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs) and Parking Deck NPRR Impact Assessments

The PRS met and discussed several revision requests and presents the following NPRRs to the TAC for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

NPRRs Recommended for Approval

  - NPRR321, Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period (formerly “Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period for Qualifying Facilities”) [Calpine].

Proposed Effective Date:  Upon System Implementation – Priority High; Rank 13.2.

ERCOT Impact Analysis:  $55k - $60k; no impacts to ERCOT staffing; impacts to Current Day Reports (CDR), Market Information System (MIS), and Market Management System (MMS); no impacts to ERCOT business functions; no impacts to grid operations or practices.

Revision Description:  This NPRR would provide the ability for Resources to change the amounts of power in their Energy Offer Curves in the Adjustment Period.

Procedural History:  NPRR321 was posted on 2/10/11.  On 3/24/11, PRS unanimously voted to table NPRR321.  On 4/21/11, PRS voted to recommend approval of NPRR321 as submitted.  There were three abstentions from the Independent Retail Electric Provider (IREP), Investor Owned Utility (IOU) and Municipal Market Segments.  On 5/19/11, PRS voted to table NPRR321 for one month.  There were two opposing votes from the Independent Generator and IOU Market Segments and one abstention from the Independent Generator Market Segment.  On 6/23/11, PRS voted to endorse the 4/21/11 PRS Report as amended by the 5/17/11 Luminant Energy Company LLC comments and as revised by PRS and for NPRR321 to return to PRS for consideration of the Impact Analysis.  There was one abstention from the Municipal Market Segment.  On 7/21/11, PRS voted to endorse and forward the 6/23/11 PRS Report as amended by the 7/20/11 ERCOT comments, the revised Impact Analysis and revised Cost Benefit Analysis for NPRR321 to TAC with a recommended priority of High and rank of 13.2.  There was one abstention from the Municipal Market Segment.

  - NPRR347, Single Daily Settlement (Formerly “Counter-Party Invoice and Single Daily Settlement Invoice”) [ERCOT] – Urgent.

Proposed Effective Date:  Upon System Implementation – Priority Critical; Rank pending.

ERCOT Impact Analysis:  $160k - $180k; no impacts to ERCOT staffing; impacts to Market Participant Registration (REG), Settlements and Billing (S&B), Credit management (CMM), MIS, Enterprise Information System (EIS), Enterprise Integration (EI), Dispute Analysis Tools (DIS), and Financial Transfer Tools (FT); impacts to Settlements business processes; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR combines the Day-Ahead Market (DAM) and the Real-Time Market (RTM) Invoices into a single daily Settlement Invoice for these activities for each Qualified Scheduling Entity QSE and Congestion Revenue Right (CRR) Account Holder;  requires: (a) adaptation of  the language for partial payments and late fees; (b) adaptation of the language for the Default Uplift Invoice; (c) changes to related credit formulas; and (d) automation of the minimum collateral calculation given an increase in the frequency of the calculation; and proposes reducing the average daily transaction extrapolated multiplier from 40 days to 35 days based on the median reduction in exposure of approximately five days.

Procedural History:  NPRR347 was posted on 4/6/11.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR347 as amended by the 4/18/11 SEWG comments and as revised by PRS.  On 5/19/11, PRS unanimously voted to table NPRR347 for one month.  On 6/23/11, PRS voted to table NPRR347 for one month.  There were two abstentions from the Municipal and Consumer Market Segments.  On 7/21/11, PRS voted to grant NPRR347 Urgent status; endorse and forward the 4/21/11 PRS Report as amended by the 7/13/11 ERCOT comments and the Impact Analysis for NPRR347 to TAC with a recommended priority of Critical.  There were two abstentions from the Independent Power Marketer (IPM) and Consumer Market Segments.  See 6/22/11 Credit WG comments.

  - NPRR348, Generation Resource Start-Up and Shut-Down Process [ERCOT].

Proposed Effective Date:  Upon System Implementation – Priority Critical; Rank 8.4.

ERCOT Impact Analysis:  $80k - $85k; no impacts to ERCOT staffing; impacts to MMS, S&B, and Energy Management System (EMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes Protocol language concerning the use of the “ONTEST” Resource Status during start-up and shut-down and adds language to address the start-up and shut-down processes.  This NPRR also adds a new “SHUTDOWN” Resource Status for use in telemetry only for shutdown operations.

Procedural History:  NPRR348 was posted on 4/6/11.  On 4/21/11, PRS unanimously voted to table NPRR348 for one month.  On 5/19/11, PRS unanimously voted to recommend approval of NPRR348 as submitted.  On 6/23/11, PRS unanimously voted to endorse and forward the 5/19/11 PRS Report, Impact Analysis, and Cost Benefit Analysis for NPRR348 to TAC with a recommended priority of Critical and rank of 8.4.  On 7/7/11, TAC unanimously voted to remand NPRR348 to PRS.  On 7/21/11, PRS voted to recommend approval of NPRR348 as amended by the 7/20/11 Luminant Energy comments and as revised by PRS and to forward NPRR348 to TAC.  There was one abstention from the IOU Market Segment.

  - NPRR354, Revisions to Non-Spin Performance Criteria Language and Provision for ICCP Telemetry of Non-Spin Deployment [WMS].

Proposed Effective Date:  Upon System Implementation – Priority High; Rank 31

ERCOT Impact Analysis:  $100k - $110k; no impacts to ERCOT staffing; impacts to EMS, EI, EIS, and MIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the performance criteria for Non-Spinning Reserve (Non-Spin) Service deployments, adds language for provision of a Non-Spin deployment flag to QSEs via Inter-Control Center Communications Protocol (ICCP), and adds a requirement for XML notification to all QSEs when Non-Spin is deployed.

Procedural History:  NPRR354 was posted on 4/15/11.  On 5/19/11, PRS voted to recommend approval of NPRR354 as amended by the 4/29/11 ERCOT comments.  There were two opposing votes from the Municipal and Consumer Market Segments and two abstentions from the Cooperative Market Segment.  On 6/23/11, PRS unanimously voted to table NPRR354 for one month.  On 7/21/11, PRS voted to endorse and forward the 5/19/11 PRS Report, Impact Analysis, and preliminary Cost Benefit Analysis to TAC with a recommended priority of High and rank of 31.  There was one abstention from the Municipal Market Segment.

  - NPRR357, Revisions to Collateral Requirements Concerning CRR Auctions (formerly “Multi-Month CRR Auction and Revisions to Collateral Requirements”) [Luminant] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR proposes revisions to collateral requirements for CRR Auctions including a pre-CRR Auction screening process to determine the maximum potential exposure of each CRR Account Holder and a path-specific adder to be defined by an ERCOT Board-approved methodology.

Procedural History:  NPRR357 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR357.  On 6/23/11, PRS unanimously voted to table NPRR357 and requested that ERCOT host a workshop to further discuss NPRR357.  On 7/21/11, PRS voted to grant NPRR357 Urgent status; recommend approval of NPRR357 as amended by the 7/18/11 ERCOT comments and as revised by PRS; and forward NPRR357 to TAC.  There was one abstention from the Municipal Market Segment.  Credit review is pending

  - NPRR358, Clarification of Responsible Entity for Binding Obligations [ERCOT].

Proposed Effective Date:  October 1, 2011.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR replaces the term “Generation Entity” with “Resource Entity,” where appropriate, to provide clarity that for binding obligations the Resource Entity is designated as the Entity obligated under the Protocols.  This NPRR also modifies the definition of Generation Entity.

Procedural History:  NPRR358 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR358 for one month.  On 6/23/11, PRS unanimously voted to recommend approval of NPRR358 as revised by PRS.  On 7/21/11, PRS unanimously voted to endorse and forward the 6/23/11 PRS Report and Impact Analysis for NPRR358 to TAC.

  - NPRR360, Summary Report of HDL and LDL [MISUG].

Proposed Effective Date:  Upon System Implementation – Priority High; Rank 32.5.

ERCOT Impact Analysis:  $30k - $35k; no impacts to ERCOT staffing; impacts to CDR, MIS, Information Services Master (ISM Database), and Market Information Repository (MIR); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR creates a new posting for the sum of High Dispatch Limit (HDL) and the sum of Low Dispatch Limit (LDL) and any Generation Resource instances of manual overrides of HDL or LDL to the MIS Public Area after every Security-Constrained Economic Dispatch (SCED) run.  This NPRR also adds the requirement to post any QSE instances of manual overrides of HDL and LDL for a Generation Resource to the MIS Certified Area after every SCED run.

Procedural History:  NPRR360 was posted on 5/4/11.  On 5/19/11, PRS voted to recommend approval of NPRR360 as amended by PRS.  There were three abstentions from the Independent Generator, Municipal, and IOU Market Segments.  On 6/23/11, PRS unanimously voted to endorse the 5/19/11 PRS Report as amended by the 6/20/11 WMS comments and for NPRR360 to return to PRS for consideration of the Impact Analysis.  On 7/21/11, PRS unanimously voted to endorse and forward the 6/23/11 PRS Report, revised Impact Analysis, and revised Cost Benefit Analysis for NPRR360 to TAC with a recommended priority of High and rank of 32.5.

  - NPRR369, Black Start Service Requirement Revisions [ERCOT] – Urgent.

Proposed Effective Date:  September 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR allows ERCOT to conduct unannounced testing of Black Start Resources and further proposes language changes that would allow a Resource Entity representing a contracted Black Start Resource to request that an alternate Generation Resource substitute in place of the Black Start Resource if the alternate Generation Resource meets testing and verification under established qualification criteria to ensure Black Start Service.

Procedural History:  NPRR369 was posted on 5/18/11.  On 5/19/11, PRS voted to grant NPRR369 Urgent status.  There were two opposing votes from the Consumer Market Segment and one abstention from the Municipal Market Segment.  PRS then unanimously voted to table NPRR369.  On 7/21/11, PRS voted to recommend approval of NPRR369 as amended by the 7/20/11 Luminant comments and as revised by PRS and to forward NPRR369 and the Impact Analysis to TAC.  There was one opposing vote from the Municipal Market Segment and two abstentions from the IPM and Independent Generator Market Segment.  Credit review is pending.

  - NPRR374, Modification of SCR Process and Urgency Requirements [ERCOT].

Proposed Effective Date:  October 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR consolidates the System Change Request (SCR) process and NPRR process so that the governing subcommittee for both SCRs and NPRRs is the PRS.  This NPRR also modifies the requirements for Urgency.

Procedural History:  NPRR374 as posted on 6/6/11.  On 6/23/11, PRS unanimously voted to recommend approval of NPRR374 as submitted.  On 7/21/11, PRS unanimously voted to endorse and forward the 6/23/11 PRS Report and Impact Analysis for NPRR374 to TAC.

  - NPRR375, Extend the Reporting Horizon for CDR Inputs [ERCOT].

Proposed Effective Date:  October 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR extends existing reporting requirements for Mothballed Generation Resource return-to-service probabilities, Generation Resources with associated Load, and Switchable Generation Resources, from five to ten years.

Procedural History:  NPRR375 was posted on 6/6/11.  On 6/23/11, PRS unanimously voted to recommend approval of NPRR375 as submitted.  On 7/21/11, PRS unanimously voted to endorse and forward the 6/23/11 PRS Report and Impact Analysis for NPRR375 to TAC.

  - NPRR379, EILS Dispatch Sequence and Performance Criteria Upgrades [ERCOT].

Proposed Effective Date:  October 1, 2011 and Upon System Implementation (for grey-boxed sections) – Priority High; Rank 14.5.

ERCOT Impact Analysis (Preliminary):  $55k - $65k; no impacts to ERCOT staffing; impacts to EI, MMS, EIS, and MIS; update of ERCOT’s demand response functions; update to ERCOT grid operations procedures and additional training for system operations.

Revision Description:  This NPRR improves the operational value of Emergency Interruptible Load Service (EILS), and strengthens and clarifies a number of performance criteria for EILS.

Procedural History:  NPRR379 was posted on 6/8/11.  On 6/23/11, PRS voted to recommend approval of NPRR379 as revised by PRS.  There was one abstention from the IPM Market Segment.  On 7/21/11, PRS voted to endorse and forward the 6/23/11 PRS Report as amended by the 7/14/11 ERCOT comments, Impact Analysis and Cost Benefit Analysis for NPRR379 to TAC with a recommended priority of High and rank of 14.5.  There were two abstentions from the IPM Market Segment.

  - NPRR380, Minor Changes to Default Uplift Invoice [ERCOT].

Proposed Effective Date:  October 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR provides minor corrective and clarifying changes to the allocation methodology used for the Default Uplift Invoice.

Procedural History:  NPRR380 was posted on 6/8/11.  On 6/23/11, PRS unanimously voted to recommend approval of NPRR380 as submitted.  On 7/21/11, PRS unanimously voted to endorse and forward the 6/23/11 PRS Report and Impact Analysis for NPRR380 to TAC.

  - NPRR382, Verbal RUC Committed or Decommitted Resources Report [MIS User Group (MISUG)].

Proposed Effective Date:  Upon System Implementation – Priority High; Rank 32.6.

ERCOT Impact Analysis:  $25k - $30k; no impacts to ERCOT staffing; impacts to CDR, MIS, and MMS; enhancement to operator business processes related to Verbal Dispatch Instructions (VDIs); operator training to support VDI posting requirements.

Revision Description:  This NPRR creates two new reports on the MIS Secure Area for verbal Reliability Unit Commitment (RUC) commitments/decommitments, one following the Day-Ahead Reliability Unit Commitment (DRUC) and one following the Hourly Reliability Unit Commitment (HRUC) to stay consistent with the current RUC data delivery process.

Procedural History:  NPRR382 was posted on 6/8/11.  On 6/23/11, PRS unanimously voted to recommend approval of NPRR382 as submitted.  On 7/21/11, PRS unanimously voted to endorse and forward the 6/23/11 PRS Report, Impact Analysis, and Cost Benefit Analysis for NPRR382 to TAC with a recommended priority of High and rank of 32.6.

  - NPRR383, Unconfirmed Trades Reports [MISUG].

Proposed Effective Date:  Upon System Implementation – Priority High; Rank 32.7.

ERCOT Impact Analysis:  $25k - $30k; no impacts to ERCOT staffing; impacts to CDR, MIS, and MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR creates a new report for unconfirmed trades on the MIS Certified Area that will provide timely information regarding the trades that have not yet been confirmed for the upcoming hour and all remaining hours of the RUC Study Period so that Market Participants may make adjustments as necessary to conduct business.

Procedural History:  NPRR383 was posted on 6/8/11.  On 6/23/11, PRS unanimously voted to recommend approval of NPRR383 as submitted.  On 7/21/11, PRS voted to endorse and forward the 6/23/11 PRS Report, Impact Analysis, and Cost Benefit Analysis to TAC with a recommended priority of High and rank of 32.7.  There was one abstention from the Municipal Market Segment.  Credit review is pending.

  - NPRR384, Revisions to Support SCR766 , Load Zone and Hub LMPs Distributed by ICCP (formerly “Load Zone Price Distributed by ICCP”) [ERCOT].

Proposed Effective Date:  Upon System Implementation of SCR766.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; ERCOT system changes are captured in SCR766; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies language that supports system changes proposed in System Change Request (SCR) 766, Load Zone and Hub LMPs Distributed by ICCP (formerly “Load Zone Price Distributed by ICCP”).   SCR766 should provide quicker distribution of the Load Zone prices and the Hub prices that are available with each SCED execution.

Procedural History:  NPRR384 was posted on 6/8/11.  On 6/23/11, PRS unanimously voted to recommend approval of NPRR384 as submitted.  On 7/21/11, PRS unanimously voted to endorse and forward the 6/23/11 PRS Report and Impact Analysis for NPRR384 to TAC.  Credit review is pending.

  - NPRR388, Clarification of Quick Start Generation Resource Performance Criteria [Luminant] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis: Pending.

Revision Description:  This NPRR clarifies the requirements regarding the performance criteria of a Quick Start Generation Resource (QSGR) during a SCED deployment.

Procedural History:  NPRR388 was posted on 7/6/11.  On 7/21/11, PRS voted to recommend approval of NPRR388 as amended by the 7/12/11 ERCOT comments and as revised by PRS, to grant NPRR388 Urgent status, and to forward NPRR388 to TAC.  There were two abstentions from the IOU Market Segment.  Credit review is pending.

  - NPRR390, Clarification of the Applicability of the Use of the Refund Option [ERCOT] – Urgent.

Proposed Effective Date:  September 1, 2011.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; minor impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the ability to request refund option Pre-Assigned Congestion Revenue Rights (PCRRs) across high voltage Direct Current Ties (DC Ties).

Procedural History:  NPRR390 was posted on 7/6/11.  On 7/21/11, PRS voted to grant NPRR390 Urgent status.  There were five abstentions from the Cooperative (2), Independent Generator and IPM (2) Market Segments.  PRS then voted to recommend approval of NPRR390 as submitted and to forward NPRR390 and the Impact Analysis to TAC.  There were two abstentions from the Cooperative and IPM Market Segments.  Credit review is pending.

  - NPRR392, Credit Review During CRR Auction [ERCOT] – Urgent.

Proposed Effective Date:  September 1, 2011.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; minor business function impacts to CRR and Credit business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR provides for a credit review on preliminary CRR Auction results before CRR Auction results are finalized and posted to ensure that post auction collateral requirements under Section 16, Registration and Qualification of Market Participants, for the proposed CRR awards are within a Counter-Party’s Available Credit Limit (ACL).

Procedural History:  NPRR392 was posted on 7/14/11.  On 7/20/11, PRS granted NPRR392 Urgent status via PRS email vote.  On 7/21/11, PRS voted to recommend approval of NPRR392 as revised by PRS and to forward NPRR392 and the Impact Analysis to TAC.  There were two abstentions from the Municipal and Independent Generator Market Segments.  Credit review is pending.

Revision Requests Rejected and Failed Motions

  - NPRR300, Municipal Owned Utility Addition to Determination of Total Potential Exposure for a Counter-Party [City of Garland].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This NPRR adds Municipally Owned Utilities (MOUs) to the list of Entities exempt from the requirement to grant ERCOT a first priority security interest in order for Total Potential Exposure (TPE) of a Counter-Party to be based on the algebraic sum of the Counter-Party’s current and future credit exposures.

Procedural History:  NPRR300 was posted on 12/3/10.  On 1/20/11, PRS unanimously voted to table NPRR300.  On 7/21/11, PRS unanimously voted to reject NPRR300.  Credit review not applicable.

  - NPRR386, Reduce the Frequency of Unregistered Distributed Generation Reports [COPS].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This NPRR reduces the frequency of the Distributed Generation (DG) below the registration threshold reports from quarterly to annually and clarifies language in Section 10.2.2, TSP and DSP Metered Entities.

Procedural History:  NPRR386 was posted on 6/15/11.  On 7/21/11, PRS voted to reject NPRR386.  There were two abstentions from the IOU and Cooperative Market Segments.  Credit review not applicable.

Revision Requests Withdrawn (no TAC action required)

  - NPRR345, EILS Availability Calculation Post-Depletion [Energy Curtailment Specialists].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This NPRR adds language to remove a deficiency in the calculation formula for EILS availability factors.

Procedural History:  NPRR345 was posted on 4/5/11.  On 4/21/11, PRS unanimously voted to table NPRR345.  On 6/28/11, NPRR345 was withdrawn.  Credit review is pending.

Parking Deck Impact Assessments Recommended for Approval

  - NPRR210, Wind Forecasting Change to P50, Synchronization with PRR841 [Morgan Stanley]

Effective Date:  Upon System Implementation – Priority 2013; Rank 24

ERCOT Impact Analysis:  $45k - $55k; no ERCOT staffing impacts; impacts to EMS, MMS, S&B, CSI, and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR changes the wind forecasting methodology to use a 50% probability of exceedance calculation instead of an 80% for RUC considerations.

Procedural History:  On 6/15/10, The ERCOT Board approved NPRR210 as recommended by TAC in the 6/3/10 TAC Report.  On 6/23/11, PRS unanimously voted to table the impact assessment for NPRR210 for one month.  On 7/21/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR210 to TAC with a recommended priority of 2013 and rank of 24.

  - NPRR222, Half-Hour Start Unit RUC Clawback (Companion to NPRR207) [WMS]

Effective Date:  Upon System Implementation – Priority 2012; Rank 16

ERCOT Impact Analysis:  $15k - $20k; no ERCOT staffing impacts; impacts to CSI and S&B; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes RUC Clawback on all Half-Hour Start Units that participate in the DAM and during Energy Emergency Alert (EEA) events.  This NPRR also changes the RUC Clawback on all Half-Hour Start Units that did not participate in the DAM to 50%.

Procedural History:  On 7/20/10, the ERCOT Board approved NPRR222 as recommended by TAC in the 6/3/10 TAC Report.  On 6/23/11, PRS voted to endorse and forward the impact assessment for NPRR222 to TAC with a priority of 2012 and rank of 16.  There was one abstention from the Independent Generator Market Segment.

  - NPRR240, Proxy Energy Offer Curve [Potomac Economics]

Effective Date:  Upon System Implementation – Priority 2013; Rank 27

ERCOT Impact Analysis:  $50k - $60k; no ERCOT staffing impacts; impacts to MMS and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR states that the Entity with decision making authority over how a Resource or Split Generation Resource is offered or scheduled shall be responsible for all offers associated with each Resource, including offers represented by a proxy Energy Offer Curve.

Procedural History:  On 9/21/10, the ERCOT Board approved NPRR240 as recommended by TAC in the 9/2/10 TAC Report.  On 6/23/11, PRS unanimously voted to table the impact assessment for NPRR240 for one month.  On 7/21/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR240 to TAC with a recommended priority of 2013 and rank of 27.

  - NPRR241, Aggregate Incremental Liability (AIL) Calculation and Credit Reports Publish Corrections [ERCOT].

Effective Date: Upon System Implementation – Priority 2013; Rank 25

ERCOT Impact Analysis:  $100k - $120k; no impacts to ERCOT staffing; impacts to Credit Monitoring and Management System (CMM); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR updates the Aggregate Incremental Liability (AIL) calculation to reflect Max (Average Daily Transaction Extrapolated (ADTE) during the previous 60-day period) instead of ADTE to match Estimated Aggregate Liability (EAL) calculation; removes Flowgate Rights (FGRs)-related Credit Monitoring and Management Report; corrects Credit Monitoring and Management Reports format from XML to Microsoft Excel (XLS) format; and updates the posting requirements of Future Credit Exposure (FCE) Details Reports.

Procedural History:  On 9/21/10, the ERCOT Board approved NPRR241 as recommended by TAC in the 9/2/10 TAC Report.  On 6/23/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR241 to TAC with a priority of 2013 and rank of 25.

  - NPRR244, Clarification of Other Binding Documents [ERCOT]

Effective Date:  Upon System Implementation.

ERCOT Impact Analysis:  $10k - $15k (O&M budget); no ERCOT staffing impacts; impacts to ERCOT.com and MIS; update of ERCOT business functions to accommodate this NPRR; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the concept of “Other Binding Documents” and the revision process to better align with item (j) of the Public Utility Regulatory Act, Tex. Util. Code Ann. § 39.151 (Vernon 1998 & Supp. 2007) (PURA), Essential Organizations, and P.U.C. Subst. R. 25.503, Oversight of Wholesale Market Participants, with respect to governing documents that are public and in effect in the ERCOT Region.  This NPRR also ads a requirement for ERCOT to post certain business procedure documents to the MIS Public Area.

Procedural History:  On 10/19/10, the ERCOT Board approved NPRR244 as amended by the 10/11/10 PSEG TX comments and as revised by the ERCOT Board.  On 6/23/11, PRS unanimously voted to table the impact assessment for NPRR244.  On 7/21/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR244 to TAC.

  - NPRR256, Synchronize Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”) [Luminant Energy]

Effective Date:  Upon System Implementation – Priority 2013; Rank 26

ERCOT Impact Analysis:  $120k - $135k; no ERCOT staffing impacts; impacts to EIS;  no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR aligns the Nodal Protocols with changes implemented from Protocol Revision Request (PRR) 787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”), approved by the ERCOT Board on 8/18/09, and addresses the exclusion of Generation Resource Energy Deployment Performance (GREDP) during testing periods.

Procedural History:  On 11/16/10, the ERCOT Board approved NPRR256 as recommended by TAC in the 11/4/10 TAC Report.  On 6/23/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR256 to TAC with a recommended priority of 2013 and rank of 26.

  - NPRR272, Definition and Participation of Quick Start Generation Resources [ERCOT]

Effective Date:  Upon System Implementation – Priority 2012; Rank 18

ERCOT Impact Analysis:  $145k - $160k; no ERCOT staffing impacts; impacts to EMS, MMS, CSI, S&B, CDR, and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR provides language for effective participation of Quick Start Generation Resources (QSGRs) in SCED.

Procedural History:  On 11/16/10, the ERCOT Board approved NPRR272 as recommended by TAC in the 11/4/10 TAC Report.  On 6/23/11, PRS unanimously voted to table the impact assessment for NPRR272.  On 7/21/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR272 to TAC with a recommended Priority of 2012 and rank of 18.

Parking Deck Impact Assessments Tabled

  - NPRR181, FIP Definition Revision [Luminant Energy]

Effective Date:  Upon System Implementation.

ERCOT Impact Analysis:  $210k - $225k; no ERCOT staffing impacts; impacts to MMS, S&B, Enterprise Integration (EI), and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the definition of Fuel Index Price (FIP) to correctly account for the timing difference between ERCOT’s application of the FIP in its systems (midnight to midnight) and the timing of natural gas prices reflected by the index (i.e., hour ending 1000 to 0900).  The fuel price index published in Gas Daily, in the Daily Price Survey, under the heading “East-Houston-Katy, Houston Ship Channel” for any particular day reflects natural gas prices available to users from hour ending 1000 of the particular day to hour ending 0900 of the next day (i.e., the normal “gas day”).  This NPRR also adds a new definition for the term “Gas Day.”

Procedural History:  On 1/19/10, the ERCOT Board approved NPRR181 as recommended by TAC in the 1/6/10 TAC Report.  On 6/23/11, PRS unanimously voted to table the impact assessment for NPRR181 for one month.  On 7/21/11, PRS unanimously voted to table the impact assessment for NPRR181 for one month.

  - NPRR207, Unit Deselection (formerly “Hour Start Unit Deselection and Half Hour Start Unit RUC Clawback”) [WMS]

Effective Date:  Upon System Implementation.

ERCOT Impact Analysis:  $50k - $55k; no ERCOT staffing impacts; impacts to MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR provides that ERCOT may deselect units from RUC; creates the term “RUC Notification” to refer to an ERCOT instruction preceding a Resource’s startup time; and enables the QSE to self-commit, a Resource after receiving a RUC Notification but before the Resource’s startup time.

Procedural History:  On 7/20/10, the ERCOT Board approved NPRR207 as recommended by TAC in the 7/1/10 TAC Report.  On 6/23/11, PRS unanimously voted to table the impact assessment for NPRR207 for one month.  On 7/21/11, PRS unanimously voted to table the impact assessment for NPRR207 for one month.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the August 18, 2011 PRS Meeting

  - NPRR327, State Estimator Data Redaction Methodology [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  $120k - $130k; no impacts to ERCOT staffing; impacts to MIS and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR inserts language to define a redaction methodology for the posting of State Estimator data.

Procedural History:  NPRR327 was posted on 2/22/11.  On 3/24/11, PRS unanimously voted to table NPRR327.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR327 as amended by the 7/21/11 Morgan Stanley comments and as revised by PRS.  Credit review is pending.

  - NPRR364, Clarify Active and Inactive SCED Constraint Reporting [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the reporting requirements for SCED constraints and aligns the Protocols with current practices.

Procedural History:  NPRR364 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR364.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR364 as amended by the 7/14/11 J. Aron comments.  Credit review is pending.

  - NPRR370, Supplementary Ancillary Services Market Modifications [Morgan Stanley].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR corrects the Supplemental Ancillary Services Market (SASM) to eliminate the notice periods when ERCOT needs to strike a SASM for Ancillary Services that are undeliverable or the result of a QSE’s failure to provide the service.

Procedural History:  NPRR370 was posted on 6/23/11.  On 6/23/11, PRS unanimously voted to table NPRR370.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR370 as amended by the 7/12/11 Morgan Stanley comments.  Credit review is pending.

  - NPRR385, Security Violation Analysis and Reporting and Negative Price Floor [Luminant Energy].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds review, analysis and reporting requirements to the Network Security Analysis (NSA) process to provide Market Participants with information related to the causes of recurring security violations and possible solutions developed by ERCOT to address those violations.  Additionally, this NPRR adds an administrative Real-Time Settlement Point Price floor of negative $251/MWh for Resource Nodes and Hubs.

Procedural History:  NPRR385 as posted on 6/14/11.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR385 as amended by the 6/21/11 Luminant Energy Company LLC comments.  Credit review is pending

  - NPRR389, Modification of Voltage Support Requirements to Address Existing Non-Exempt WGRs [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clearly defines the Reactive Power capability requirements for WGRs that commenced operation on or after February 17, 2004, and have a signed Standard Generation Interconnection Agreement (SGIA) on or before December 1, 2009 (Existing Non-Exempt WGRs).

Procedural History:  NPRR389 as posted on 7/6/11.  On 7/21/11, PRS voted to recommend approval of NPRR389 as submitted.  There was one abstention from the IOU Market Segment.  Credit review is pending.

  - NPRR391, Shortening RTM Settlement and Payment Timeline and Eliminate ACH as a Mode of Payment [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  No budgetary impact; no impacts to ERCOT staffing; impacts to S&B data configuration; minor impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR shortens the posting timeline for the Real-Time Initial Statement by one Business Day, and shortens cash clearing for the Settlement Invoices in which it will be included by one Bank Business Day.  This NPRR also eliminates the option of making payments using Automated Clearing House (ACH) funds.

Procedural History:  NPRR391 as posted on 7/6/11.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR391 as submitted.  Credit review is pending.

Revision Requests Deferred or Tabled

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the Public Utility Commission of Texas (PUCT) according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  On 9/23/10, PRS unanimously voted to table NPRR190 for one month.  On 10/21/10, PRS unanimously voted to table NPRR190 for one month.  On 11/18/10, PRS unanimously voted to table NPRR190.  Credit review is pending.

  - NPRR315, Revision of Responsive Reserve Measure to Net Dependable Capability [Morgan Stanley] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes RRS Service 20% limit to check against Net Dependable Capability instead of HSL.

Procedural History:  NPRR315 was posted on 2/2/11.  On 2/4/11, the motion to grant NPRR315 Urgent status failed via PRS email vote.  On 2/17/11, PRS unanimously voted to grant NPRR315 Urgent status.  PRS then unanimously voted to table NPRR315.  On 6/23/11, PRS unanimously voted to table NPRR315 for one month.  Credit review is pending.

  - NPRR334, Incorporate Resource Limit for the Amount of Regulation Service that may be Provided from a Generation Resource During any Operating Hour [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (Preliminary):  $35k - $45k; no impacts to ERCOT staffing; impacts to Energy Market Management System (EMMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds language to incorporate a percentage requirement limiting the amount of Regulation Service that Generation Resources may provide; and to provide for an annual ERCOT review of the percentage requirement limiting the amount of Regulation Service that Generation Resources may provide.

Procedural History:  NPRR334 was posted on 3/25/11.  On 3/24/11, PRS unanimously voted to table NPRR334.  Credit review is pending.

  - NPRR336, Authorize ERCOT to Procure Additional RRS During Severe Cold Weather [TNMP].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR allows ERCOT to procure additional RRS during cold weather conditions.

Procedural History:  NPRR336 was posted on 3/9/11.  On 4/21/11, PRS voted to table NPRR336.  There was one opposing vote from the IREP Market Segment.  Credit review is pending.

  - NPRR365, Change in Resource Outage Approvals from Eight to 90 Days [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $15k - $20k; no impacts to ERCOT staffing; impacts to Outage Scheduler; impact to Outage coordination business functions; impacts to Outage coordination business practices.

Revision Description:  This NPRR revises the deadline for ERCOT approval of Resource Outages from an eight-day notice to a 90-day notice while aligning the new Resource Outage timelines to match those of Transmission Outages.

Procedural History:  NPRR365 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR365.  Credit review is pending.

  - NPRR366, Generation Resource Power Factor Criteria Clarification [LCRA].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adjusts the power factor criteria for Generation Resources to align with actual Generation Resource capabilities.

Procedural History:  NPRR366 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR366.  Credit review is pending

  - NPRR371, Telemetered LSL for QSGR [Topaz] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR will allow QSGRs to immediately telemeter the physical Low Sustained Limit (LSL) upon a SCED energy deployment.

Procedural History:  NPRR371 was posted on 5/31/11.  On 6/2/11, the motion to grant NPRR371 Urgent status failed via PRS email vote.  On 6/23/11, PRS voted to grant NPRR371 Urgent status.  There were five opposing votes from the Independent Generator, IOU, Cooperative, Consumer, and IPM Market Segments.  PRS then unanimously voted to table NPRR371.  Credit review is pending.

  - NPRR377, Alternate Inputs to Base Point Deviation Charge [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $150k - $165k; no impacts to ERCOT staffing; impacts to EMS, CSI, S&B, EIS, and ERCOT Storage; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will align the Adjusted Aggregated Base Points (AABP) formula with the inputs to the GREDP measure.  The current formula for AABP inaccurately assesses Base Point Deviation charges for under and over generation when shortened SCED intervals occur.  Additionally, this NPRR includes bill determinants to track the over and under generated volumes and correct language for bill determinants P1 and P2.

Procedural History:  NPRR377 was posted on 6/7/11.  On 6/23/11, PRS unanimously voted to table NPRR377.  Credit review is pending.

  - NPRR381, Registration Requirements for Interconnecting Entities [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (Preliminary):  $18k; no impacts to ERCOT staffing; impacts to Siebel, MMS, and Market Participant Identity Management (MPIM); existing ERCOT business functions can accommodate this NPRR; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR creates a new type of Market Participant called an “Interconnecting Entity” (IE) and requires Entities who wish to interconnect a new Resource or make certain changes to a Resource to register with ERCOT and to comply with ERCOT standards and procedures during the interconnection or change process.

Procedural History:  NPRR381 was posted on 6/8/11.  On 6/23/11, PRS unanimously voted to table NPRR381.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

None.

New Revision Requests Scheduled for Consideration at the August 4, 2011 PRS Meeting

  - NPRR393, SCED Constraint Management Transparency [J. Aron].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR creates a reporting requirement to provide transparency into SCED constraint management decisions.

Procedural History:  NPRR393 was posted on 7/14/11.  On 7/20/11, the motion to grant NPRR393 Urgent status failed via PRS email vote.  Credit review is pending.

  - NPRR394, Outage Reporting [Edison Mission].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies that material derates for Resources are greater than 10MW.

Procedural History:  NPRR394 was posted on 7/14/11.  Credit review is pending.

  - NPRR395, CRR Auction Offer Award Disclosure [DC Energy].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds a requirement for ERCOT to post CRR Auction offer awards following each CRR Auction in the exact fashion CRR Auction bid awards are currently posted on the MIS Public Area.

Procedural History:  NPRR395 was posted on 7/15/11.  On 7/20/11, the motion to grant NPRR395 Urgent status failed via PRS email vote.  Credit review is pending.

  - NPRR396, Reduce Standard O&M Costs [City of Eastland].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR reduces the standard O&M costs permitted to be used in lieu of actual, verifiable O&M costs by NPRR225, Standard Cost Option in Verifiable Costs, which was approved by the ERCOT Board in June 2010.

Procedural History:  NPRR396 was posted on 7/19/11.  Credit review is pending.