| NPRR Number | 210 | NPRR Title | Wind Forecasting Change to P50, Synchronization with PRR841 |  |
| --- | --- | --- | --- | --- |
| Timeline | N/A | Action |  | Tabled Impact Assessment |
| Date of Decision |  | August 4, 2011 |  |  |
| Effective Date |  | Upon System Implementation. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Grey-Boxed |  | 5.7.4, RUC Make-Whole Charges |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) changes the wind forecasting methodology to use a 50% probability of exceedance calculation instead of an 80% for Reliability Unit Commitment (RUC) considerations. |  |  |
| Reason for Revision |  | The P80 forecast provides an unrealistically low prediction of wind output resulting in overcommitment of RUC Resources. Implementation of this NPRR allows ERCOT to commit fewer RUC Resources and still maintain reliability. |  |  |
| Procedural History |  | - On 6/15/10, the ERCOT Board considered NPRR210. - On 6/7/11, a revised Impact Analysis was posted. - On 6/23/11, a Cost Benefit Analysis was posted. - On 6/23/11, PRS considered the impact assessment for NPRR210. - On 7/19/11, a revised Cost Benefit Analysis was posted. - On 7/21/11, PRS again considered the impact assessment for NPRR210. - On 8/4/11, TAC considered the impact assessment for NPRR210. |  |  |
| PRS Decision |  | On 6/23/11, PRS unanimously voted to table the impact assessment for NPRR210 for one month. All Market Segments were present for the vote. On 7/21/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR210 to TAC with a recommended priority of 2013 and rank of 24. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 6/23/11, PRS discussed changing the wind forecasting methodology from P80 to P50 and the affect this would have on RUC. It was requested that further consideration be given to the Cost Benefit Analysis to ensure that the calculation of market benefit from not over-committing Resources is accurate. On 7/21/11, it was stated that benefit of the implementation of NPRR210 is a result of the accurate level of credit being given to Wind-powered Generation Resources (WGRs). |  |  |
| TAC Decision |  | On 8/4/11, TAC unanimously voted to table the impact assessment for NPRR210. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 8/4/11, ERCOT Staff suggested that the impact assessment for NPRR210 be tabled until all Phase 2 and 3 Parking Deck impact assessments are ready for TAC consideration. |  |  |
| Board Decision |  | On 6/15/10, The ERCOT Board approved NPRR210 as recommended by TAC in the 6/3/10 TAC Report. |  |  |

| Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | greercntgreer@aol.com |
| Company | Morgan Stanley |
| Phone Number | 512-497-2986 |
| Cell Number |  |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Ann Boren |
| E-Mail Address | aboren@ercot.com |
| Phone Number | 512-275-7411 |