DSWG Goal #7 for 2011

Greater Participation of Small and Midsize Loads in ERCOT Markets

Scoping Paper

Draft with Consolidated Comments of 19 July 2011

Jay Zarnikau, Frontier Associates

Objectives

- Facilitate the participation of smaller loads (i.e., sites with a demand of less than 100 kW) which can potentially be interrupted or curtailed or aggregations of smaller loads in ERCOT’s market for Non Spinning Reserves, Responsive Reserves. or Regulation.

- Coordinate with the Discovery Across Texas demonstration program (administered by the Center for the Commercialization of Electric Technologies (CCET) and funded jointly by the US DOE and CCET members) to test how advanced meters and new communications technologies might be used to foster the participation of smaller loads in ERCOT’s markets for energy and ancillary services.  We may also wish to consider some coordination with Austin’s Pecan Street Project and pilot projects underway involving Consert and BlueBonnet Electric Coop, Pedernales Electric Coop, and CPS.

- Draft any NPRRs necessary to achieve these objectives.

- Note that many of issues surrounding the participation of smaller loads in SCED are likely to be left to the Loads in SCED task force.  Although issues surrounding the participation of smaller loads in Real Time and Day Ahead markets may nonetheless be reviewed through this project.  And if the Loads in SCED task force decides to delay consideration of smaller loads, such issues could be moved back to this task force.

- Note that this will probably be a multi-year ongoing initiative.  So, we may need to define a realistic set of goals and activities for 2011 and 2012.

Impetus

- We have achieved great success in expanding opportunities for large industrial energy consumers with interruptible or controllable loads to participate in markets for ancillary services.  Yet, some practical barriers must be overcome before smaller interruptible or curtailable loads can be relied upon as a resource to ERCOT.

- A task force within the Demand Side Working Group is presently working on means of permitting larger loads opportunities to participate in SCED, with the hope that this opportunity will be extended to smaller loads over time.

- SB 1125, which has been signed into law by the Governor, requires the Public Utility Commission to open a rulemaking to ensure “that an independent organization certified under Section 39.151 allows load participation in all energy markets for residential, commercial, and industrial customer classes, either directly or through aggregators of retail customers, to the extent that load participation by each of those customer classes complies with reasonable requirements adopted by the organization relating to the reliability and adequacy of the regional electric network and in a manner that will increase market efficiency, competition, and customer benefits.”  The PUC has scheduled a start date for the rulemaking of August, 2011.  While the new law appears to focus on “energy markets” rather than markets for ancillary services capacity, there may nonetheless be impacts on ancillary services opportunities, particularly if ERCOT moves toward the co-optimization of resources across multiple markets.

- FERC (Order 719) encouraged various markets and reliability councils to conduct pilot programs to examine the feasibility of allowing aggregations of smaller energy consumers to provide ancillary services.  Order 719 permits an aggregator of retail customers to bid DR directly into the organized energy market.  FERC also required ISOs to assess the technical feasibility of smaller demand response resources providing ancillary services and report their findings within one year.  And FERC encouraged the development of a communications protocol for small DR resources.  (See Steve Isser’s presentation to the DSWG on April 23, 2010.)

- Southern California Edison has explored how residential consumers could provide non-spinning reserves.  (See Jeremy Laundergan’s presentation to the DSWG from April 23, 2010)  Similarly, ISO-NE conducted a pilot.

Opportunities

- The mass deployment of advanced meters in the service areas of CenterPoint, Oncor, AEP and TNMP provides infrastructure that can be used to monitor the demand response (DR) of smaller loads to a deployment instruction.  AMI systems also provide a channel for an aggregator to communicate a DR instruction to residential or small commercial energy consumers.

- The DOE-funded Discovery Across Texas smart grid demonstration project in the CenterPoint service area provides an opportunity to test and study how a community with advanced equipment control technologies could curtail loads in response to dispatch signals.  (See http://www.electrictechnologycenter.com/doe.html)  Similarly, Austin’s Pecan Street Project and pilot projects underway involving Consert with BlueBonnet Electric Coop, Pedernales Electric Coop, and CPS may provide opportunities for experimentation.

The Obstacles

- Under current market rules, it is very difficult for aggregations of smaller loads to participate in ERCOT’s markets for energy and ancillary services.  Consequently, the participation of smaller loads has been limited to Emergency Interruptible Load Service (EILS).

- Under current market rules, load participation in ancillary services markets (e.g., Non Spinning Reserves, Responsive Reserves, and Regulation Service) is limited to Load Resources meeting the following key qualifications:

  - Registration with ERCOT as a Resource Entity.

  - Representation in the ERCOT markets by a Qualified Scheduling Entity.

  - Assignment by the Load’s Transmission & Distribution Service Provider (TDSP) to a single Resource Node on the ERCOT Network Operations Model.

  - A minimum of 100 kW of available demand response (the minimum offer into the AS markets) at the Resource Node level.

  - Full-time telemetry to ERCOT, through the QSE, via ICCP across the ERCOT Wide-Area Network.  Telemetry signals include a number of data points communicating the status of the Load Resource and are fed into the ERCOT Ancillary Services Monitor in real-time.  It would be prohibitively expensive to install such equipment on each residential or small commercial load within a Load Resource aggregation.  AMI systems and their portals are not presently set up to provide real-time information (although they could perhaps be reconfigured to do so).  Consequently, participation of smaller loads in ancillary services markets may require some relaxation of ERCOT’s requirements for telemetry.

- An alternative approach is to leverage wireless broadband networks via the retail electric providers, aggregators or qualified scheduling entities.  While they can potentially provide real-time status of, signaling to, and response by Load Resources, this requires that the resource communicate directly via a gateway or home energy management (HEM) system within each residence.  It also requires a management and control system (software) capable of interacting with the gateways/HEMs and aggregating the resources. These capabilities are being developed, but are in their infancy and will likely take 3-5 years to achieve the required maturity and reliability.

- While profiling methods were established (prior to the advent of AMI system deployments) to facilitate the participation of smaller loads in ERCOT’s energy markets, the requirements for “Representative IDRs” to permit the monitoring of a sample of curtailable loads within the population of load management program participants proved to be prohibitively expensive.

- The network modeling requirement combined with the 100 kW minimum offer may prove to be a problem for aggregations spread out over a large geographic area (e.g., an aggregation of chain stores with sites in many areas of the state).

- It may be difficult to forecast residential and small commercial load levels one day in advance with sufficient accuracy.  (For an ancillary service, a QSE must generally provide at least 90% of an amount offered to the market.)

- Some promising control technologies require that an existing meter be replaced with a new meter which incorporates communications and control equipment from a particular technology provider (e.g., Consert’s system).  Thus, new AMI meters installed by a utility may need to be replaced with a different meter.  Tariffs are in-place to compensate the transmission and distribution utility for this activity.  Yet, some have questioned whether a transmission and distribution utility can expeditiously replace meters while simultaneously pursuing their AMI deployments.

Suggested Work Plan

Explore the following issues:

- Could ERCOT’s market rules be revised to allow statistical sampling in lieu of telemetry upon all members of an aggregated Load Resource?   (Note that Southern California Edison installed 500 telemetry sensors to estimate the load levels of 2300 air conditioning loads in their pilot.)

- What are the respective costs associated with statistical sampling vs. telemetry at each site?

- How can telemetry standards be relaxed to ease economic burden yet retain visibility/reliability by System Operators? For example, is one minute telemetry acceptable?   Should ICCP be required for all ancillary services, or would “mesh networks” suffice for Non Spinning Reserves?

- What would be involved in developing an algorithm to estimate the total demand reduction from a sample of premises involved in a load control program?  How large a sample would be required?

- Could the real-time signals, extrapolated to the population of loads providing an ancillary service, be later checked against AMI data for purposes of measurement & verification?

- Could ERCOT’s statistical Load profiling models or EILS default baseline methodologies be combined with telemetry data to provide a refined estimate of the available load reduction potential?

- Could ERCOT’s load profile model results or EILS default baseline methodologies be used to forecast the amount of Non Spinning Reserves available from an aggregation that relied upon air conditioning direct load control to provide a Resource?

- For water heater control or the control of appliances, could end-use profiles from load research studies be used, or would end-use metering be required?

- Could the requirement that Resources be assigned to a node be waived for an aggregation of small Load Resources?

- What is the true potential for aggregating resources over wireless broadband in terms of technology and the Texas market structure?

- Should we develop something similar to what CAISO calls a “Sub-LAP”?

- Should the demand reduction associated with small loads be scaled up for transmission and distribution line losses?

Participate in the design and/or review of various experiments at Discovery Across Texas and/or the Pecan Street Project.

- Would ERCOT’s system operators be willing to participate in some test curtailments at the Discovery demonstration site to determine how the communications and control technology might work?

- Would CenterPoint or Austin Energy be willing to participate?

- Would a retail electric provider be willing to participate?

Timeline

July 2011:		DSWG Goal 7 Subcommittee reviews and refines this document

August 2011:		Review ideas at DSWG monthly meeting to solicit further feedback

September 2011:	Discussions with ERCOT system operators to determine their needs

Contact Pecan Street Project to determine their interest in this topic

Fall 2011:	Subcommittee reviews CCET’s plans for Discovery demonstration project and other pilot programs

???