| NOGRR Number | 073 | NOGRR Title | Entity Responsible for Load Shed During EEA Level 3 |
| --- | --- | --- | --- |
| Date Posted |  | May 17, 2011 |  |

| Nodal Operating Guide Section Requiring Revision | 4.5.3.4, Load Shed Obligation |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | None. |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) clarifies who is responsible to shed Load during an Energy Emergency Alert (EEA) Level 3 event. This NOGRR also clarifies that ERCOT is responsible for directing Load shedding. |
| Reason for Revision | This NOGRR identifies the Entity responsible for Load shed during an EEA Level 3 event within the Operating Guides and aligns the relevant Operating Guide language with North American Electric Reliability Corporation (NERC) Reliability Standard EOP-003, Load Shedding Plans, and paragraph (4)(a) of Protocol Section 6.5.9.4.2, EEA Levels. |
| Overall Market Benefit | Clarifies Entity responsibilities during an EEA Level 3 event. |
| Overall Market Impact | Unknown. |
| Consumer Impact | None. |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Unknown. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Clarifies Entity responsibilities during an EEA Level 3 event. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on Behalf of Nodal Protocol and Guides Resolution Task Force (NPGRTF) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

Please note that NOGRR072, Administrative Changes for June 1, 2011 Nodal Operating Guides, also proposes revisions to Section 4.5.3.4

Proposed Guide Language Revision

- 4.5.3.4	Load Shed Obligation

(1)	Pursuant to paragraph (4)(a) of Protocol Section 6.5.9.4.2, EEA Levels, and paragraph (4)(a) of Section 4.5.3.3, EEA Levels, of these Operating Guides, ERCOT shall direct TOs to shed firm Load in accordance with the ERCOT Load Shed Table below.

(2)	Entities with Load shedding obligations need to be represented by a TO with 24x7 operations, Hotline communications with ERCOT, and operational authority over breakers.

(3)	Percentages for EEA Level 3 Load shedding obligations, as listed in the table below, are based on the previous year’s TSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and modified on an annual basis.

2010 ERCOT Load Shed Table

| Transmission Operator | Previous Years Total Transmission Operator Load (MW) |
| --- | --- |
| American Electric Power | 9.33 |
| Austin Energy | 3.96 |
| Brazos Electric Power Cooperative | 4.62 |
| CenterPoint Energy | 26.56 |
| City of Bryan | 0.57 |
| City of College Station | 0.29 |
| City of Denton | 0.49 |
| City of Garland | 0.74 |
| CPS Energy | 7.34 |
| Greenville Electric Utility Service | 0.17 |
| Lower Colorado River Authority | 5.21 |
| Magic Valley Electric Cooperative | 0.65 |
| Oncor | 35.55 |
| Public Utility Board of Brownsville | 0.43 |
| Rayburn Country Electric Cooperative | 0.93 |
| South Texas Electric Coop-Medina Electric Coop | 0.67 |
| Texas New Mexico Power | 2.35 |
| Tex-La | 0.14 |
| ERCOT Total | 100.00 |