- Current Year Flat Start Update

  - Based on SSWG Dataset A Summer On-Peak Case.

  - Updated Dynamics Data being collected.

  - Schedule

    - Feb 7 - ERCOT distributes power flow case to DWG members - completed

    - Feb 21 – Non-wind dynamic data sets provided – pending

    - Mar 4 – First Pass distributed for review. Wind Models provided - pending

    - Mar 18 - Flat start completed (includes the non-wind and wind flat start)

- UFLS Study –

  - DWG members to provide UFLS models to ERCOT by March 18

  - Study to be complete by December 2011

- Transition to Version 32-

  - Schedule

    - Review Version 32 Flat Start with DWG on March 24 using current year flat start.

    - September 2011 - Prepare Future Year Flat Start in Version 32.

  - Progress

    - Non-wind generator models acquired and being tested by ERCOT Staff

    - Conversion of Wind generator models developed in Version 31.

      - All but one model received.

      - Models with issues are proprietary to manufacturer.

      - Models being tested by ERCOT Staff.

      - Issues being resolved with Generation Owner, TSP, and Manufacturer