February 15:	Last NDSWG meeting.

The following is a summary of the main topics of discussion at NDSWG:

- Redaction of state estimator data topic was discussed. Members proposed some ideas around the question of how far away (how many stations?) the state estimator report should be excluded, so that resource specific output levels could not continually and systematically be derived. NDSWG is willing to work with State Estimator Task Force on reaction data methodology and will attend its first meeting on March 1st.

- Per ERCOT Network Operations Modeling Expectations, “ERCOT will send email to owner of the equipment stating that the A2E is expected to occur and that no problems are anticipated”.  It was determined that due to the rolling outages event, ERCOT has not sent out email to market participants but phone call to equipment owner. ERCOT will continue to work on A2E email notification process and will update the group on the next NDSWG meeting.

- The following items were discussed for Nodal outage scheduler update:

  - The group recommended that ERCOT create an outage class in the outage scheduler for relocating equipment, and asked that the “energization” and “retirement” outages have the actual start and actual end automatically populated.

  - Need to be able to change restoration time rather than fixed time.

  - For outages that restored due to storm need to go back to the old outages. Recommended a new outage type call “temporary restoration”.

  - Ability to enter multiple extensions for existing outages.

Woody Rickerson will investigate options and will update the group.

- Woody informed the group that he will send out a defect list for MPs to review. The list should have some outage scheduler improvements that are schedule for production on 3/23/2011. Some TSP issues are:  A line can now be found and outaged from both the “FROM” and “TO” stations, and TSPs will be able to shorten outages to less than the restoration time.

- Interim update report topic was discussed. ERCOT agreed that some changes (nomcrs) should not be included in the interim update report. An Interim Report and Clerification Workshop is scheduled on March 15, 2011 for members to attend and work with ERCOT on what should not be in the interim update report.

- Emergency replacement of fail equipment topic was discussed. Downstream Production Changes (DPC) process can be used for this type of work. Any questions about emergency work need to send to Woody and will be consider based on ERCOT discretion.

Next NDSWG meeting: March 15, 2011