## Slide 1
RELIABILITY AND OPERATIONS SUBCOMMITTEE Report to TAC Austin, TX August 4, 2011
Kenneth A. Donohoo, P.E.
Chairperson
Oncor Electric Delivery Company LLC
Notes: <number>

## Slide 2: TAC Voting Items
ERCOT TAC Meeting - ROS Report
08/04/2011 Ken Donohoo
<number>
None

## Slide 3: PLWG/CMWG Effort
ERCOT TAC Meeting - ROS Report
08/04/2011 Ken Donohoo
<number>
Transmission Planning Process is Superior to Other Regions and Continues to Improve
Planning Data is Consistent with Operations Data
  Significant Nodal Planning Go-Live Effort
Transmission Planning Criteria
  Defines Minimum Reliability Planning Requirements
  Incorporates NERC Planning Standard
  ROS Review, Clarify and Update
Part of Holistic Solution (ERCOT Board)
Goal is Consistent Operations and Planning Environments

## Slide 4: TRANSMISSION PLANNING SENSITIVITIES
ERCOT TAC Meeting - ROS Report
08/04/2011 Ken Donohoo
<number>
Highest – Generation Commitment/Dispatch
  Existing Generation
  Renewable Variability
  Future Interconnections & Mothball/Retirements
  Environmental Limitations
  Forced Outages/Derates
Higher – Transmission Topology
  Out of Service/Clearances
  Ratings
  Impedance
High – Load MW & Mvar
  Location and Coincidence
  Distance From Generation

## Slide 5: CONGESTION COSTS Top Ten Binding Each Month
ERCOT TAC Meeting - ROS Report
08/04/2011 Ken Donohoo
<number>
DEC 2010 | JAN 2011 | FEB 2011 | MAR 2011 | APR 2011 | MAY 2011 | Subtotal
21,805,811 | 375,549,342 | 122,383,944 | 19,252,807 | 39,629,295 | 73,222,698 | $651,843,897
Source: Monthly ERCOT System Planning Report to ROS

## Slide 6: PLWG/CMWG Effort
ERCOT TAC Meeting - ROS Report
08/04/2011 Ken Donohoo
<number>
Transmission Planning Criteria Clarification/Improvement
  Thermal Generation Unavailability
    Forced Outages/Derates
    Ancillary Service
    Environmental Limits
  Wind
    Low/High
    Off Peak
    Unavailability
  Operational Constraints/Limits
  Transmission Maintenance Outages
  Autotransformer Outages
  Dynamic Line Ratings
  Load Variability

## Slide 7: PLWG/CMWG Effort
ERCOT TAC Meeting - ROS Report
08/04/2011 Ken Donohoo
<number>
Autotransformer Outages
  Eight to Twelve Weeks to Replace
    DOT Transportation Permit Process
    May require additional station improvements
  Units require 18 to 24 months to Build
Load Variability
  50% Percentile
    Normal Weather 104 Degrees F
  90% Percentile
    High Temp 107 Degrees F
    Low Temp

## Slide 8: PLWG/CMWG Effort
ERCOT TAC Meeting - ROS Report
08/04/2011 Ken Donohoo
<number>
Transmission Cost Impact
Very Rough Estimates
  Additional Autotransformers
    DFW area 6 to 10 Additional 345/138 kV Autotransformers
    $50 to $100 Million
  Three to Five year acceleration of Transmission Projects
  New Projects
  More Dynamic Reactive Devices

## Slide 9: ROS Next Meetings
ERCOT TAC Meeting - ROS Report
08/04/2011 Ken Donohoo
<number>
Thursday, August 11, 9:30 AM at ERCOT Austin