## No Congestion
Fixed Price w/Separate QSEs
|  |  |  | Qty Disp | LMP | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1200 | 5 |  | 300 | -5600
LSE QSE | 5 | MW | 60 |  | 1200 | 5
DR QSE | 5 | MW | 1000 |  | 1200 | -5 | -6000 | -5900 | -100 | <= DR QSE fee
NOTE: Customers on fixed price contracts that offer into SCED would have zero risk of price exposure;
This would encourage Loads to enter into long-term contracts but also respond to price; would encourage 3rd party DR QSEs
Need to develop a method to accommodate NOIE LRs represented by 3rd party QSEs
Note: Volumetric flow adds the DR QSE load back to the LSE QSE to ensure there is no RT Imbalance payments
Fixed Price w/One QSE
|  |  |  | Qty Disp | LMP | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1200 | 5 |  | 300 | -5600
LSE QSE | 5 | MW | 60 |  | 1200 | -5 | -6000 | -5900 | -100 | <= DR QSE fee
Indexed Price w/Separate QSEs
|  |  |  | Qty Disp | LMP | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1200 | 5 |  | 6000 | 100
LSE QSE | 5 | MW | Index |  | 1200 | 5 | 6000
DR QSE | 5 | MW |  |  | 1200 | -5 | -6000 | -5900 | -100 | <= DR QSE fee
Indexed Price w/One QSE
|  |  |  | Qty Disp | LMP | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1200 |  |  | 0 | 0
LSE QSE | 5 | MW | Index |  | 1200 |  | 0 |  | 0
Note on D4: ercot: fixed price in retail contract btwn customer and LSE QSE
Note on D5: ercot: Offer price at which the DR provider was willing to curtail
Note on H5: ercot:
Note on I3: ercot: Customer will be billed for energy not consumed and will pay this to the LSE QSE

## Congestion
Example 1: Fixed Price w/Separate QSEs
Entity |  |  |  | Qty Disp | LMP | LMPz | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1000 | 800 | 5 |  | 300 | -4600
LSE QSE | 5 | MW | 60 |  | 1000 | 800 | 5 |  |  | 0
DR QSE | 5 | MW | 1000 |  | 1000 | 800 | -5 | -5000 | -4900 | -100 | *as per contract
Example 2: Fixed Price w/Separate QSEs
Entity |  |  |  | Qty Disp | LMP | LMPz | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1000 | 1200 | 5 |  | 300 | -4600
LSE QSE | 5 | MW | 60 |  | 1000 | 1200 | 5 |  |  | 0
DR QSE | 5 | MW | 1000 |  | 1000 | 1200 | -5 | -5000 | -4900 | -100 | *as per contract
Example 3: Fixed Price w/One QSE
|  |  |  | Qty Disp | LMP | LMPz | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1000 | 800 | 5 |  | 300 | -4600
LSE QSE | 5 | MW | 60 |  | 1000 | 800 | -5 | -5000 | -4900 | -100 | *as per contract
Example 4: Fixed Price w/One QSE
|  |  |  | Qty Disp | LMP | LMPz | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1000 | 1200 | 5 |  | 300 | -4600
LSE QSE | 5 | MW | 60 |  | 1000 | 1200 | -5 | -5000 | -4900 | -100 | *as per contract
Example 5: Indexed Price w/Separate QSEs
|  |  |  | Qty Disp | LMP | LMPz | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1000 | 800 | 5 |  | 4000 | -900
LSE QSE | 5 | MW | Index |  | 1000 | 800 | 5 | 4000
DR QSE | 5 | MW | 1000 |  | 1000 | 800 | -5 | -5000 | -4900 | -100 | *as per contract
Example 6: Indexed Price w/Separate QSEs
|  |  |  | Qty Disp | LMP | LMPz | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1000 | 1200 | 5 |  | 6000 | 1100
LSE QSE | 5 | MW | Index |  | 1000 | 1200 | 5 | 6000
DR QSE | 5 | MW | 1000 |  | 1000 | 1200 | -5 | -5000 | -4900 | -100 | *as per contract
Example 7: Indexed Price w/One QSE
|  |  |  | Qty Disp | LMP | LMPz | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1000 | 800 | 0 |  | 0 | 0
LSE QSE | 5 | MW | Index |  | 1000 | 800 | 0 | 0 | 0 | 0 | *as per contract
Example 8: Indexed Price w/One QSE
|  |  |  | Qty Disp | LMP |  | Entity Load | WS Trxn | Retail Trxn | Balance
Load Resource | 5 | MW |  | 5 | 1000 | 1200 | 0 |  | 0 | 0
LSE QSE | 5 | MW | Index |  | 1000 | 1200 | 0 | 0 | 0 | 0 | *as per contract