## Slide 1
TAC RELIABILITY AND OPERATIONS SUBCOMMITTEE
CMWG/PLWG
Planning Criteria Review/Update
Report to ROS
Austin, TX August 11, 2011
Kenneth A. Donohoo, P.E.
Chairperson
Oncor Electric Delivery Company LLC

## Slide 2: TAC ROS CMWG/PLWG Effort
Part of Holistic Solution (ERCOT Board Directive)
Transmission Planning Process is Superior to Other Regions and Continues to Improve
Goal is Consistent Operations and Planning Environments
Transmission Planning Criteria
  Defines Minimum Reliability Planning Requirements
  Incorporates NERC Planning Standard
  ROS Review, Clarify and Update
Planning Data is Consistent with Operations Data
  Significant Nodal Planning Go-Live Effort

## Slide 3: ESTIMATED CONGESTION COSTS Top Ten Binding Each Month
DEC 2010 | JAN 2011 | FEB 2011 | MAR 2011 | APR 2011 | MAY 2011 | JUL 2011
21,805,811 | 31,295,778 | 122,383,944 | 19,252,807 | 39,629,295 | 73,222,698 | 50,733,613
Source: Monthly ERCOT System Planning Report to ROS
Estimated Congestion Cost (Shadow Price X Limit)
Does not include some Congestion Costs during EEA Events
Subtotal $358,323,946

## Slide 4: TRANSMISSION PLANNING SENSITIVITIES
Highest – Generation Commitment/Dispatch
  Existing Generation
  Forced Outages/Derates
  Renewable Variability
  Future Interconnections & Mothball/Retirements
  Environmental Limitations
Higher – Transmission Topology
  Out of Service/Clearances
  Ratings
  Impedance
High – Load MW & Mvar
  Location and Coincidence
  Distance From Generation

## Slide 5: TAC ROS CMWG/PLWG Effort
Autotransformer Outages
  Eight to Twelve Weeks to Replace
    DOT Transportation Permit Process
    May require additional station improvements
  Units require 18 to 24 months to Build
Load Variability
  50% Percentile
    Normal Weather High Temp 104 Degrees F
  90% Percentile
    High Temp 107 Degrees F
    Low Temp 8 Degrees F

## Slide 6: TAC ROS CMWG/PLWG Effort
Transmission Planning Criteria Clarification/Improvement
  Thermal Generation Unavailability
    Forced Outages/Derates
    Ancillary Service
    Environmental Limits
  Wind
    Low/High
    Off Peak
    Unavailability
  Operational Constraints/Limits
  Transmission Maintenance Outages
  Autotransformer Outages
  Dynamic Line Ratings
  Load Variability

## Slide 7: TAC ROS CMWG/PLWG Effort
Transmission Cost Impact
Very Rough Estimates
  Additional Autotransformers
    DFW area 6 to 10 Additional 345/138 kV Autotransformers
    $50 to $100 Million
  Three to Five year acceleration of Transmission Projects
  New Projects
  More Dynamic Reactive Devices
    $40 Million Each (+300/-265 Mvar)