DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, June 16, 2011 – 9:30 a.m.

Attendance

Members:

| Alvarez, Eli | Brownsville PUB |  |
| --- | --- | --- |
| Armke, James | Austin Energy |  |
| Ashley, Kristy | Exelon Generation | Alt. Rep. for D. Vander Laan |
| Chase, David | Texas Power | Alt. Rep. for T. Marsh |
| DeTullio, David | Air Liquide |  |
| DeWitt, Charles | LCRA |  |
| Donohoo, Ken | Oncor Electric Delivery |  |
| Garrett, Mark | Direct Energy |  |
| Gedrich, Brian | NextEra Energy |  |
| Goff, Eric | Reliant Energy Retail Services | Alt. Rep. for R. Keetch |
| Green, Bob | Garland Power and Light |  |
| Gutierrez, Fernando | BP Energy |  |
| Hatfield, Bill | LCRA |  |
| Helyer, Scott | Tenaska Power Services |  |
| Holloway, Harry | GDF Suez Energy Marketing |  |
| Hudson, Tony | Texas-New Mexico Power | Alt. Rep. for R. McDaniel |
| Jones, Randy | Calpine |  |
| Kemper, Wayne | CenterPoint Energy | Alt. Rep. for P. Rocha |
| Kunkel, Dennis | AEP Service Corporation |  |
| Moore, John | South Texas Electric Cooperative |  |
| Rocha, Paul | CenterPoint Energy |  |
| Ryno, Randy | Brazos Electric Power Cooperative |  |
| Schwarz, Brad | E.ON Climate and Renewables |  |
| Williams, Blake | CPS Energy |  |
| Wittmeyer, Bob | Residential Consumer |  |

Guests:

| Brandt, Adrianne | Austin Energy |  |
| --- | --- | --- |
| Burke, Tom | APM |  |
| Burkehalter, Bob | ABB |  |
| Culberson, JC | Lonestar Transmission |  |
| Gibbens, David | CPS Energy |  |
| Grasso, Tony | PUCT |  |
| Henry, Mark | Texas Reliability Entity |  |
| Hering, Michael | BTU |  |
| Horvath, Julius | Lone Star Transmission |  |
| Islam, Atiqul | Texas Tech University |  |
| Kee, David | CPS Energy |  |
| Kolodziej, Eddie | Customized Energy Solutions |  |
| Lane, Rob | Luminant |  |
| Lang, Chris | Golden Spread Electric Cooperative |  |
| Looney, Sherry | Luminant |  |
| Martinez, Alberto | ECS, Inc. |  |
| McMinn, Shane | Golden Spread Electric Cooperative |  |
| Myers, Brad | AEP |  |
| Niemeyer, Sydney | NRG | Via Teleconference |
| Owens, Frank | TMPA |  |
| Penney, David | Texas Reliability Entity |  |
| Reid, Walter | Wind Coalition |  |
| Thormahlen, Jack | LCRA |  |
| Wagner, Marguerite | EMMT |  |
| Wise, Michael | Golden Spread Electric Cooperative |  |
| Zaragoza, Steve | Garland Power and Light |  |

ERCOT-ISO Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Anderson, Troy |  |  |
| Billo, Jeff |  |  |
| Blackmer, Kelly |  | Via Teleconference |
| Flores, Isabel |  |  |
| Frosch, Colleen |  |  |
| Landin, Yvette |  |  |
| Rickerson, Woody |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Villanueva, Leo |  |  |
| Wattles, Paul |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

ROS Chair Ken Donohoo called the ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Donohoo directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

There were no changes to the agenda.

Technical Advisory Committee (TAC) Update (see Key Documents)

Mr. Donohoo reviewed the disposition of revision requests considered at the June 2, 2011 TAC meeting.  Mr. Donohoo noted the TAC remand of Nodal Operating Guide Revision Request (NOGRR) 069, Relay Misoperation Reporting Changes for Consistency with ERO-RAPA Proposal – Urgent, and that a meeting of the System Protection Working Group (SPWG), the Texas Reliability Entity (Texas RE) and other interested parties is scheduled for June 29, 2011 to resolve outstanding issues.

Bob Green moved to table NOGRR069.  Brad Schwarz seconded the motion.  The motion carried unanimously.

Status Reports – ERCOT Board/TAC Assignments re February 2, 2011

Mr. Donohoo reviewed recommendation and working group assignments.  It was noted that Recommendation 6A will be considered by the Operations Working Group (OWG) rather than the Performance Disturbance Compliance Working Group (PDCWG).

ROS Voting Items (see Key Documents)

Draft May 12, 2011 ROS Meeting Minutes

Mr. Schwarz moved to approve the May 12, 2011 ROS meeting minutes as posted.  Brian Gedrich seconded the motion.  The motion carried unanimously.

Nodal Protocol Revision Request (NPRR) 315, Revision of Responsive Reserve Measure to Net Dependable Capability – Urgent

Mr. Green moved to recommend approval of NPRR315 as recommended by OWG in the 5/2/11 OWG Comments.  Randy Ryno seconded the motion.  The motion carried with two abstentions from the Independent Power Marketer (IPM) and Municipal Market Segment.

NPRR365, Change in Resource Outage Approvals from Eight to 90 Days

Mr. Schwarz noted that the Wholesale Market Subcommittee (WMS) would like the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) to confer with the OWG to determine an approval day, and that there is not stakeholder consensus on a 90-day timeline.  Mr. Goff added that there was a WMS motion to recommend rejection of NPRR365, but that the body deferred action until after the Public Utility Commission of Texas (PUCT) workshop on June 29-30, 2011 pertaining to resource and reserve adequacy and shortage pricing.  Frank Owens noted that OWG is seeking additional direction regarding the pro/con list, and offered that interested parties agree that there is a timeline issue to be addressed but are unsure how to reach agreement.

Jay Teixeira noted that 90 days is the current schedule for requesting Transmission Outages; Mr. Donohoo added that 90 days was selected for consistency.  Mr. Schwarz noted that he was unconvinced that a more accurate Congestion Revenue Right (CRR) model will result from a longer timeline, and opined that a more accurate CRR model should not be the focus of an ERCOT reliability function.  Market Participants debated the relationship between CRRs and reliability; noted increased calls to perform economic analysis for Transmission Outages; and discussed economic impacts of not doing timely maintenance, including compliance issues.  Woody Rickerson noted the June 29-30, 2011 PUCT workshop does not specifically pertain to NPRR365, but to outages and approvals for both generation and transmission.  Market Participants debated whether NPRR365 would have made a difference, had it been in effect on February 2, 2011.

Mr. Goff moved to recommend that PRS table NPRR365 until after the PUCT Workshop, and to direct OWG to take the workshop into consideration to work through the previously developed list of pros and cons.  Mr. Schwarz seconded the motion.  Mr. Wittmeyer encouraged Mr. Rickerson to distribute his presentation regarding NPRR365.  Mr. Green suggested that OWG take straw polls in addition to discussing pros and cons.  The motion carried with one objection from the Investor Owned Utility (IOU) Market Segment.

NPRR366, Generation Resource Power Factor Criteria Clarification

Kristy Ashley moved to recommend that NPR366 be tabled for one month.  Mr. Ryno seconded the motion.  The motion carried unanimously.

NPRR369, Black Start Service Requirement Revisions

Mr. Green moved to recommend that PRS table NPRR369 until after QMWG and the Black Start Working Group (BSWG) review NPRR369 and provide comments as needed.  Mr. Helyer seconded the motion.  The motion carried unanimously.

NOGRR068, Hydro-Responsive Reserve

Isabel Flores stated that comments to NOGRR068 are forthcoming to further clarify the requirements of hydro-powered Resources and compliance concerns expressed by LCRA.  ROS discussed the urgency to implement NOGRR068 and agreed that it should be effective upon TAC approval.

Bill Hatfield moved to recommend approval of NOGRR068 as submitted with a proposed effective date of “upon TAC approval” and to forward NOGRR068 and the Impact Analysis to TAC.  Randy Jones seconded the motion.  The motion carried unanimously.

NPRR387, Hydro RRS Deployment UFR Set Point

Mr. Ryno moved to waive notice in order to consider NPRR387.  Mr. Green seconded the motion.  The motion carried unanimously.

Mr. Green moved to recommend NPRR387 be granted Urgent status.  Mr. Hatfield seconded the motion.  The motion carried unanimously.

Mr. Green moved to endorse NPRR387 as submitted.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

NPRR379, EILS Dispatch Sequence and Performance Criteria Upgrades

Paul Wattles reviewed NPRR379, noting that NPRR379 is the result of lessons learned during the February 2, 2011 Energy Emergency Alert (EEA) event and the first deployment of the Emergency Interruptible Load Service (EILS).  Mr. Wattles requested ROS endorsement of NPRR379 and expressed hope that the item would be approved by the ERCOT Board in time for the next EILS contract period.  Mr. Kunkel expressed concern that there continues to be no analysis on potential impacts to the transmission grid if EILS is dispatched in large blocks in a particular zone; and opined that it would be helpful if Transmission Operators had insight to the locations of EILS participants.

Mr. Goff moved to endorse NPRR379 as submitted.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

NOGRR058, Deletion of Section 5, Planning

Mr. Ryno moved to recommend approval of NOGRR058 as amended by the 6/9/11 Planning Working Group (PLWG) comments.  Wayne Kemper seconded the motion.  The motion carried unanimously.

PGRR005, New Planning Guide Section 5, Planning Criteria

Mr. Ryno moved to recommend approval of PGRR005 as amended by the 6/13/11 CenterPoint Energy comments.  Fernando Gutierrez seconded the motion.  The motion carried unanimously.

NOGRR063, Additional Method for Submitting Back-up Control Plans

Harry Holloway moved to recommend approval of NOGRR063 as recommended by OWG in the 5/18/11 OWG Report.  Mr. Green seconded the motion.  The motion carried unanimously.

NOGRR064, QSE Acknowledgement of VSS Dispatch Instructions

NOGRR066, ERCOT WAN Connection Termination Requirement

Mr. Kemper moved to recommend approval of NOGRR064 and NOGRR066 as recommended by OWG in the respective 5/18/11 OWG Reports.  Mr. Ryno seconded the motion.  The motion carried unanimously.

BSWG/BSWG Scope

Kelly Blackmer and Steve Zaragoza presented language revisions to convert the Black Start Task Force to a working group.

Mr. Wittmeyer moved to establish the BSWG, approve the BSWG Scope, and elect Mr. Zaragoza and Mr. Blackmer as BSWG Chair and Vice Chair respectively.  Mr. Green seconded the motion.  Market Participants discussed that Non Disclosure Agreements are submitted to ERCOT Legal, but that stakeholders are unaware of the approval process for participation in a group after the form is submitted.  The motion carried unanimously.

2011 ROS Goals

Mr. Donohoo reviewed the approved 2011 TAC Goals; noted that some of the items are specific to ROS and are already being worked; and asked if ROS would like to propose additional goals.  Mr. R. Jones noted that data suggests that Primary Frequency Control is declining in the ERCOT System and other Independent System Operators (ISOs), and suggested that ROS might entertain a goal to provide leadership on improving Primary Frequency Response in the ERCOT Region.  Ms. Flores recommended that consideration also be given to qualification and performance standards for market mechanisms that might be proposed to improve Primary Frequency Response.  Mr. R. Jones added that consideration should be given to revising PDCWG procedures to codify performance evaluation.

Nodal Planning Go Live Status Reports (see Key Documents)

Steady State Working Group (SSWG) Report

Tony Hudson reported on recent SSWG activities.  Ms. Wagner expressed concern that temperature ratings are no longer required to be posted due to language struck from the SSWG manual, and requested that PLWG take up consideration of the issue.

Draft Planning Modeling Expectations Whitepaper Outline

Mr. Teixeira reviewed the timeline for Data Set A and other planning model activities.

Statement of Work

Mr. Teixeira noted that ERCOT will begin to prepare a Statement of Work for parts 3, 7, and 8 of SCR760, Recommended Changes Needed for Information Model Manager and Topology Processor for Planning Models, once Siemens has updated cost estimates for the items.

Update: SCR760

Mr. Teixeira reported that requirements work continues on parts 2, 4, 5, and 9 for SCR760, and that Siemens has received requirements for parts 3, 7, and 8 of SCR760.

Audit Point/Naming Convention/Other Binding Document

Mr. Teixeira noted proposed revisions to the TAC-approved naming convention document have been sent to the Network Data Support Working Group (NDSWG) for review.  Mr. Donohoo added that ROS will consider the revisions after they are vetted by NDSWG.

Emerging Technologies Working Group (ETWG) (see Key Documents)

Mr. Gedrich reported that no action items were assigned to the ETWG as a result of the April 25, 2011 Solar Workshop; that ETWG is anticipating a more thorough discussion of ERCOT’s definition of a Wind-powered Generation Resource (WGR) and whitepaper at the June 30, 2011 ETWG meeting; and that ETWG will bring forward an NPRR regarding storage.

State Estimator Redaction Task Force (SERTF) (see Key Documents)

Mr. R. Jones thanked NDSWG for its assistance in recent SERTF efforts.

ERCOT Reports (see Key Documents)

Business Integration

Troy Anderson presented the Business Integration report and a 2011 Project Portfolio update.

Parking Deck Impact Assessment

Mr. Anderson reviewed the proposed Phases 2 and 3 Nodal Parking Deck Impact Assessments for ROS consideration.

Mr. Green moved to endorse the Impact Analysis documents for the following Parking Deck revision requests, and to affirm the preliminary funding amounts and ranks as presented:

- NPRR181, FIP Definition Revision

- NPRR207, Unit Deselection

- NPRR210, Wind Forecasting Change to P50, Sync with PRR841

- NPRR222, Half-Hour Start RUC Clawback

- NPRR240, Proxy Energy Offer Curve

- NPRR241, Aggregate Incremental Liability (AIL) Calculation and Credit 	Reports Publish Corrections

- NPRR244, Clarification of Other Binding Documents

- NPRR256, Sync with PRR787, Add Non-Compliance Language to QSE Performance Standards

- NPRR258, Sync with PRR824 and PRR833

- NPRR272, Definition and Participation of Quick Start Generation Resources

Mr. R. Jones seconded the motion.  Mr. Goff expressed his preference that ROS not endorse funding levels but rather the order and rank presented, based on the resources and dollars available.  The motion carried unanimously.

2012 Project Prioritization

Mr. Anderson presented the proposed 2012 Project Prioritization.

Mr. Goff moved to endorse ERCOT’s initial rank and preliminary funding by project for the 2012 Project Prioritization.  Mr. Ryno seconded the motion.  The motion carried unanimously.

May System Planning Reports

No questions were offered regarding the posted System Planning Report.

May Operations Reports

No questions were offered regarding the posted Operations Report.

May ROS Working Group/Task Force Reports (see Key Documents)

Critical Infrastructure Protection Working Group (CIPWG)

No CIPWG report was filed.

Dynamics Working Group (DWG)

Charles DeWitt reviewed the posted DWG report.

NDSWG

No questions were offered regarding the posted NDSWG report.

NERC Reliability Working Group (NRWG)

JC Culberson reported that the Texas RE would attend the next NRWG meeting to discuss registration issues unique to the ERCOT region; and that compliance issues would be discussed in the closed session of the meeting.

OWG

Mr. Owens reviewed the posted OWG report and noted that the Operations Task Force will meet to review severe weather and winter storm drills.

Nodal Protocol and Guides Resolution Task Force (NPGRTF)

Mr. Owens reported that the NPGRTF met recently to review NOGRRs that will come before ROS for consideration.

PDCWG

David Kee presented the posted PDCWG report.  Sydney Niemeyer reported that Bob Snow of the Federal Energy Regulatory Commission (FERC) recently emphasized that models need to be accurate and match decay of frequency response during events; that ERCOT received good reviews for its efforts in maintaining frequency response; and that ERCOT is indeed experiencing some decay in frequency response and compliance personnel are in communication with low performers.

PLWG

Rob Lane reviewed the posted PLWG report.

System Protection Working Group (SPWG)

No SPWG report was filed.

Other Business

Transmission Operator/Small Entities

Mike Wise of Golden Spread Electric Cooperative presented issues impacting Golden Spread ERCOT Load as they pertain to Texas RE Registration and ERCOT Transmission Operations requirements, and invited Market Participant suggestions.  Market Participants discussed the costs and benefits of Golden Spread developing its own 24/7 Transmission Operations center.

Adjournment

Mr. Donohoo adjourned the June 16, 2011 ROS meeting at 1:40 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2011/06/20110616-ROS