## Slide 1: 2012 DSA Case Building Process Review
By Tony Hudson
SSWG Chairman

## Slide 2: 2012 DSA Case Building Process Review
12DSA cases were recently completed per the procedures approved by ROS in March 2011.
The purpose of this presentation is to provide performance feedback on the 12DSA case build effort utilizing the new case building tools.

## Slide 3: Recap of TEMPORARY procedure
The approved procedure is temporary and entails the utilization of MOD and an 11DSA case to compensate for present TP limitations.

## Slide 4: Recap of eventual procedure
The eventual procedure will entail the utilization of MOD to build cases from a starting point created from the TP.

## Slide 5: 12DSA Performance With temporary Procedure
Overall good.
Not excellent for two primary reasons:
  Issues with the mechanics of using MOD in the most efficient manner.
  Issues and uncertainties with the quality of RARF data.

## Slide 6: Issues With the Mechanics of Using MOD
These types of problems are to be expected with the use of any new tool and will get worked out as users gain experience with MOD. Instances covering the gambit of potential errors occurred:
Unintended changes to model parameters in the course of applying intended changes.
Intended changes not applied.

## Slide 7: Issues With the Mechanics of Using MOD
Solutions
MOD users are being encouraged to test their intended changes in MOD before final acceptance of their changes.
ERCOT has recently scheduled MOD training for those who did not participate in the initial round of MOD training sessions.

## Slide 8: Issues With the Quality of rarf data
There are RARF data quality concerns with two network element types:
Generator Units
    MVA base
    Generator Impedances
    Reactive capability data
Generator Step-Up Transformers
    Fixed tap information
    Presence of load tap changer information

## Slide 9: Issues With the Quality of rarf data
Short Term Solution
The SSWG is overwriting questionable generator impedance data and step-up transformer tap data originating from the RARFs with corresponding data from previous SSWG cases. The SSWG is overwriting questionable reactive capability data based on posted reactive capability test data.
Long Term Solution
ERCOT will need to work closely with the Resource Entities to verify and improve the quality of generator and step-up transformer data posted in the RARFs. ERCOT has initiated this process by scheduling a RARF modeling workshop on 9/27 to assist and educate RE’s on RARF contents.

## Slide 10: QUESTIONS?