NPGRTF Meeting Notes

July 19th 2011

Attendance:

Frank Owens		TMPA (TO)			Matt Stout                        ERCOT

Dylan Preas		LCRA (TO)	                             Yvette Landin                   ERCOT

Jeff Sims		CPS Energy (TO)

Rick Keetch                       Reliant

- Frank Owens started the meeting at 9:30 with the ERCOT Antitrust Admonition.

- Frank gave update from ROS.

- The group reviewed the Task List for possible conflicts with PRC-001 R2.2 and OG 6.2.4 (5) issue with corrective action taken. No conflict found. The group also reviewed VAR-001 and EP 3.151.2 on voltage support and OG 2.7.4.1 (4) issue with 2% of voltage schedule vs 2% of voltage set point. No conflict found. The group also reviewed BAL-006 and EP 6.5.4, OG 2.8.1 issue with Inadvertent Interchange. Conflict found a draft NOGRR will be presented next meeting to resolve.

Action items for the group, assignments were made to develop and bring back for next meeting one draft NOGRR and review several possibly conflicts.

Future Meeting Dates (ALL) 8/16, 9/20, 10/18, 11/15.