## Sheet1
NSRS | ERCOT Staff | Enhanced Hybrid Mo' Betta Proposal 1-A | Macquarie | Other Proposals?
0 - LSL |  | Off Line NSRS units will offer from 0-HSL, if SCED deploys NSRS units below their LSL, DRS will be used to manage the difference. If 0-LSL is not a problem, no DRS will be used.
LSL- HSL |  | Offers will have a minimum offer floor described below
Online |  | Incorporate into active SCED curve with a floor offer of 18HR
Offline (30 minute or quickstart) |  | Quickstart NSRS would have an offer floor of 18HR, Offline NSRS would have an offer floor of $120 + 15HR and offers would be flat blocked
Quickstart (SCED) |  | No change
System Impact? |  | Interface will be needed for management of offline NSRS energy offers, much of the rest of the proposal is managed on a compliance basis
How does your proposal meet the requirements of Subst. R. 25.501(a)? |  | Complies
RUC | ERCOT Staff | Enhanced Hybrid Mo' Betta Proposal 1-A | Macquarie
0-LSL |  | No change
LSL-HSL |  | No change
Local |  | No change
Capacity Insufficiency |  | Subtract the level of NSRS capacity greater than the largest unit in ERCOT from the RUC capacity insufficiency requirement. Deem that as being provided by NSRS.
System Impact? |  | None. Procedural change only.
AS Procurement Methodology |  | Review NSRS procurement to ensure appropriate levels given capacity RUC activity.
How does your proposal meet the requirements of Subst. R. 25.501(a)? |  | Swimmingly
Supplemental Issues
RRS |  | Set RRS offer floor at $3000/MWh (also requires URS to be set at same price)
RMR |  | As RMR use increases, need to evaluate the price depression these units are creating
Self-Commit after RMR |  | ??
Demand Response-Load in SCED; Impact of Power Balance Penalty Curve |  | Open to ideas, but none provided